## Slide 1: Nodal Advisory Task Force
http://www.ercot.com/committees/board/tac/natf/ <number>
Update for TAC
October 7th, 2010

## Slide 2: TAC Update from Nodal ATF
Met September 7th, 17th, 22nd, 30th, and October 5th.
  DAM Deep Dive Each Tuesday and Thursday @ 10am
Next few meetings scheduled for:
  Tuesday, November 2nd, 2010
  Tuesday, November 30th, 2010
  More needed?
http://www.ercot.com/committees/board/tac/natf/ <number>
Meetings

## Slide 3
NATF Motions . . .
Motion to endorse the concept to include Point to Point Obligations and Point to Point Options data with the DAM energy Bought and Sold Report beginning with the 168-Hour test. NATF will work towards an NPRR to clarify this report and the timing of this report for post Go-Live treatment.
  ERCOT has done the work on the report to release both the PTP Obligations and the PtP Options, but has not implemented until clarified in the Nodal Protocols.
  Motion passed @ NATF
    Coop Segment opposed.
    Municipal and Consumer segments abstained
  TAC took no action to overturn
  ERCOT chose NOT to provide information on PtP Options
  NPRR referenced above, distributed to NATF October 5th, 2010
TAC Update from Nodal ATF
9/7 motion

## Slide 4
NATF Motions . . .
Regarding GREDP, NATF recommends to TAC that X = 8%, Y = 8MW, and Z = 10%, and asks that during the review required after go live that such review ensure that the measurement appropriately aligns with the services it is attempting to enforce in a non-discriminatory manner.
  The motion carried unanimously.
NATF recommends TAC approve the ERCOT Business Practice, Non-Spin Reserve Services Deployment and Recall Procedures, as presented by ERCOT.
  The motion carried unanimously.
  The Independent Power Marketer Market Segment was not present for the vote.
TAC Update from Nodal ATF
10/5 motions

## Slide 5
NATF Motions . . .
Based on the observations and experience of the NATF members and the certification by ERCOT management, NATF is unaware of any outstanding issue, or collection of issues, that would prohibit TAC from voting affirmatively for the ERCOT Nodal Market Go-Live; therefore, NATF recommends approval by TAC for a December 1, 2010 go-live.
The NATF recommendation is based on our direct discussions with ERCOT and Market Trials observations. NATF acknowledges there is much that cannot be directly observed by individual Market Participants. Where not directly observed, NATF has relied on those that have direct knowledge.
NATF has reviewed with ERCOT the issues that have been reported as of October 5, 2010, as identified in the QSE and TDSP issue lists and in the ERCOT Management Readiness Certification. ERCOT currently has a plan to address each of the “Defects to be Resolved by Go-live” which includes a delivery date for the fix, a workaround or has a workaround plan in progress. NATF accepts ERCOT’s status regarding deferred issues. NATF expects ERCOT to continue updating NATF, TAC and the Board regarding the progress of the fixes and workarounds.
The motion carried unanimously. One member of the Consumer Segment abstained.
TAC Update from Nodal ATF
10/5 motion

## Slide 6
NATF concerns,
MMS patch 10 implemented 10/1
Several patches 11/5 and 11/19
Load Distribution Factor methodology
DAM process regarding treatment of PCAPS, Mitigation Plans, RAPS, TOAPs, etc.
AS Capacity Monitor Report
Simultaneous availability of Prices
Transparency for validation of RUC Process and DAM transactional processing of credit exposure
WRUC Processes and establishing Stability Limits
Best way to track the status of issues are the documents posted in the ALL ISSUES section at:
  http://nodal.ercot.com/docs/po/index.html
NATF expects ERCOT to continue updating NATF, TAC and the Board regarding the progress of the fixes and workarounds.
TAC Update from Nodal ATF
NATF Concerns

## Slide 7: TAC Update from Nodal ATF
3.1. Intermittent Resources – Wind Generation Resources (WGR)
Nodal Protocol 3.13 (1) requires ERCOT to produce forecasts of Renewable Production Potential for Wind Generation Resources (WGRs) to be used as input into the Day-Ahead and Hour Ahead Reliability Unit Commitment processes (DRUC and HRUC). Additionally, Protocols require QSE’s to provide a Resource Status in the COP reporting hours to indicate the availability of the WGR and its LEL/LSL/HSL/HEL capability. If the WGR is available the expected Resource Status is either ON (indicating that the WGR has submitted an EOC) or ONOS (indicating that the WGR will operate under the Protocol provisions for a WGR with/without an Output Schedule). A WGR reporting a Resource Status OFF may be subject to a Reliability Unit Commitment Dispatch Instruction.
As described in Protocol 4.2.2 (1), ERCOT provides for each WGR a rolling Short Term Wind Power Forecast (STWPF) in the form of an hourly forecast for the next 48 hours. Protocol 3.9.1 (7) requires the QSE representing a WGR to enter in its COP an HSL no greater than the most recent STWPF provided by ERCOT. WGRs/QSEs are required to adjust the STWPF provided by ERCOT to account for WGR deratings or availability reductions due to outages, regulatory or physical impairments to the generation or transmission interconnection facilities. Updates to the STWPF are provided hourly by ERCOT, consequently, the QSE is required to make hourly updates to the WGR’s HSL and potentially it’s Resource Status in its COP.
The Protocol requirements related to the COP entries for HSL as noted above cover only the first 48 hours in the COP reporting period. COP entries are the responsibility of the QSE and these entries represent the QSE’s best estimate of the anticipated or expected operating condition for the remaining hours in the COP reporting period. QSEs and WGR owners should provide their best estimate for HSL consistent with expected meteorological, regulatory, and physical conditions for the WGR(s) for all hours in the COP reporting period.
http://www.ercot.com/committees/board/tac/natf/ <number>
168 hr COP / WRUC
Wind Forecast for 168 hours (excerpt from ERCOT Business Practices Manual for the COP)

## Slide 8: TAC Update from Nodal ATF
FUTURE AGENDA ITEMS:
• LFC Tests results
Shadow Price Caps in Real-Time and DAM
Power Balance Penalties in Real-Time
Preparation for TAC required approval for Go-Live Items
Documenting and Tracking Nodal Issues
Competitive Constraints using Decision Making Entities
Transition Plans for Go-Live
Testing requirements in October and November
Availability of testing environments running DAM for test submissions
• 168-Hour Test Review
• Competitive Constraint Test Values
• DAM Energy Bought & Sold Report to include PtPs
Base Point Deviation Calculation Issues
http://www.ercot.com/committees/board/tac/natf/ <number>
Additional Topics