## Slide 1: M & A Parameters for the CRR Auction
Shams Siddiqi, Ph.D.
Crescent Power, Inc.
shams@crescentpower.net
Tel. (512) 263-0653
October 7, 2010

## Slide 2: CRR Credit Constraint
October 7, 2010
Crescent Power, Inc.
<number>
The goal in setting M & A is to ensure adequate CRR credit requirement such that auction awards don’t result in collateral calls from FCE calculations immediately following CRR Auction clearing
Consensus on changing “M” from 1 to 0
Not much benefit to setting “A” less than “X” (=1) since this additional collateral required immediately after CRR Auction clearing – downside is increased default risk
CRR Option Bids
CRR Offers
CRR Obligation Bids
Where: Φ = M +1, η = A
Notes: <number>

## Slide 3: Future Credit Exposure
October 7, 2010
Crescent Power, Inc.
<number>
Counter-Party’s Future Credit Exposure (FCE) for all PTP Obligations:
FCEOBL o = Max (ACPEOBL o, - FMMOBL o)
Where:
ACPEOBL o = (ACPE h, (j,k) * OBLMW o, h, (j,k))
FMMOBL o = [(W1 * ACP h, (j, k) + W2 * TOBLV h, (j, k) + W3 * FDOBLV h, (j,k) + W4 * PMOBLV h, (j, k)) * OBLMWo, h, (j, k)]
ACPE = if ACP > Y, then Y * X / ACP
if Y > ACP > 0, then X
if ACP < Y, then X + |ACP|
where ACP = PTP Obligation Auction Clearing Price
X = $1/MW and Y = $1.5/MW
Thus, FCEOBL is at least $1/MW and could be significantly larger based on FMMOBL for all ACP < $1.5/MW (for large values of ACP, ACPE becomes insignificant compared to the collateral required to pay for the ACP)
Notes: <number>

## Slide 4: Reasons to set “A” ≥ 1
October 7, 2010
Crescent Power, Inc.
<number>
Setting “A” ≥ $1/MW is less likely to result in credit shortfall immediately after auction (covers ACPE but may not fully cover FMMOBL)
Setting “A” < $1/MW is more likely to result in credit shortfall after auction (may not even cover ACPE)
Not much benefit to setting “A” < $1/MW since this additional collateral is required immediately after CRR Auction clearing
Downside to setting “A” < $1/MW is increased risk of default
“A” value of $1.5/MW (as currently set by TAC) allows for coverage for ACPE and some amount to cover FMMOBL
Notes: <number>