Date: 	September 30, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR244, Clarification of Other Binding Documents [ERCOT].

Proposed Effective Date:  Partially Upon Texas Nodal Market Implementation.  Grey-boxed language will be Post Texas Nodal Market Implementation Date.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed language is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; minor impacts to ERCOT’s website to create a new type of revision request;  new ERCOT business processes will need to be established for Other Binding Documents that do not specify a revision process; no impacts to ERCOT grid operations and practices.  Impact Analysis for grey-boxed portion will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR clarifies the concept of “Other Binding Documents” and the revision process to better align with item (j) of the Public Utility Regulatory Act, TEX. UTIL. CODE ANN. § 39.151 (Vernon 1998 & Supp. 2003) (PURA), Essential Organizations, and P.U.C. Subst. R. 25.503, Oversight of Wholesale Market Participants, with respect to governing documents that are public and in effect in the ERCOT Region.

Procedural History:  NPRR244 was posted on 6/3/10.  On 6/17/10, PRS unanimously voted to table NPRR244 for one month.  On 7/22/10, PRS unanimously voted to table NPRR244 for one month.  On 8/19/10, PRS voted to recommend approval of NPRR244 as amended by the 8/4/10 PSEG TX comments via roll call vote.  The Independent Power Marketer (IPM) Market Segment was not present for the vote.  On 9/23/10, PRS voted to endorse and forward the 8/19/10 PRS Report as amended by the 9/13/10 ERCOT comments and as revised by PRS and revised Impact Analysis for NPRR244 to TAC and to recommend a priority of High/Medium to the grey-boxed language.  There was one abstention from the Municipal Market Segment.

  - NPRR246, Requirement for Resource Entities to Update Resource Parameters [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; may result in an increase in the volume of Resource Asset Registration Form updates, which could be accommodated with existing staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR requires Resource Entities to update their Resource Parameters after Net Dependable Capability (NDC) tests, reactive capability tests, ERCOT requests, and known data changes to any Resource Parameters.

Procedural History:  NPRR246 was posted on 6/8/10.  On 6/17/10, PRS unanimously voted to table NPRR246 for one month.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR246 as amended by the 6/14/10 Luminant comments.  On 8/19/10, PRS unanimously voted to table NPRR246 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS voted to endorse and forward the 8/19/10 PRS Report as amended by the 9/7/10 Luminant comments and Impact Analysis for NPRR246 to TAC.  There was one opposing vote from the Investor Owned Utility (IOU) Market Segment.

  - NPRR253, CRR Balancing Account Invoice and Settlement and Billing Dispute Process [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR updates Section 9.12, and Section 9.14, with information pertaining to the ERCOT Invoice process and the statuses for processing of disputes.  This NPRR also proposes non-substantive changes, such as capitalizing defined terms and use of acronyms.

Procedural History:  NPRR253 was posted on 7/15/10.  On 7/22/10, PRS voted to refer NPRR253 to COPS.  There was one abstention from the Independent Generator Market Segment.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR253 as amended by the 9/16/10 COPS comments and to forward NPRR253 and the Impact Analysis to TAC.  Credit review is pending.

  - NPRR261, Revision of Data Submission Timeline for Network Model [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR261 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k - implementing the requirements will take approximately two months after ERCOT Board approval; no ERCOT staffing impacts; minor changes to ERCOT Network Model Management System (NMMS) application; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the three-month summer model and replaces it with individual model packages for each month.  This NPRR also separates item (5) of Section 3.10.4 into three paragraphs for clarification of ERCOT’s requirements.

Procedural History:  NPRR261 was posted on 8/9/10.  On 8/19/10, PRS unanimously voted to recommend approval of NPRR261 as submitted. The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to endorse and forward the 8/19/10 PRS Report and Impact Analysis for NPRR261 to TAC.

  - NPRR262, Protocol Synchronization for Nodal Implementation Surcharge [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k – no project required; no ERCOT staffing impacts; minor impacts to ERCOT Settlement and Billing application; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR modifies the Nodal Implementation Surcharge (NIS) calculation to mirror the existing zonal calculation, by including generation from Non-Modeled Generators and energy imported into the ERCOT System during a declared Emergency Condition through each Direct Current Tie (DC Tie) in response to an ERCOT Dispatch Instruction.

Procedural History:  NPRR262 was posted on 8/9/10.  On 8/19/10, PRS voted to recommend approval of NPRR262 as submitted.  There was one abstention from the Municipal Market Segment.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to endorse and forward the 8/19/10 PRS Report as revised by PRS and Impact Analysis for NPRR262 to TAC.

  - NPRR273, Allow Use of the ONTEST Resource Status to Indicate Resource Startup, Shutdown and Test Operations [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k – no project required; no ERCOT staffing impacts; minor impacts to the Commercial Systems Integration (CSI) logic for the Settlement and Billing system; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR expands the use of this Resource Status to provide for Generation Resource operations during start up and shut down of the unit as well as unit testing requirements.

Procedural History:  NPRR273 was posted on 9/16/10.  On 9/23/10, PRS voted to recommend approval of NPRR273 as amended by the 9/22/10 Luminant comments and as revised by PRS and to forward NPRR273 and the Impact Analysis to TAC.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

NPRRs Possibly Recommended for Approval pending PRS Action at the October 4, 2010 Special PRS Meeting

  - NOGRR050, Resolution of Reporting Issues Related to NPRR219 [CenterPoint Energy].

Proposed Effective Date:  To be determined.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed language is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis (Preliminary):  Less than $50k – no project required; no ERCOT staffing impacts; minor system changes to Enterprise Data Warehouse (EDW) and/or Market Information System (MIS) to redact the posting of information stricken under paragraph (1)(a) through (e) of Section 9.2.3, Transmission Outage Reporting; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.  Due to “Not Needed for Go-Live” designation by the ERCOT CEO for the grey-boxed portions of NOGRR050, the Impact Analysis for the grey-boxed language will be conducted at a future date.

Revision Description:  This Nodal Operating Guide Revision Request (NOGRR) proposes revisions to remove the requirement for ERCOT to produce several reports related to Outage Scheduling from the current Nodal Operating Guide and grey-boxing the requirements until such time ERCOT systems can be modified to include only the Transmission Service Provider’s (TSP’s) Outages in the reports.

Procedural History:  NOGRR050 was posted on 8/11/10.  On 8/12/10, the Reliability and Operations Subcommittee (ROS) unanimously voted to grant NOGRR050 Urgent status.  ROS then voted to recommend approval of NOGRR050 as submitted.  On 8/19/10, PRS unanimously voted to table NOGRR050 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to table NOGRR050 until the 10/4/10 Special PRS meeting.  Credit review not applicable.

  - NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will require the Resource Entity to designate a TSP as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself.  This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS.

Procedural History:  NPRR219 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to table NPRR219.  On 5/20/10, PRS unanimously voted to table NPRR219.  On 6/17/10, PRS unanimously voted to table NPRR219 for one month.  On 7/22/10, PRS unanimously voted to table NPRR219.  On 8/19/10, PRS unanimously voted to table NPRR219 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to table NPRR219 until the 10/4/10 Special PRS meeting.  Credit review is pending.

  - NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds new Section 5.2.2 to describe the process that ERCOT will follow in the event that the Day-Ahead Market (DAM) is delayed or aborted.

Procedural History:  NPRR255 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to refer NPRR255 to the Nodal Advisory Task Force (NATF).  On 8/19/10, PRS unanimously voted to recommend approval of NPRR255 as submitted.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to table NPRR255 until the 10/4/10 Special PRS meeting.

  - NPRR259, Resolution of Alignment Items A175 and A176 - Settlement of Generation Resources Dispatched to Meet System Reliability Requirements [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies that all commitments of a specific Generation Resource in response to an ERCOT Dispatch Instruction (whether issued electronically or verbally) for the commitment of that Generation Resource will be considered to be a Reliability Unit Commitment (RUC) and will be settled in accordance with the RUC Settlement provisions described in the Nodal Protocols.

Procedural History:  NPRR259 was posted on 7/28/10.  On 8/19/10, PRS unanimously voted to table NPRR259.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR259 as amended by the 9/1/10 ERCOT comments and as revised by PRS.  Credit review is pending.

  - NPRR263, Resolution of Alignment Item A99 - Settlement Point Price Calculation When Busses are De-energized [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds the requirement for ERCOT to assign a Locational Marginal Price (LMP) for use in the calculation of Day-Ahead and Real-Time Settlement Point Prices.

Procedural History:  NPRR263 was posted on 8/11/10.  On 8/19/10, PRS unanimously voted to table NPRR263 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to table NPRR263 until the 10/4/10 Special PRS meeting.  Credit review is pending.

  - NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of Interconnection.

Procedural History:  NPRR264 was posted on 8/12/10.  On 8/19/10, PRS unanimously voted to table NPRR264 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to table NPRR264 and request that the determination of “Needed for Go-Live” be reevaluated by ERCOT.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR272, Definition and Participation of Quick Start Generation Resources [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed language is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k; no ERCOT staffing impacts; impacts to Settlement & Billing system and CSI; ERCOT business processes would be revised; no impacts to ERCOT grid operations and practices.  Due to “Not Needed for Go-Live” designation by the ERCOT CEO for the grey-boxed portions of NPRR272, the Impact Analysis for the grey-boxed language will be conducted at a future date.

Revision Description:  This NPRR provides language for effective participation of Quick Start Generation Resources (QSGRs) in Security-Constrained Economic Dispatch (SCED).  Revisions for which implementation is not necessary prior to the Texas Nodal Market Implementation Date are grey-boxed.  See also the White Paper entitled “Proposal for Determining Mitigated Cap Variable O&M Cost for Quick Start Generation Resources” included with this NPRR submission as an attachment.

Procedural History:  NPRR272 was posted on 9/16/10.  On 9/23/10, PRS unanimously voted to table NPRR272 until the 10/4/10 Special PRS meeting.  Credit review is pending.

  - NPRR274, Generic Startup Costs for Combined Cycle Generation Resources – Removal of Temporal Constraint [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the Startup Offer Generic Cap Resource Categories for Combined Cycle Generation Resources with less than five hours Off-Line.

Procedural History:  NPRR274 was posted on 9/16/10.  On 9/23/10, PRS voted to recommend approval of NPRR274 as submitted.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR279, Resolution of Alignment Item A144 - Clarify Posting of MCPC for DAM and SASM [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR conforms the Nodal Protocols to the system and business process implementation for posting of prices from the DAM and any Supplemental Ancillary Services Market (SASM).  Reports of clearing prices in the DAM and SASM will be reviewed and if the potential exists for a change in the prices, ERCOT will provide a Market Notice on the MIS Secure Area describing the nature of the error and any conditions that may have caused the error.

Procedural History:  NPRR279 was posted on 9/16/10.  On 9/23/10, PRS unanimously voted to table NPRR279.  Credit review is pending.

  - NPRR280, Move Shift Factor Posting Requirement to Real-Time [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR moves the requirement to post Shift Factor data from the Day-Ahead Operations section (Section 4.2.3) of the Nodal Protocols as a daily posting to the Real-Time operations section (Section 6.5.7.1.13) as an hourly posting.

Procedural History:  NPRR280 was posted on 9/24/10.  Credit review is pending.

Revision Requests Recommended for Approval and Inclusion in the Parking Deck

See items above which include partial grey-boxing of language for inclusion on the Parking Deck.

Revision Requests Rejected and Failed Motions

  - NPRR275, Clarify QSE’s Ability to Make Changes to Ancillary Service Resource Responsibility In Real Time [ERCOT].

Proposed Effective Date:  Not applicable.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the responsibility of Qualified Scheduling Entities (QSEs) to telemeter the same Ancillary Service Resource Responsibility in Real-Time as the QSE had previously submitted in the Current Operating Plan (COP) for the effective Operating Hour.

Procedural History:  NPRR275 was posted on 9/16/10.  On 9/23/10, PRS unanimously voted to reject NPRR275.  Credit review not applicable.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the October 21, 2010 PRS Meeting

  - NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”) [Luminant Energy].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR aligns the Nodal Protocols with changes implemented from PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”), approved by the ERCOT Board on 8/18/09, and addresses the exclusion of Generation Resource Energy Deployment Performance (GREDP) during testing periods.  This NPRR also addresses timing discrepancies in updating Resources’ Ancillary Service Schedule during qualification testing.

Procedural History:  NPRR256 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to table NPRR256.  On 8/19/10, PRS unanimously voted to refer NPRR256 to NATF.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS voted to recommend approval of NPRR256 as amended by the 9/22/10 NATF comments and as revised by PRS.  There were three abstentions from the Consumer, Independent Generator and IPM Market Segments.  Credit review is pending.

  - NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed language is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.  Due to “Not Needed for Go-Live” designation by the ERCOT CEO for the grey-boxed portions of NPRR257, the Impact Analysis for the grey-boxed language will be conducted at a future date.

Revision Description:  This NPRR grey-boxes multiple sections of the Nodal Protocols to align with Nodal Operating Guide Section 9, Monitoring Programs.

Procedural History:  NPRR257 was posted on 7/23/10.  On 8/19/10, PRS unanimously voted to refer NPRR257 to NATF.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS voted to recommend approval of NPRR257 as amended by the 9/16/10 ERCOT comments.  There was one opposing vote from the IOU Market Segment and two abstentions from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR258, Synchronization with PRR824 and PRR833 and Additional Clarifications [Performance, Disturbance, Compliance Working Group (PDCWG)].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 824, Primary Frequency Response from Wind-powered Generation Resources (WGRs) and PRR833, Primary Frequency Response Requirement from Existing WGRs; refines and clarifies the definition of Generation Resource Energy Deployment Performance (GREDP); moves the definition of Measurable Event to Section 2.1; and proposes a definition for Dead Band as defined in Section 6.2.1.4, Definitions, of the zonal Operating Guides.

Procedural History:  NPRR258 was posted on 7/23/10.  On 8/19/10, PRS unanimously voted to refer NPRR258 to ROS.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR258 as amended by the 9/22/10 PSEG TX comments.  Credit review is pending.

  - NPRR265, MIS Secure Area Posting of Resource Category – As-Built Clarification [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR accounts for the posting of Resource Categories as a secure extract to the MIS Secure Area in support of calculating Minimum and Maximum Resource Prices in Congestion Revenue Right (CRR) Settlement.  This NPRR also adds a definition for “Resource Category.”

Procedural History:  NPRR265 was posted on 8/31/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR265 as amended by the 9/17/10 Luminant Energy comments.  Credit review is pending.

  - NPRR266, Installed Capacity of Unregistered Distributed Generation (DG) [CPS Energy].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No opinion on whether or not NPRR261 is necessary prior to the Texas Nodal Market Implementation Date.

Revision Description:  This NPRR clarifies that only the capacity of unregistered Distributed Generation (DG) Resources is totaled for the determination that the DG registration threshold must be lowered.

Procedural History:  NPRR266 was posted on 8/31/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR266 as submitted.  Credit review is pending.

  - NPRR267, Allow ERCOT to Manage Operations Model Pseudo Devices [AEP].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR267 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR will remove any reference to pseudo devices in the Protocols.

Procedural History:  NPRR267 was posted on 8/31/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR267 as revised by PRS.  Credit review is pending.

  - NPRR268, Posting Requirements of Verifiable Costs Documents [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR allows ERCOT to post the Verifiable Cost Manual publicly on the ERCOT website.

Procedural History:  NPRR268 was posted on 9/1/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR268 as submitted.  Credit review is pending.

  - NPRR269, Synchronization of PRR830, Reactive Power Capability Requirement [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR830, Reactive Power Capability Requirement, approved by the ERCOT Board on 11/17/2009.  In addition, Nodal Protocol references to Point of Interconnection (POI) are being updated to reflect the defined term where appropriate.

Procedural History:  NPRR269 was posted on 9/9/10.  On 9/23/10, PRS voted to recommend approval of NPRR269 as amended by the 9/20/10 Luminant comments.  There was one opposing vote from the Independent Generator Market Segment and three abstentions from the Consumer, Independent Generator and Independent Retail Electric Provider (IREP) Market Segments.  Credit review is pending.

  - NPRR270, Defining the Variable Used in the Wind Generation Formula [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR270 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR inserts variable definitions for the wind adjust formula in the grey-boxed language for Section 11.4.4.2; and changes references of Transmission and/or Distribution Service Provider (TDSP) to Distribution Service Provider (DSP) where appropriate in Section 10.2.2.

Procedural History:  NPRR270 was posted on 9/13/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR270 as submitted.  Credit review is pending.

  - NPRR271, Synchronization to PRR850, Weather Responsiveness Determination for Interval Data Recorders [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR aligns the Nodal Protocols with zonal Protocols by adding language that limits the applicability of the weather responsiveness test to Interval Data Recorder (IDR) Meters.

Procedural History:  NPRR271 was posted on 9/13/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR271 as submitted.   Credit review is pending.

  - NPRR276, MIS Posting Requirement for the Network Operations Model Load Schedule [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR276 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50K – no project required; this NPRR can be implemented within one month of ERCOT Board approval;  no ERCOT staffing impacts; impacts to the ERCOT MIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds a MIS Public Area posting requirement for the database load schedule.

Procedural History:  NPRR276 was posted on 9/16/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR276 as submitted. Credit review is pending.

  - NPRR277, Removal of NPRR119 Language for LDL Calculation [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k; no ERCOT staffing impacts; minor system impacts to ERCOT Energy Management System (EMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes changes that were made to the Low Dispatch Limit (LDL) calculation within the Resource Limit Calculator (RLC) as part of NPRR119, Resource Limit Calculator. The language in this NPRR will ensure that a Resource’s dispatch limits are calculated taking into consideration the Resource’s current net MW output and ramp rates.

Procedural History:  NPRR277 was posted on 9/16/10.  On 9/23/10, PRS unanimously voted to recommend approval of NPRR277 as revised by PRS.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR834, ERCOT Load Forecast Accuracy [Luminant, CPS, NRG] – Urgent.

Proposed Effective Date: Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes revisions that are intended to monitor and establish performance standards for ERCOT’s Load forecasting of the ERCOT Region and ERCOT Congestion Zones.

Procedural History:  PRR834 was posted on 9/24/09.  On 9/30/09, PRS voted to grant PRR834 Urgent status via PRS email vote.  On 10/22/09, PRS voted to table PRR834 for one month with one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to table PRR834 for one month.  On 12/17/09, PRS unanimously voted to table PRR834 until after the Load forecasting workshop.  Credit review is pending.

  - PRR843, Add Regional Planning Section to Protocols [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR843 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This PRR adds the entirety of the Regional Planning Group (RPG) Charter and Procedures (Charter) document, as it was recently approved by the ERCOT Board, to the Protocols.

Procedural History:  PRR843 was posted on 12/18/09.  On 1/21/10, PRS unanimously voted to create a task force to discuss the policy issues relating to PRR843, to refer PRR843 to the task force, and to instruct the task force report back at the February 2010 PRS meeting.  On 2/18/10, PRS unanimously voted to table PRR843 indefinitely.  Credit review is pending.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  Credit review is pending.

  - NPRR260, Providing Access to MIS Secure Area to MIS Registered Users [Crescent Power].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Impact Analysis will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR adds "Independent Market Information System (MIS) Registered Entity" to Section 2.1 and Section 22, Attachment A.  By doing so, the Standard Form Market Participant Agreement would bind Independent MIS Registered Entities to the Nodal Protocols and, in particular, provisions in Section 16.12.

Procedural History:  NPRR260 was posted on 8/5/10.  On 8/19/10, PRS unanimously voted to table NPRR260 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to table NPRR260.  There was one abstention from the IPM Market Segment.  Credit review is pending.

  - NPRR278, Emergency Interruptible Load Service (EILS) Modifications to Correct Self-Provision Settlement Equations, to Accommodate Advanced Metering Infrastructure, and other Clarifications [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR278 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This Nodal Protocol Revision Request (NPRR) proposes several modifications to the Nodal Protocols relating to EILS including correcting a Settlement inequity for Qualified Scheduling Entities (QSEs) providing EILS through Self-Provision; providing ERCOT with an important option for accommodating EILS Loads potentially consisting of large aggregations of Customers with Advanced Meters; removing the requirement that EILS capacity offers must be submitted in whole MW amounts; and defining a mechanism for ERCOT to reduce the payment for an EILS Load that fails two consecutive Load-shed tests in an EILS Contract Period.

Procedural History:  NPRR278 was posted on 9/16/10.  On 9/23/10, PRS voted to table NPRR278.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

None.

New Revision Requests Scheduled for Consideration at the October 21, 2010 PRS Meeting

  - NPRR281, Replace 7-Day Forecast Requirement for QSEs Representing WGRs [AEP].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR eliminates the requirement that QSEs representing WGRs must provide a 7-day forecast in their COP.  Instead, ERCOT shall provide a profile for hours 49-168, which QSEs representing WGRs will be then be required to enter and maintain in their COP.

Procedural History:  NPRR281 was posted on 9/27/10.  Credit review is pending.

  - NPRR282, Dynamic Ramp Rates Use in SCED [Calpine].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This Nodal Protocol Revision Request (NPRR) proposes revisions that are intended to result in more reasonable Dispatch of Generation Resources when a telemetered Base Point requires the Resource to employ technologies that in turn change the Resource’s ramp rate.

Procedural History:  NPRR282 was posted on 9/28/10.  Credit review is pending.