| I. Revision Request Details |  |
| --- | --- |
| Date | July 23, 2010 |
| Revision Request Number | NPRR258 |
| Revision Request Name | Synchronization with PRR824 and PRR833 and Additional Clarifications |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live (applicable only to grey-box items) No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 258, Synchronization with PRR824 and PRR833 and Additional Clarifications, - Synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 824, Primary Frequency Response from WGRs and PRR833, Primary Frequency Response Requirement from Existing WGRs; - Refines and clarifies the definition of Generation Resource Energy Deployment Performance (GREDP); - Moves the definition of Measurable Event to Section 2.1; and - Proposes a definition for Dead Band as defined in Section 6.2.1.4, Definitions, of the zonal Operating Guides. Since it would be problematic to use outdated Protocol language, it is imperative that the Nodal Protocols are synchronized with the current Zonal Protocols in order to have a clear transition from one set of rules to another set of rules for ERCOT and Market Participants to operate within. After initial review, NPRR258, as written, does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the NPRR to proceed in the stakeholder review process. The ERCOT CEO agrees that the grey-boxed portions of the NPRR should remain so as to not create system impact. As PRR824 and PRR833 have been approved, the ERCOT CEO has determined that NPRR258 is necessary prior to the Texas Nodal Market Implementation Date (TNMID). The ERCOT CEO also concurs that the proposed grey-box language is not need prior to TNMID. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: PRR824 and PRR833; “Not Needed for Nodal Go-Live” Explain: Applicable only to grey-box items. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.