- CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | September 28, 2010 |
| Revision Request Number | NPRR282 |
| Revision Request Name | Dynamic Ramp Rates Use in SCED |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 282, Dynamic Ramp Rates Use in SCED, proposes revisions that are intended to result in more reasonable Dispatch of Generation Resources when a telemetered Base Point requires the Resource to employ technologies that in turn change the Resource’s ramp rate. ERCOT has performed an initial assessment of NPRR282 and determined that, as currently written, it will impact Nodal systems. The proposed changes from NPRR282 would impact, at a minimum, the Energy Management System (EMS) and Resource Limit Calculator (RLC). The ERCOT CEO has determined that, as written, NPRR282 is not necessary prior to the Texas Nodal Market Implementation Date. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: Not needed for Nodal Go-Live due to system impacts.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: Impacts, at a minimum, the EMS and RLC systems..