- DRAFT

- Minutes of the Wholesale Market Subcommittee (WMS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

- Wednesday, October 4, 2010 – 9:30 a.m. – 5:00 p.m.

- Attendance

Members:

| Belk, Brad | LCRA |  |
| --- | --- | --- |
| Bevill, Jennifer | AEP Energy Partners |  |
| Bevill, Rob | StarTex Power | Alt. Rep. for J. Taylor |
| Clemenhagen, Barbara | Topaz Power |  |
| Gedrich, Brian | NextEra Energy | Alt. Rep. for T. Kimbrough |
| Goff, Eric | Reliant Energy |  |
| Jackson, Tom | Austin Energy |  |
| Lange, Clif | South Texas Electric Cooperative | Via Teleconference |
| McMurray, Mark | Direct Energy | Via Teleconference |
| Ögelman, Kenan | CPS Energy |  |
| Schubert, Eric | BP Energy | Alt. Rep. for J. Briscoe |
| Starr, Lee | Bryan Texas Utilities | Alt. for Gary Miller |
| Stephenson, Randa | Luminant |  |
| Torrent, Gary | OPUC |  |
| Varnell, John | Tenaska Power Services | Alt. Rep. for C. Aldridge |
| Wagner, Marguerite | PSEG Texas |  |

The following proxies were assigned:

- Chris Brewster to Gary Torrent

Guests:

| Brandt, Adrianne | Austin Energy |  |
| --- | --- | --- |
| Brod, Bill | AES |  |
| Durrwachter, Henry | Luminant |  |
| Goff, Eric | Reliant |  |
| Jones, Dan | Potomac Economics |  |
| Kruse, Brett | Calpine |  |
| Morris, Sandy | LCRA |  |
| Pieniazek, Adrian | NRG Texas |  |
| Schwarz, Brad | E.ON Climate and Renewables |  |
| Siddiqi, Shams | LCRA | Via Teleconference |
| Stewart, Roger | LCRA |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Coon, Patrick |  |  |
| Dumas, John |  |  |
| Gonzalez, Ino |  |  |
| Levine, Jonathan |  |  |
| Reedy, Steve |  |  |
| Surendran, Resmi |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

- Barbara Clemenhagen called the meeting to order at 9:30 a.m.

- Antitrust Admonition

Ms. Clemenhagen directed attention to the displayed ERCOT Antitrust Admonition and noted the need to comply with the guidelines.  Copies of the guidelines were available for review.

Market Updates

No market updates were provided.

Quick Start Task Force (QSTF) Report (see Key Documents)

NPRR272, Definition and Participation of Quick Start Generation Resources

Market Participants reviewed language revisions proposed at the October 1, 2010 QSTF meeting and discussed that boxed language cannot be implemented before Nodal go-live; and that the off/on status is not a design change, but makes a distinction to alleviate any concerns that the status is not reflective of the unit’s true status.  Ms. Clemenhagen noted that if a Resource is dispatched in an unachievable Low Dispatch Limit (LDL), the Qualified Scheduling Entity (QSE) would call ERCOT to either decline or request manual override; after a certain number of intervals will be settled as Payment for Emergency Power.

Independent Market Monitor (IMM) Staff opined that references to calling the ERCOT operator should be removed; that GREDP is meaningless in this instance, as the unit is online the entire time; and that some relatively strict performance and compliance measures should be added, as Quick Start units will be called upon when the system is tight and reliability is even more important than normal.  Ms. Clemenhagen suggested that Load Acting As a Resource (LaaR) language might be suitably mirrored.  John Dumas shared IMM Staff’s concerns for calls to ERCOT operators, particularly in cases where multiple units are coming off line.

Market Participants considered IMM Staff’s observations.  Ms. Clemenhagen expressed her preference that units be under emergency power so that the unit is assured of receiving its bid or market price.  IMM Staff noted that if a unit is receiving emergency power increase instructions, those prices are based upon the unmitigated offer and could be problematic.  Eric Goff noted that NPRR243, Load Resource Disqualification, Unannounced Testing, and Compliance, speaks specifically to disqualification of Load Resources.  Market Participants offered language revisions.

Market Participants discussed the WMS recommendation at the September 22, 2010 to remove the first 10MW from the Power Balance Penalty curve was in error; that the initial curve proposal was superior; and that Power Balance needs to come in lower than the other offers.  Marguerite Wagner suggested that Real-Time ramp rates should be taken from telemetry instead of use the Power Balance Penalty curve as a band aid.  Mr. Dumas was not opposed to Real-Time ramp rates, but opined that there will be situations where ERCOT will be ramp rate restricted and not capacity restricted, and so telemetered ramp rates would be more conservative.  Market Participants discussed the link between the Power Balance Penalty curve and the use of Quick Start units.

Market Participants discussed IMM Staff concerns with the compensation calculation; that ERCOT needs a way to trigger the Settlement process; that any operator entry will be considered a manual override; that decommittments should be staggered so as to not present operational hardships; and that a look-ahead function would be a more rational way to economically commit Quick Start units.

Mr. Dumas observed that Load changes all the time in larger increments than 25MW over the course of ten minutes.  Market Participants discussed if it would be reasonable to allow fractional Resources the option of not coming on; whether units should receive Emergency Power payment; and whether any unit held on line by ERCOT is considered having received a Reliability Unit Commitment (RUC) instruction.

Market Participants considered language regarding testing, qualification, and performance standards for Quick Start units, and discussed that Quick Starts should be expected to be employed more frequently than LaaRs; that the same requirements should not be placed on capacity and energy-only Resources; and that a Schedule Control Error (SCE) type penalty might be considered, rather than disqualification, as a Quick Start unit might be deployed multiple times within a single day.

Mr. Goff moved to recommend approval of NPRR272 as revised by WMS; recommend that TAC establish x=2; and recommend that additional work be done on the related white paper before it is incorporated in the Verifiable Cost Manual.  Randa Stephenson seconded the motion.

Due to a lack of quorum, no vote was taken.

Market Credit Working Group (MCWG) Report

This item was not taken up.

Other NPRRs with Wholesale Market Impact (see Key Documents)

NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted.

Due to a lack of quorum, this item was not taken up.

NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection

Due to a lack of quorum, this item was not taken up.

NPRR279, Resolution of Alignment Item A144 - Clarify Posting of MCPC for DAM and SASM.

Steve Reedy reviewed the 10/4/10 ERCOT comments to NPRR279.  Ms. Stephenson requested that a market-wide notice be made, so that some parties are not disadvantaged by receiving later notice than other parties.  Ms. Wagner observed that ERCOT does not have a history of adjusting prices upward; that adjustments will be downward, leading to collateral concerns; and expressed discomfort that a large internal ERCOT effort might be needed to determine what might have adversely affected a price.  Mr. Dumas offered, as an example, that a gross telemetry error would affect the entire market and would materially impact everything, and would necessarily take time to investigate.

NPRR280, Resolution Move Shift Factor Posting Requirement to Real-Time

Ms. Clemenhagen noted that no comments were filed to NPRR280.  The item was not taken up.

Nodal Non-Spinning Reserve Service Deployment Procedures

This item was not taken up.

Other Business

Ms. Clemenhagen advised that, due to quorum issues and the inability to take a vote of WMS, she would provide WMS chair guidance at that afternoon’s Special PRS meeting.

Adjourn

Ms. Clemenhagen adjourned the October 4, 2010 Special WMS meeting at 12:30 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at:  http://www.ercot.com/calendar/2010/10/20101004-WMS