- CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | September 16, 2010 |
| Revision Request Number | NPRR272 |
| Revision Request Name | Definition and Participation of Quick Start Generation Resources |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live(applicable only to grey-box language) No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 272, Definition and Participation of Quick Start Generation Resources, provides language for effective participation of Quick Start Generation Resources (QSGRs) in Security-Constrained Economic Dispatch (SCED). Revisions for which implementation is not necessary prior to the Texas Nodal Market Implementation Date are grey-boxed. ERCOT has performed an initial assessment of NPRR272 and determined that, as currently written, it will impact Nodal systems. The proposed changes from NPRR272 would impact, at a minimum, the Settlements & Billing (S&B) and Commercial Systems Integration (CSI). The ERCOT CEO has determined that, as written, NPRR272 is necessary prior to the Texas Nodal Market Implementation Date (TNMID). The ERCOT CEO also concurs that the proposed grey-box language is not needed prior to TNMID. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: This NPRR allows ERCOT to retain the benefits of Quick Start Generation Resources and allows Quick Starts, which are an important sector in the market, to effectively participate in SCED.; “Not Needed for Nodal Go-Live” (applicable only to grey-box language) Explain: Due to system impact.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). (applicable only to grey-box language) No impact to ERCOT Explain: Impacts to the Lodestar system..