CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | October 13, 2010 |
| Revision Request Number | NPRR285 |
| Revision Request Name | Generation Resource Base Point Deviation Charge Corrections |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live (applicable only to greybox language and language in Section 6.6.5.1) No opinion on the need for Go-Live (applicable only to blackline language) |  |
| Nodal Protocol Revision Request (NPRR) 285, Generation Resource Base Point Deviation Charge Corrections, removes the Base Point Deviation Charge for all Generation Resources until corrections to the Nodal systems can be implemented. In addition, this NPRR corrects the Base Point Deviation Charge logic so that the charge applies to Intermittent Renewable Resources (IRRs) only when there is clear indication that the Base Point received needs to be followed. In addition, the calculations are changed to apply the charge whether the Settlement Point Price is negative or positive. A flag will be sent by ERCOT to the Qualified Scheduling Entity (QSE) for each Resource indicating Security-Constrained Economic Dispatch (SCED) has Dispatched a Generation Resource below the High Dispatch Limit (HDL) used by SCED. This flag will be used by the Settlement system to determine when the IRR Generation Resource Base Point Deviation Charge will apply. After initial review, NPRR285 does impact Nodal systems. Specifically, NPRR285 will require a change, at a minimum, to the Market Management System (MMS), Energy Management System (EMS), and Settlements and Billing systems. Due to the system impacts, the ERCOT CEO has determined that the grey-boxed language regarding Base Point Deviation Charges for over-generation, under-generation, and IRRs, the grey-boxed language regarding the flag for Dispatch below HDL, and the language in Section 6.6.5.1, General Generation Resource Base Point Deviation Charge, providing that the calculations apply whether the Settlement Point Price is negative or positive is not needed prior to the Texas Nodal Market Implementation Date (TNMID). Additionally, the ERCOT CEO has no opinion whether or not language removing the Base Point Deviation Charge for all Generation Resources is necessary prior to the TNMID. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live (applicable only to blackline language); Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” (applicable only to greybox language and language in Section 6.6.5.1) Explain: Due to system impacts.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). (applicable only to greybox language and language in Section 6.6.5.1) No impact to ERCOT (applicable only to blackline language) Explain: Impacts to the EMS, MMS, and Settlements and Billing systems..