Board Report

	NPRR Number
	280
	NPRR Title
	Move Shift Factor Posting Requirement to Real-Time

	Timeline
	Normal
	Action
	Approved

	Date of Decision
	October 19, 2010

	Effective Date
	Effective upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections.

	Priority and Rank Assigned
	Not applicable.

	Nodal Protocol Sections Requiring Revision
	4.2.3, Posting Forecasted ERCOT System Conditions

6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED

	Revision Description
	This Nodal Protocol Revision Request (NPRR) moves the requirement to post Shift Factor data from the Day-Ahead Operations section (Section 4.2.3) of the Nodal Protocols as a daily posting to the Real-Time operations section (Section 6.5.7.1.13) as an hourly posting.

	Reason for Revision
	Initially ERCOT planned to design the Shift Factor report data to come from the Day-Ahead Market (DAM) or Day-Ahead Reliability Unit Commitment (DRUC) in order to make the data manageable.  Recently it was found that an hourly data pull from the Real-Time Energy Management System (EMS) is feasible and more desirable since the data will more accurately reflect Real-Time operational constraints.

	Overall Market Benefit
	Alignment of the Nodal Protocols to accurately describe the product being delivered.

	Overall Market Impact
	None.

	Consumer Impact
	None.

	Credit Impacts
	 ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR280 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

	Procedural History
	· On 9/24/10, NPRR280, a CEO Revision Request Review, and an Impact Analysis were posted.

· On 10/4/10, PRS considered NPRR280.

· On 10/7/10, TAC considered NPRR280. 

· On 10/19/10, the ERCOT Board considered NPRR280. 

	PRS Decision 
	On 10/4/10, PRS voted to recommend approval of NPRR280 as submitted and to forward NPRR280 and the Impact Analysis to TAC.  There was one abstention from the Independent Generator Market Segment.  All Market Segments were present for the vote.

	Summary of PRS Discussion
	On 10/4/10, there was no discussion.

	TAC Decision
	On 10/7/10, TAC unanimously voted to recommend approval of NPRR280 as recommended by PRS in the 10/4/10 PRS Report.  All Market Segments were present for the vote.

	Summary of TAC Discussion
	On 10/7/10, there was no discussion.

	Board Decision
	On 10/19/10, the ERCOT Board approved NPRR280 as recommended by TAC in the 10/7/10 TAC Report.


	Quantitative Impacts and Benefits


	Assumptions
	1
	ERCOT should provide the products that are defined in the Nodal Protocols.

	
	2
	

	
	3
	

	
	4
	

	Market Cost
	
	Impact Area
	Monetary Impact

	
	1
	
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Market Benefit
	
	Impact Area
	Monetary Impact

	
	1
	Alignment of the Nodal Protocols to accurately describe the product being delivered.
	None.

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Additional Qualitative Information
	1
	None.

	
	2
	

	
	3
	

	
	4
	

	Other Comments
	1
	None.

	
	2
	

	
	3
	

	
	4
	


	Sponsor

	Name
	Alex Sills

	E-mail Address
	asills@ercot.com

	Company
	ERCOT

	Phone Number
	512-248-3128

	Cell Number
	

	Market Segment
	N/A


	Market Rules Staff Contact

	Name
	Sonja B. Mingo 

	E-Mail Address
	smingo@ercot.com 

	Phone Number
	512-248-6463


	Comments Received

	Comment Author
	Comment Summary

	None. 
	


	Comments


Please note that the following NPRRs also propose revisions to the following sections that are included within this NPRR:

· NPRR209, Data Posting Changes to Comply with P.U.C. Subst. R. 25.505.

· Section 6.5.7.1.13 

· NPRR267, Remove All References to Pseudo Devices (formerly “Allow ERCOT to Manage Operations Model Pseudo Devices”).

· Section 6.5.7.1.13 

	Proposed Protocol Language Revision


4.2.3
Posting Forecasted ERCOT System Conditions

No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Secure Area, and make available for download, the following information for the Operating Day:

(a)
The Redacted Network Operations Model that includes known transmission line and other Transmission Facilities outages in the Common Information Model (CIM) format for the minimum Load hour and the peak Load hour, and the companion version of Network Operations Model (unredacted) will be posted to the MIS Certified Area for Transmission Service Providers (TSPs); 

(b)
Differences between the posted 0600 Redacted Network Operations Model and the previous day’s Redacted Network Operations Model;
(c)
Weather assumptions used by ERCOT to forecast ERCOT System conditions and used in the Dynamic Rating Processor;

(d)
Any weather-related changes to the transmission contingency list;  

(e)
ERCOT System, Weather Zone, and Load Zone Load forecasts for the next seven days, by hour, and a message on update indicating any changes to the forecasts by means of the Messaging System; 

(f)
Load forecast distribution factors from which Market Participants can calculate Load at the Electrical Bus level by hour for the next seven days; 

(g)
Load Profiles for non-Interval Data Recorder (IDR) metered Customers; 

(h)
Distribution Loss Factors (DLFs) and forecasted ERCOT-wide Transmission Loss Factors (TLFs), as described in Section 13.3, Distribution Losses, and Section 13.2, Transmission Losses, for each Settlement Interval of the Operating Day; 

(i)
A current list of all Settlement Points that may be used for market processes and transactions;  

(j)
A mapping of Settlement Points to Electrical Buses in the Network Operations Model; and 
(k)
A list of transmission constraints that have a high probability of binding in the Security-Constrained Economic Dispatch (SCED) or DAM.

6.5.7.1.13
Data Inputs and Outputs for the Real-Time Sequence and SCED

(1)
Inputs:  The following information must be provided as inputs to the Real-Time Sequence and SCED.  ERCOT may require additional information as required, including:

(a)
Real-Time data from TSPs including status indication for each point if that data element is stale for more than 20 seconds;

(i)
Transmission Electrical Bus voltages;

(ii)
MW and MVAr pairs for all transmission lines, transformers, and reactors;

(iii)
Actual breaker and switch status for all modeled devices; and

(iv)
Tap position for auto-transformers;

(b)
State Estimator results (MW and MVAr pairs and calculated MVA) for all modeled Transmission Elements;

(c)
Transmission Element ratings from TSPs;

(i)
Data from the Network Operations Model:

(A)
Transmission lines – Normal, Emergency, and 15-Minute Ratings (MVA); and

(B)
Transformers and Auto-transformers – Normal, Emergency, and 15-Minute Ratings (MVA) and tap position limits;

(ii)
Data from QSEs:

(A)
Generator step-up transformers tap position;

(B)
Resource HSL (from telemetry); and

(C)
Resource LSL (from telemetry); and

(d)
Real-Time weather, from WGRs, and where available from TSPs or other sources.  ERCOT may elect to obtain other sources of weather data and may utilize such information to calculate the dynamic limit of any Transmission Element.

(2)
ERCOT shall validate the inputs of the Resource Limit Calculator as follows:

(a)
The calculated SURAMP and SDRAMP are each greater than or equal to zero; and

(b)
Other provision specified under Section 3.18, Resource Limits in Providing Ancillary Service.

(3)
Outputs for ERCOT Operator information and possible action include:

(a)
Operator notification of any change in status of any breaker or switch;

(b)
Lists of all breakers and switches not in their normal position;

(c)
Operator notification of all Transmission Element overloads detected from telemetered or State-Estimated data;

(d)
Operator notification of all Transmission Element security violations; and

(e)
Operator summary displays:

(i)
Transmission system status changes;

(ii)
Overloads;

(iii) 
System security violations; and

(iv)
Base Points.

(4)
Every hour, ERCOT shall post on the MIS Secure Area the following information:

(a)
Status of all breakers and switches used in the NSA except breakers and switches connecting Resources to the ERCOT Transmission Grid;

(b)
Transmission flows and voltages from the State Estimator, excluding transmission flows and voltages for Private Use Networks;

(c)
Individual transmission Load on Electrical Buses, sum of the Load on each Electrical Bus in each Load Zone, and total Load on Electrical Buses in the ERCOT System, the sum of ERCOT generation, and flow on the DC Ties, all from the State Estimator;

(d)
Transformer flows, voltages and tap position from the State Estimator, excluding transformer flows, voltages and tap position for Private Use Networks;

(e)
All binding transmission constraints and the contingency or overloaded element pairs that caused such constraint;

(f)
All Shadow Prices on binding transmission constraints;
(g)
The 15-minute average of Loads on the Electrical Buses from State Estimator results; and
(h)
Shift Factors by Resource Node.







�Please note this Section is also being revised by NPRR209 and NPRR267.








280NPRR-06 Board Report 101910
Page 1 of 6
PUBLIC


