| NPRR Number | 219 | NPRR Title | Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | October 19, 2010 |  |  |
| Effective Date |  | Upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections, for all language except grey-boxed language which will be upon system implementation – post-Texas Nodal Market Implementation Date. |  |  |
| Priority and Rank Assigned |  | Priority Critical (applicable only to grey-boxed language). |  |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 3.1.2, Planned Outage or Maintenance Outage Data Reporting 3.1.3.1, Transmission Facilities 3.1.3.2, Resources 3.1.4.3, Reporting for Planned Outages and Maintenance Outages of Resource and Transmission Facilities 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities 3.3.2.1, Information to Be Provided to ERCOT 6.3.2, Activities for Real-Time Operations 8.3, TSP Performance Monitoring and Compliance |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) establishes ERCOT as the responsible Entity that will manage Outage Scheduler entries for the Generation Resource for Transmission Elements owned by the Resource other than the Outage of the Generation or Load Resource itself. ERCOT’s obligations in this regard shall terminate upon the implementation of system changes that enable Resource Entity to enter Outages for their Transmission Facilities in the Outage Scheduler. This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the Market Information System (MIS). |  |  |
| Reason for Revision |  | This change conforms the Nodal Protocols to the as-built Nodal system. |  |  |
| Overall Market Benefit |  | Alignment of the Nodal Protocols with the as-built Nodal system. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR219 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 3/24/10, NPRR219, the CEO Revision Request Review, and Impact Analysis were posted. - On 3/31/10, Luminant Energy comments were posted. - On 4/22/10, PRS considered NPRR219. - On 5/17/10, Market Participant Workshop comments were posted. - On 5/18/10, TIEC comments were posted. - On 5/20/10, PRS again considered NPRR219. - On 6/16/10, ERCOT comments were posted. - On 6/17/10, PRS again considered NPRR219. - On 7/12/10, CenterPoint Energy comments were posted. - On 7/22/10, PRS again considered NPRR219. - On 8/18/10, a second set of TIEC comments were posted. - On 8/19/10, PRS again considered NPRR219. - On 9/16/10, a second set of ERCOT comments were posted. - On 9/21/10, ROS comments were posted. - On 9/22/10, LCRA comments were posted. - On 9/22/10, a third set of TIEC comments were posted. - On 9/23/10, PRS again considered NPRR219. - On 10/01/10, Oncor comments were posted. - On 10/4/10, a second set of CenterPoint Energy comments were posted. - On 10/4/10, AEP comments were posted. - On 10/4/10, PRS again considered NPRR219. - On 10/6/10, a revised CEO Revision Request Review and a revised Impact Analysis were posted. - On 10/7/10, TAC considered NPRR219. - On 10/12/10, a third set of ERCOT comments were posted. - On 10/14/10, a fourth set of ERCOT comments were posted. - On 10/19/10, the ERCOT Board considered NPRR219. |  |  |
| PRS Decision |  | On 4/22/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 5/20/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 6/17/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 7/22/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 8/19/10, PRS unanimously voted to table NPRR219 for one month. The Independent Power Marketer (IPM) Market Segment was not present for the vote. On 9/23/10, PRS unanimously voted to table NPRR219 until the 10/4/10 Special PRS meeting. All Market Segments were present for the vote. On 10/4/10, PRS voted to recommend approval of NPRR219 as amended by the 9/22/10 TIEC comments and as revised by PRS and to forward NPRR219 and the Impact Analysis to TAC via roll call vote. PRS then voted to recommend a priority of Critical to the grey-boxed language. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 4/22/10, there was discussion regarding the Market Participant Workshop held for NPRR219. Comments will be submitted for the language revisions made at the workshop. A Market Participant stated that Texas Regional Entity (TRE) is in the process of reviewing and registering Entities with transmission elements that could potentially have an impact. On 5/20/10, NPRR219 and NPRR238, Resolution of Alignment Item A47, A59, A104, A105, A114, A115, A130, A188, and A189 - Provides Clarification and Updates to Network Operations Model Processes for Resource Entities, both have revisions to Section 3.3.2.1, Information to Be Provided to ERCOT. A request was made to table NPRR219 and NPRR238 to allow for review of the Section 3.3.2.1 and possibly merge the revisions. It was noted that a decision on NPRR146, ICCP Telemetry Information Submittals, would affect NPRR219 and NPRR238 and removing the seven day switch capability should be considered. On 6/17/10, Market Participants agreed to table NPRR219 to provide additional time to review the 6/16/10 ERCOT comments and to determine if there are implications associated with adding the language regarding Private Use Networks. On 7/22/10, Market Participants agreed to table NPRR219 to allow ERCOT to submit a Nodal Operating Guide Revision Request (NOGRR) to address concerns regarding the reports on Outages. On 8/19/10, ERCOT Staff requested NPRR219 be tabled to allow additional time to review the 8/18/10 TIEC comments. ERCOT Staff also stated that comments would be filed to remove additional Outage reporting requirements. On 9/23/10, additional time was requested to address concerns raised in the 9/16/10 ROS comments and to review proposed changes in the 9/22/10 TIEC comments. On 10/4/10, there was discussion regarding ERCOT’s capability to enter Outages on behalf of Resources and whether or not there are ERCOT system limitations. Market Participants expressed their preference to have ERCOT be responsible for entering the Outages in the Outage Scheduler and proposed that a “Transmission Service Provider (TSP) Role” be created for ERCOT so that they were able to do so. It was requested that ERCOT have a clear explanation of their capabilities and system limitations regarding entering Outages at the 10/7/10 TAC meeting. |  |  |
| TAC Decision |  | On 10/7/10, TAC voted to recommend approval of NPRR219 as recommended by PRS in the 10/4/10 PRS Report as revised by TAC and to recommend a priority of Critical to the grey-boxed language. There was one abstention from the IPM Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/7/10, there was discussion regarding the responsibility of entering Outages for transmission equipment owned by Resource Entities. ERCOT Staff stated that system changes to allow Resource Entities to enter their own Outages into the Outage Scheduler are expected to be completed by April 2011. Language was proposed assigning the responsibility of entering Outages for Resource Entities to TSP) until April 1, 2011. After such date, if system changes have not been implemented, the responsibility would lie with ERCOT. |  |  |
| Board Decision |  | On 10/19/10, the ERCOT Board approved NPRR219 as recommended by TAC in the 10/7/10 TAC Report and as amended by the 10/14/10 ERCOT comments. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Alignment of Nodal Protocols with the as-built Nodal system. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Bill Blevins |
| E-mail Address | bblevins@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6691 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant Energy 033110 | Offered clarifying language that only the TSP that currently serves the Resource be allowed to submit status changes through the Outage Scheduler on transmission-related equipment on behalf of the Resource Entity. Clarified the definition of Outage. |
| Market Participant Workshop 051720 | Proposed revisions to align the “as designed” Outage Scheduler with the Nodal Protocols and to restore and grey-box the original language that allowed Resource owners to submit transmission equipment Outages for equipment they owned so that ERCOT can incorporate into the Nodal systems post Nodal go-live. |
| TIEC 051810 | Proposed revisions to the 5/17/10 NPRR219 Market Participant Workshop comments to exempt Transmission Facilities and unregistered generation within a Private Use Network from the Outage reporting requirements. |
| ERCOT 061610 | Incorporated the revisions proposed to Section 3.3.2.1 by NPRR238 into NPRR219 and addressed the 5/18/10 TIEC comments. Proposed additional revisions to provide clarification of the posting timing for Security-Constrained Economic Dispatch (SCED) Shadow Prices and binding constraints. |
| CenterPoint Energy 071210 | Proposed changes, in addition to those proposed by 6/16/10 ERCOT comments, to add the requirement for Resource Entities and Private Use Networks to submit information in certain portions of the language. |
| TIEC 081810 | Proposed changes to limit Outage reporting to Transmission Facilities and to exclude Private Use Networks. |
| ERCOT 091610 | Proposed removing planned vs. actual monthly and annual transmission Outage statistics from reporting and grey-boxing posting of Transmission Outage statistical reports. |
| ROS 092110 | Believed there is a conflict of Outage Scheduler responsibilities between ERCOT and the North American Electric Reliability Corporation (NERC) registration and federal Reliability Standards. |
| LCRA 092210 | Proposed additional language revisions so that TSPs are not required to enter Outage information for Generation Resources when there is no explicit agreement between the parties to allocate risks and responsibilities. |
| TIEC 092210 | Proposed additional language revisions to reflect that Resource Entities, not Private Use Networks, are the Entities governed by the Protocols, and to require Resource Entities within a Private Use Network to notify ERCOT when Transmission Facilities will be added or removed at the Point of Interconnection. |
| Oncor 100110 | Proposed revisions to address the consequences of having TSPs enter Transmission Element Outages for a Resource Entity by proposing the use of the term Generation Resource, rather than Resource Entity. |
| CenterPoint Energy 100410 | Proposed revisions to align the Oncor comments with the language agreed upon at the April 2010 Market Participant Workshop. |
| AEP 100410 | Supported language changes recommended by the 9/22/10 LCRA comments and the 10/1/10 Oncor comments. Also proposed the alternative option of having ERCOT enter Outages into the Outage Scheduler for Resource Entities. |
| ERCOT 101210 | Proposed revisions to assume the obligation of entering Transmission Facility outages in the Outage Scheduler on behalf of the Resource Entity on December 1, 2010 until the Outage Scheduler enhancement project is implemented and proposed revisions to the Revision Description to reflect the change in responsibility. |
| ERCOT 101410 | Proposed additional revisions to the 10/12/10 ERCOT comments to provide clarification that where appropriate that Generation Resources are subject to the proposed revisions. |

Comments

3/24/10	The proposed language in Section 6.3.2, Activities for Real-Time Operations, includes language from NPRR169, Clarify the Calculation and Posting of LMPs for the Load Zone and LMPs for each Hub, that was approved by the ERCOT Board on March 23, 2010.  The approved language is tracked under author NPRR169.

Please note that the following NPRR(s) also propose revisions to the following sections:

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes

  - Section 3.1.3.2

- NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”)

  - Section 2.1

- NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs

  - Section 8.3

- NPRR275, Clarify QSE’s Ability to Make Changes to Ancillary Service Resource Responsibility in Real Time

  - Section 6.3.2

Proposed Protocol Language Revision

2.1 Definitions

Outage

The condition of a Transmission Facility or Generation Resource that is part of the ERCOT Transmission Grid and defined in the Network Operations Model that has been removed from its normal service, excluding the operation of Transmission Facilities associated with the start-up and shutdown of Generation Resources.

3.1.2	Planned Outage or Maintenance Outage Data Reporting

Each Resource Entity and Transmission Service Provider (TSP) shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule.  All information submitted about Planned Outages or Maintenance Outages must be submitted by the Resource Entity or the TSP under this Section.  If an Outage Schedule for a Resource is also applicable to the COP, the QSE responsible for the Resource shall also update the COP to provide the same information describing the Outage.

3.1.3.1	Transmission Facilities

(1)	Each TSP shall provide to ERCOT a Planned Outage or Maintenance Outage plan in an ERCOT-provided format for the next 12 months updated monthly.  Planned Outage or Maintenance Outage scheduling data for Transmission Facilities must be kept current.  Updates must identify all changes to any previously proposed Planned Outages or Maintenance Outages and any additional Planned Outages or Maintenance Outage anticipated over the next 12 months.  ERCOT shall coordinate in-depth reviews of the 12-month plan with each TSP at least twice per year.

[NPRR219: Insert paragraph (2) upon system implementation:] (2) ERCOT shall report statistics on how TSP Planned Outages compare with actual TSP Outages, post those statistics to the MIS Secure Area, and report those statistics to ERCOT subcommittees twice per year. However, to the extent Outages are required to repair or improve telemetry accuracy or failures, the Outage must not be counted against the TSP in its performance of planning Outages, because such Outages cannot reasonably be forecasted 12 months in advance.

3.1.3.2	Resources

(1)	Each Resource Entity shall provide to ERCOT a Planned Outage and Maintenance Outage plan for Generation Resources in an ERCOT-provided format for the next 12-months updated monthly.  Planned Outage and Maintenance Outage scheduling data must be kept current.  Updates, through an electronic interface as specified by ERCOT, must identify any changes to previously proposed Planned Outages or Maintenance Outages and any additional Planned Outages or Maintenance Outages anticipated over the next 12 months.

(2)	ERCOT shall report statistics monthly on how Resource Planned Outages compare with actual Resource Outages, and post those statistics to the MIS Secure Area.

3.1.4.3	Reporting for Planned Outages and Maintenance Outages of Resource and Transmission Facilities

(1)	Each Resource Entity and TSP shall submit information regarding proposed Planned Outages and Maintenance Outages of Transmission Facilities or Generation Resources under procedures adopted by ERCOT.  The obligation to submit that information applies to each Resource Entity that is responsible to operate or maintain a Generation Resource that is part of or that affects the ERCOT System.  The obligation to submit that information applies to each TSP or Resource Entity that is responsible to operate or maintain Transmission Facilities that are part of or affect the ERCOT System.  A Resource Entity or TSP is also obligated to submit information for Transmission Facilities or Generation Resources that are not part of the ERCOT System or that do not affect the ERCOT System if that information is required for regional security coordination as determined by ERCOT.

(2)	Before taking an RMR or Black Start Resource (“Reliability Resources”) out of service for a Planned Outage or Maintenance Outage, the Single Point of Contact for that Reliability Resource must obtain ERCOT’s approval of the schedule of the Planned Outage or Maintenance Outage.  ERCOT shall review and approve or reject each proposed Planned Outage or Maintenance Outage Schedule under this Section and the applicable Agreements.

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities

(1)	TSPs and Resource Entities shall request a Planned Outage or Maintenance Outage for their respective Transmission Facilities (i.e. Transmission Facilities owned by such Entities) that are part of the ERCOT Transmission Grid and defined in the Network Operations Model.   For Resource Entities within a Private Use Network, this only includes Transmission Facilities at the Point of Interconnection (POI).  Specifically, such requests shall be made when a relevant Transmission Facility will be removed from its normal service.  For TSP requests, the TSPs shall enter such requests in the Outage Scheduler.  For Resource Entity requests, ERCOT shall enter such requests in the Outage Scheduler on behalf of the Resource Entity.  ERCOT’s obligation to enter outage requests for Resource Entities is valid only for the purposes of Transmission Facilities Outage Scheduler entry requirements prescribed by the ERCOT Protocols and Operating Guides. ERCOT’s obligations hereunder do not create any legal obligation or responsibility related to any other legal obligations applicable to a Resource Entity.  ERCOT’s obligation shall terminate upon the implementation of system changes that enable Resource Entities to perform this function.  Planned Outages or Maintenance Outages for Electrical Buses will be treated as consequentially outaged Transmission Elements.  In those cases where a TSP enters the breaker and switch statuses associated with an Electrical Bus, a downstream topology processor will evaluate the breakers and switches associated with the applicable Electrical Bus to determine if the Electrical Bus is consequentially outaged, and to thereby designate the status of the Electrical Bus.  Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP or Resource Entity in accordance with this Section constitutes a request for ERCOT’s approval of the Outage Schedule associated with the Planned Outage or Maintenance Outage.  ERCOT is not deemed to have approved the Outage Schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP or Resource Entity of its approval under procedures adopted by ERCOT.  Once ERCOT posts a Resource Entity Transmission Facility Outage request on the MIS Secure Area, the Resource Entity shall review the submitted Outage for accuracy and request that ERCOT submit modifications if necessary.  ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.

[NPRR219: Replace paragraph (1) above with the following upon system implementation:] (1) A TSP or Resource Entity shall request a Planned Outage or Maintenance Outage when any Transmission Facility that is part of the ERCOT Transmission Grid and defined in the Network Operations Model will be removed from its normal service. For Resource Entities within a Private Use Network, this only includes Transmission Facilities at the Point of Interconnection (POI). For TSP requests, the TSPs shall enter such requests in the Outage Scheduler. For Resource Entity requests, the Resource Entity shall enter such requests in the Outage Scheduler. Planned Outages or Maintenance Outages for Electrical Buses will be treated as consequentially outaged Transmission Elements. In those cases where a TSP enters the breaker and switch statuses associated with an Electrical Bus, a downstream topology processor will evaluate the breakers and switches associated with the applicable Electrical Bus to determine if the Electrical Bus is consequentially outaged, and to thereby designate the status of the Electrical Bus. Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP or Resource Entity in accordance with this Section constitutes a request for ERCOT’s approval of the Outage Schedule associated with the Planned Outage or Maintenance Outage. ERCOT is not deemed to have approved the Outage Schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP or Resource Entity of its approval under procedures adopted by ERCOT. ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.

(2)	ERCOT shall review and approve Planned Outages and Maintenance Outages of Transmission Facilities schedules.  ERCOT shall transmit its approvals and rejections to TSPs via the ERCOT Outage Scheduler.  Once approved, ERCOT may not withdraw its approval except under the conditions described in Section 3.1.5.7, Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities.

(3)	Private Use Network Outage requests submitted pursuant to this Section shall not be publicly posted.

3.3.2.1	Information to Be Provided to ERCOT

(1)	The energization or removal of  a Transmission Facility or Generation Resource in the Network Operations Model requires an entry into the Outage Scheduler by a TSP or Resource Entity.  The Resource Entity shall make entries in the Outage Scheduler for Outages of new or relocated Generation Resources.  ERCOT shall submit entries into the Outage Scheduler on behalf of the Resource Entity, for any energization or removal of Transmission Facilities owned by the Resource Entity.  Once ERCOT posts a Resource Entity Transmission Facility Outage request on the MIS Secure Area, the Resource Entity shall review the submitted Outage for accuracy of information and request  that ERCOT submit modifications if necessary.  If any changes in system topology or telemetry are expected, then the TSP or Resource Entity shall notify ERCOT in accordance with the schedule in Section 3.3.1, ERCOT Approval of New or Relocated Facilities.  Information submitted pursuant to Section 3.3.2.1 for Transmission Facilities within a Private Use Network shall not be publicly posted.

(2)	If a Resource Entity within a Private Use Network is adding or removing a Transmission Facility at the Point of Interconnection (POI), it shall inform and determine with ERCOT whether any corresponding Network Operations Model updates are necessary.  If ERCOT and the Resource Entity determine that updates are needed, the process set forth in paragraph (1) above shall be used to incorporate the update into the Network Operations Model and Outage Scheduler.  Information submitted pursuant to paragraph (1) above shall not be publicly posted.

[NPRR219: Replace paragraphs (1) and (2) above with the following upon system implementation:] (1) The energization or removal of a Transmission Facility or Generation Resource in the Network Operations Model requires an entry into the Outage Scheduler by a TSP or Resource Entity. For TSP requests, the TSPs shall enter such requests in the Outage Scheduler. For Resource Entity requests, the Resource Entity shall enter such requests in the Outage Scheduler. If any changes in system topology or telemetry are expected, then the TSP or Resource Entity shall notify ERCOT in accordance with the schedule in Section 3.3.1, ERCOT Approval of New or Relocated Facilities. Information submitted pursuant to this subsection for Transmission Facilities within a Private Use Network shall not be publicly posted. (2) If a Resource Entity within a Private Use Network is adding or removing a Transmission Facility at the Point of Interconnection (POI), it shall inform and determine with ERCOT whether any corresponding Network Operations Model updates are necessary. If ERCOT and the Resource Entity determine that updates are needed, the process set forth in paragraph (1) above shall be used to incorporate the update into the Network Operations Model. Information submitted pursuant to this paragraph (1) above shall not be publicly posted.

(3)	TSPs and Resource Entities shall submit any changes in system topology or telemetry in accordance with the Network Operations Model Change Request (NOMCR) process or other ERCOT-prescribed process applicable to Resource Entities and according to the requirements of Section 3.10.1, Time Line for Network Operations Model Changes.  The submittal shall include the following:

(a)	Proposed energize date;

(b)	TSPs, or Resource Entities performing work;

(c)	TSPs, or Resource Entities responsible for rating affected Transmission Element(s);

(d)	For Resource Entities, data and information required by Section 16.5, Registration of a Resource Entity;

(e)	Station identification code;

(f)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(g)	Ratings of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(h)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(i)	General statement of work to be completed with intermediate progress dates and events identified;

(j)	SCADA modification work, including descriptions of the telemetry points or changes to existing telemetry, providing information on equipment being installed, changed, or monitored;

(k)	Additional data determined by ERCOT and TSPs, or Resource Entities as needed to complete the ERCOT model representation of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(l)	Statement of completion, including:

(i)	Statement to be made at the completion of each intermediate stage of project; and

(ii)	Statement to be made at completion of total project.

(m)	Drawings, including:

(i)	Existing status;

(ii)	Each intermediate stage; and

(iii)	Proposed final configuration.

6.3.2	Activities for Real-Time Operations

(1)	Activities for Real-Time operations begin at the end of the Adjustment Period and conclude at the close of the Operating Hour.

(2)	The following table summarizes the timeline for the Operating Period and the activities of QSEs and ERCOT during Real-Time operations where “T” represents any instant within the Operating Hour.  The table is intended to be only a general guide and not controlling language, and any conflict between this table and another section of the Protocols is controlled by the other section:

| Operating Period | QSE Activities | ERCOT Activities |
| --- | --- | --- |
| During the first hour of the Operating Period |  | Execute the Hour-Ahead Sequence, including HRUC, beginning with the second hour of the Operating Period Review and communicate HRUC commitments Snapshot the Scheduled Power Consumption for Controllable Load Resources |
| Before the start of each Security-Constrained Economic Dispatch (SCED) run | Update Output Schedules for DSRs | Validate Output Schedules for DSRs Execute Real-Time Sequence |
| SCED run |  | Execute SCED |
| During the Operating Hour | Acknowledge receipt of Dispatch Instructions Comply with Dispatch Instruction Review Resource Status to assure current state of the Resources is properly telemetered Update COP with actual Resource Status and limits and Ancillary Service Schedules Communicate Resource Forced Outages to ERCOT | Communicate all Base Points, Dispatch Instructions and LMPs for energy and Ancillary Services using Inter-Control Center Communications Protocol (ICCP) or Verbal Dispatch Instructions (VDIs) Monitor Resource Status and identify discrepancies between COP and telemetered Resource Status Restart Real-Time Sequence on major change of Resource or Transmission Element Status Monitor ERCOT total system capacity providing Ancillary Services; Validate COP information Monitor ERCOT control performance; Distribute by ICCP, and post to the MIS Public Area, the LMPs created by each SCED process for each Resource Node. These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective Post Hub LMP, Load Zone LMP, and LMPs for each Electrical Bus via the MIS Public Area. These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective. Post each hour on the MIS Secure Area SCED Shadow Prices, and active binding transmission constraints by Transmission Element name (contingency /overloaded element pairs) Post the Settlement Point Prices for each Settlement Point immediately following the end of each Settlement Interval Post parameters as required by Section 6.4.8, Ancillary Services Capacity During the Adjustment Period and in Real-Time, to the MIS Secure Area |

(3)	At the beginning of each hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Changes in ERCOT System conditions that could affect the security and dynamic transmission limits of the ERCOT System, including:

(i)	Changes or expected changes, in the status of Transmission Facilities as recorded in the Outage Scheduler for the remaining hours of the current Operating Day and all hours of the next Operating Day; and

(ii)	Any conditions such as adverse weather conditions as determined from the ERCOT-designated weather service;

(b)	Updated system-wide Load forecasts;

(c)	The quantities of Reliability Must-Run (RMR) Services deployed by ERCOT for each previous hour of the current Operating Day;

(d)	Total ERCOT System Demand, from Real-Time operations, integrated over each Settlement Interval; and

(e)	Updated Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads for each hour of the current Operating Day and all hours of the next Operating Day.

- 8.3	TSP Performance Monitoring and Compliance

(1)	ERCOT shall develop a Technical Advisory Committee (TAC)- and ERCOT Board-approved Transmission Service Provider (TSP) monitoring program to be included in the Operating Guides for TSPs prior to the Texas Nodal Market Implementation Date, which shall include the following:

(a)	Transmission Element ratings methodology as required by ERCOT:

(i)	Timely submittal of ratings, required information on methodology, and updates as requested by ERCOT; and

(ii)	Timely response to ERCOT requests to review rating methodology;

(b)	Real-Time data:

(i)	Telemetry performance; and

(ii)	Communications system performance;

[NPRR219: Insert paragraph (1)(c) and renumber accordingly, upon system implementation:] (c) Outage scheduling and coordination; TSP Outage planning and scheduling statistics must have less weight the further out these statistics are from the Planned Outage date;

(c)	Compliance with model update requirements, including provision of network data in Common Informational Model (CIM) compatible format and consistency with the Transmission Element naming convention developed in accordance under Section 3, Management Activities for the ERCOT System;

(d)	Staffing plan for a backup control facility or procedures in the event that the primary facility is unusable, for TSPs; and

(e)	Compliance with valid Dispatch Instructions.