| NOGRR Number | 050 | NOGRR Title | Resolution of Reporting Issues Related to NPRR219 |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Date of Decision |  | October 19, 2010 |  |  |
| Effective Date |  | Upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections, for all language except grey-boxed language which will be upon system implementation – post-Texas Nodal Market Implementation Date. |  |  |
| Priority and Rank Assigned |  | Priority Critical (applicable only to grey-boxed language). |  |  |
| Guide Section Requiring Revision |  | 9.2.3, Transmission Outage Reporting |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) proposes revisions to remove the requirement for ERCOT to produce several reports related to Outage Scheduling from the current Nodal Operating Guide and grey-boxing the requirements until such time ERCOT systems can be modified to include only the Transmission Service Provider’s (TSP’s) Outages in the reports. |  |  |
| Reason for Revision |  | With the proposed changes in NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings, a TSP will be held accountable for Outage reporting that is completely outside of the TSP’s control. In other words, a TSP will be required by the Nodal Protocols to enter Outages into the Outage Scheduler for Resource Entities and Private Use Networks and the TSP will be held accountable under the reports in the Nodal Operating Guide for the information being submitted based on the needs of the Resource Entities and Private Use Networks. |  |  |
| Overall Market Benefit |  | Removes the requirement for ERCOT to produce misleading and incorrect reports. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 8/11/10, NOGRR050 and the CEO Revision Request Review were posted. - On 8/12/10, ROS considered NOGRR050. - On 8/19/10, PRS considered NOGRR050. - On 8/27/10, OWG comments were posted. - On 9/16/10, ERCOT comments were posted. - On 9/16/10, a preliminary Impact Analysis and a revised CEO Revision Request Review were posted. - On 9/21/10, ROS comments were posted. - On 9/23/10, PRS again considered NOGRR050. - On 10/4/10, PRS again considered NOGRR050. - On 10/6/10, a revised CEO Revision Request Review and an Impact Analysis were posted. - On 10/7/10, TAC considered NOGRR050. - On 10/19/10, the ERCOT Board considered NOGRR050. |  |  |
| ROS Decision |  | On 8/12/10, ROS unanimously voted to grant NOGRR050 Urgent status. ROS then voted to recommend approval of NOGRR050 as submitted. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 8/12/10, it was explained that NOGRR050 complements NPRR219 which requires TSPs to manage Outage Scheduler entries for Resource Entities. NOGRR050 grey-boxes certain Outage Scheduler reporting until ERCOT systems can include only the TSPs’ Outages in the reports. ROS recommended that the grey-box language in NOGRR050 be assigned the same priority as the grey-box language in NPRR219 which will be considered at the August 19th PRS meeting. |  |  |
| PRS Decision |  | On 8/19/10, PRS unanimously voted to table NOGRR050 for one month. The Independent Power Marketer (IPM) Market Segment was not present for the vote. On 9/23/10, PRS unanimously voted to table NOGRR050 until the 10/4/10 Special PRS meeting. All Market Segments were present for the vote. On 10/4/10, PRS unanimously voted to recommend approval of NOGRR050 as amended by the 9/16/10 ERCOT comments with a recommended priority of Critical to the grey-boxed language. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/19/10, NOGRR050 was tabled to allow additional time to review comments received on companion NPRR219. ERCOT Staff stated that comments would be filed on NOGRR050 to remove additional Outage reporting requirements. On 9/23/10, NOGRR050 was tabled so that it could be considered with NPRR219 at the 10/4/10 Special PRS meeting. On 10/4/10, it was explained that the 9/16/10 ERCOT comments proposed grey-boxing all of Section 9.2.3. |  |  |
| TAC Decision |  | On 10/7/10, TAC unanimously voted to recommend approval of NOGRR050 as recommended by PRS in the 10/4/10 PRS Report with a recommended priority of Critical to the grey-boxed language. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/7/10, there was no discussion. |  |  |
| Board Decision |  | On 10/19/10, the ERCOT Board approved NOGRR050 as recommended by TAC in the 10/7/10 TAC Report. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Aligns the reporting requirements of the Nodal Operating Guides with the Nodal Protocols. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None expected. | None expected. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reduces the reports issued by ERCOT that provide inaccurate information. |  |
|  | 2 | Supports market implementation. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | DeAnn Walker |
| E-mail Address | deann.walker@centerpointenergy.com |
| Company | CenterPoint Energy Houston Electric, LLC |
| Phone Number | 512-397-3032 |
| Cell Number | 512-784-0998 |
| Market Segment | Investor Owned Utility |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| OWG 082710 | Recommended approval of NOGRR050 as submitted. |
| ERCOT 091610 | Proposed additional language revisions to grey-box statistical reporting requirements. |
| ROS 092110 | Believed there is a conflict of Outage Scheduler responsibilities between ERCOT and the North American Electric Reliability Corporation (NERC) registration and federal Reliability Standards. |

Proposed Guide Language Revision

9.2.3	Transmission Outage Reporting

[Placeholder]

[NOGRR025 and NOGRR050: Replace Section 9.2.3, Transmission Outage Reporting, above, upon system implementation:] This Section describes the reporting data for the transmission Outage scheduling and is provided for informational purposes. There are no performance metrics for this data. (1) ERCOT shall post a monthly report of Outages considered on the MIS Secure Area including: (a) Number of Outage requests submitted in the ERCOT Outage Scheduler greater than 335 days (11 months) in advance; (b) Number of Outage requests submitted in the ERCOT Outage Scheduler between 90 and 334 days in advance of the desired Outage date; (c) Number of Outage requests submitted in the ERCOT Outage Scheduler between eight and 89 days in advance of the desired Outage date; (d) Number of Outage requests submitted in the ERCOT Outage Scheduler between three and seven days in advance of the desired Outage date; (e) Number of Outage requests submitted less than three days in advance; (f) Number of Outages by Outage type; and (g) Total Number of Outages that were requested, accepted, approved, cancelled, and withdrawn. (2) ERCOT shall post reports for each transmission owner showing the percentage of the total number of Outages, by type, described in paragraph (1) above.