CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | August 31, 2010 |
| Revision Request Number | NPRR265 |
| Revision Request Name | MIS Secure Area Posting of Resource Category – As-Built Clarification |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live (See comments below for ERCOT CEO Position) |  |
| Nodal Protocol Revision Request (NPRR) 265, MIS Secure Area Posting of Resource Category – As-Built Clarification, accounts for the posting of Resource Categories as a secure extract to the Market Information System (MIS) Secure Area in support of calculating Minimum and Maximum Resource Prices in Congestion Revenue Right (CRR) Settlement. This NPRR also adds a definition for “Resource Category.” After initial review, NPRR265 does not impact Nodal systems, budget or schedule. If the NPRR is not approved, changes to Nodal processes would be needed. The ERCOT CEO has determined that NPRR265 is necessary prior to the Texas Nodal Market Implementation Date. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: If this issue is not resolved prior to the Texas Nodal Market Implementation Date, the Nodal Protocols will not match the as-built intended operation of the Nodal system.; “Not Needed for Nodal Go-Live” Explain: ___________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.