| NPRR Number | 258 | NPRR Title | Synchronization with PRR824 and PRR833 and Additional Clarifications |
| --- | --- | --- | --- |
| Date |  | October 28, 2010 |  |
| Submitter’s Information |  |  |  |
| Name |  | Sydney Niemeyer on behalf of the Performance Disturbance Compliance Working Group (PDCWG) |  |
| E-mail Address |  | Sydney.niemeyer@nrgenergy.com |  |
| Company |  | NRG Energy |  |
| Phone Number |  | 713-795-6108 |  |
| Cell Number |  | 832-655-6108 |  |
| Market Segment |  | Independent Generator |  |

Comments

The PDCWG agrees with the 10/27/10 ERCOT Comments to remove the words “to Measurable Event” in the last sentence of Section 8.5.1.3, Wind-powered Generation Resource (WGR) Primary Frequency Response.  The PDCWG reviewed possible implementations of Primary Frequency Response for Wind-powered Generation Resources (WGR) and agrees that implementation of Primary Frequency Response that emulates proportional response similar to conventional Generation Resources is preferred.  This may include stepped tripping and starting of individual wind generators at different frequency thresholds to achieve a proportional response.

Revised Proposed Protocol Language

None at this time.