| I. Revision Request Details |  |
| --- | --- |
| Date | September 27, 2010 |
| Revision Request Number | NPRR281 |
| Revision Request Name | Replace 7-Day Forecast Requirement for QSEs Representing WGRs |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 281, Replace 7-Day Forecast Requirement for QSEs Representing WGRs, eliminates the requirement that Qualified Scheduling Entities (QSEs) representing Wind-powered Generation Resources (WGRs) must provide a 7-day forecast in their Current Operating Plan (COP). Instead, ERCOT shall provide a profile for hours 49-168, which QSEs representing WGRs will be then be required to enter and maintain in their COP. ERCOT has performed an initial assessment of NPRR281 and determined that, as currently written, it will impact Nodal systems. The ERCOT CEO has determined that, as written, NPRR281 is not necessary prior to the Texas Nodal Market Implementation Date. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: Not needed for Nodal Go-Live due to system impacts.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: Impacts, at a minimum, the EMS systems and current vendor contracts..