DRAFT

Protocol Revision Subcommittee (PRS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, September 23, 2010 – 9:30am

- Attendance

Members:

| Ashley, Kristy | Exelon Generation |  |
| --- | --- | --- |
| Bailey, Dan | Garland Power and Light |  |
| Brod, Bill | AES |  |
| Detelich, David | CPS Energy |  |
| Durrwachter, Henry | Luminant |  |
| Greer, Clayton | Morgan Stanley |  |
| Hammons, Daniela | CenterPoint Energy | Alt. Rep. for D. Walker |
| Helpert, Billy | Brazos Electric Power Coop. |  |
| Jackson, Alice | Occidental Chemical Corporation |  |
| Matlock, Michael | Gexa Energy |  |
| Morris, Sandy | LCRA |  |
| Torrent, Gary | OPUC |  |
| Wagner, Marguerite | PSEG Texas |  |

Guests:

| Bevill, Jennifer | AEP Energy Partners |  |
| --- | --- | --- |
| Bogen, David | Oncor |  |
| Brandt, Adrianne | Austin Energy |  |
| Brown, Jeff | Shell Energy |  |
| Cochran, Seth | Sempra Trading |  |
| Fox, Kip | AEP |  |
| Goff, Eric | Reliant |  |
| Gonzales, Daniel | City of Eastland |  |
| Hellinghausen, Bill | EDF |  |
| Jacoby, Jim | AEP |  |
| Jones, Liz | Oncor |  |
| Ögelman, Kenan | CPS Energy |  |
| Pieniazek, Adrian | NRG Texas |  |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | E.ON Climate and Renewables |  |
| Shinkawa, Paul | LCRA |  |
| Siddiqi, Shams | LCRA |  |
| Stephenson, Randa | Luminant |  |
| Stewart, Roger | LCRA |  |
| Varnell, John | Tenaska |  |
| Warren, John | LCRA |  |

ERCOT Staff:

| Adams, John |  | Via Teleconference |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Ashbaugh, Jackie |  | Via Teleconference |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Culberson, JC |  |  |
| Gonzalez, Ino |  |  |
| Hobbs, Kristi |  |  |
| Landin, Yvette |  |  |
| Levine, Jonathan |  |  |
| Maggio, David |  |  |
| McMahon, Patrick |  |  |
| Mingo, Sonja |  |  |
| Rickerson, Woody |  |  |
| Seibert, Dave |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Spangler, Bob |  |  |
| Tindall, Sandra |  |  |
| Wattles, Paul |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

PRS Chair Sandy Morris called the meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Morris directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.

Ms. Morris noted that the meeting would be Billy Helpert’s last PRS meeting, as Mr. Helpert would be retiring on October 1, 2010.  Market Participants joined Ms. Morris in congratulating Mr. Helpert and expressing their appreciation for his service.

Approval of Draft PRS Meeting Minutes (see Key Documents)

August 19, 2010

Henry Durrwachter moved to approve the August 19, 2010 PRS meeting minutes as posted.  Daniela Hammons seconded the motion.  The motion carried unanimously.

Urgency Votes (see Key Documents)

There were no items to consider for Urgent status.

TAC and ERCOT Board of Directors (ERCOT Board) Reports (see Key Documents)

Ms. Morris noted the disposition of revision requests at the September 21, 2010 ERCOT Board meeting.

TAC Committee Structure Review

Ms. Morris reported that TAC discussed the restructuring of subcommittees, and invited input on the utility and format of PRS.  Ms. Morris encouraged Market Participants to file individual comments on the topic if they did not wish to comment at the meeting.

Project Update and Summary of Project Priority List (PPL) Activity to Date (see Key Documents)

2011 PPL

Troy Anderson provided a Project Management Office (PMO) update and presented the 2011 PPL for PRS consideration.  Mr. Anderson reminded Market Participants that they would be involved in Nodal parking deck assessment discussions, and that while details were still being developed, it is anticipated that the first major post-Nodal stabilization release will take place in late-Spring 2012.

Mr. Anderson reiterated that the entire Nodal parking deck would be reevaluated, and that there could be as many as two sizable releases each year, and that Nodal system stabilization will be the primary focus of 2011.  Mr. Anderson reported that there are now two components to ERCOT’s 2011 project funding request: Data Center hardware purchase and installation, and other critical and high priority projects that have limited resource impacts.

Market Participants discussed that some Nodal parking deck items would be suitable candidates for stabilization; Mr. Anderson noted that ERCOT will likely propose a certain subset of Nodal parking deck items for stabilization.  Clayton Greer recommended that stakeholders make a preliminary evaluation of the Nodal parking deck and suggest items that ERCOT include in its initial proposal to Market Participants.

Kristy Ashley expressed frustration that user interfaces repeatedly requested by Exelon Generation will not be available at Nodal Go-live.  Ms. Ashley reminded Market Participants that she regularly expressed concern at Texas Nodal Team (TNT) meetings that should the interfaces not be available the first day of the Nodal Market, that stakeholders would not have Real-Time access to data that is needed for transparency and the ability to respond to market events.  Ms. Ashley expressed hope that a portion of the approximately $100 million in contingency funds would be used to build the interface project.  Mr. Anderson noted that he would add the item to the end of the Nodal parking deck for tracking purposes.  Jackie Ashbaugh added that interfaces are not part of the Nodal Protocols, but that a series of dashboards that were not available during market trials will be deployed and available as of October 12, 2010 on the Market Information System (MIS).

Mr. Greer moved to endorse ERCOT’s proposal to fund 2011 Projects in the amount of $45.2 million, including $1-2 million to support Public Utility Commission of Texas (PUCT) and market requests; and to stipulate that it is understood that requested amounts for the Data Center Hardware projects may be revised based on a change in funding approach; and that other ERCOT projects are also subject to change as the ERCOT budget process nears completion.  Eric Goff seconded the motion.  The motion carried with one abstention from the Investor Owned Utility (IOU) Market Segment.

Guide Priority & Rank Assignments (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 050, Resolution of Reporting Issues Related to NPRR219 – URGENT

Mr. Helpert moved to table NOGRR050 until the 10/4/10 Special PRS meeting.  Mr. Greer seconded the motion.  It was discussed that tabling NOGRR050 would allow the item to be considered at the same time as Nodal Protocol Revision Request (NPRR) 219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings.  The motion carried unanimously.

Review Recommendation Reports, Impact Analyses and Cost/Benefit Analyses (see Key Documents)

NPRR244, Clarification of Other Binding Documents

Market Participants expressed concern that to name specific Other Binding Documents in the Protocol language, rather than to simply reference the Other Binding Documents List, would require revision requests to alter the list of Other Binding Documents; suggested that the established Protocol revision request process might be employed to revise the Other Binding Document List; and proposed language revisions to affect the clarifications.  Kristi Hobbs noted that NPRR244 contains grey box language that requires a priority assignment.

Marguerite Wagner moved to endorse and forward the 8/19/10 PRS Report as amended by the 9/13/10 ERCOT comments and as revised by PRS and the revised Impact Analysis for NPRR244 to TAC; and to recommend a priority of High/Medium for the grey-boxed language.  Mr. Goff seconded the motion.  The motion carried with one abstention from the Municipal Market Segment.

Other Binding Documents List

Liz Jones expressed appreciation for ERCOT Staff efforts in developing the draft list and recommended that items be removed from the list should anyone object to their inclusion; and that those documents be subject to further discussion and written comment.  Market Participants discussed whether the list need be approved at the day’s meeting, or if the vote may be delayed to a later PRS meeting; that some items on the list are forms for applications and agreements and are included in the list to ensure that the forms are not changed without stakeholder knowledge; that there will be documents that are binding in a contractual sense that are not included in the list; and that a written objection to including a specific document on the list will provide insight for consideration by stakeholders that might not otherwise notice the documents inclusion.

Market Participants debated the inclusion of several documents, including Telemetry Standard, ICCP Communication Handbook, and Ancillary Service Methodology.  Ms. Hobbs noted that a column would be added to the document to indicate whether a particular document has an internal change control process; and requested that the list be considered at the October 4, 2010 Special PRS meeting.

NPRR246, Requirement for Resource Entities to Update Resource Parameters

Mr. Goff moved to endorse and forward the 8/19/10 PRS Report as amended by the 9/7/10 Luminant comments and Impact Analysis to NPRR246 to TAC.  Mr. Greer seconded the motion.  The motion carried with one objection from the Investor Owned Utility (IOU) Market Segment.

NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted

Bob Spangler noted that ERCOT would have to file comments to modify the process described in NPRR255; that ERCOT would like to use the Supplemental Ancillary Service Market (SASM) software package and therefore will provide comments consistent with the application itself.

Mr. Greer moved to table NPRR255 until the October 4, 2010 Special PRS meeting.  Mr. Durrwachter seconded the motion.  The motion carried unanimously.

NPRR261, Revision of Data Submission Timeline for Network Model

Mr. Anderson noted that there are minor system impacts associated with the implementation of NPRR261, but that no project will be required.

Alice Jackson moved to endorse and forward the 8/19/10 PRS Report and Impact Analysis for  NPRR261 to TAC.  Mr. Greer seconded the motion.  The motion carried unanimously.

NPRR262, Protocol Synchronization for Nodal Implementation Surcharge

Ann Boren noted a proposed revision to delete the subscript ‘r’ from the NIS calculation.  Pamela Shaw explained that there is no Generation Resource associated with a Non-Modeled Generator; and that should the Generator become modeled, it is given a Resource assignment.  Mr. Detelich added that the particular types of Generators are typically Distributed Generation and will never be modeled.  Market Participants proposed revisions to the calculation formulas.

Mr. Greer moved to endorse and forward the 8/19/10 PRS Report as revised by PRS and the Impact Analysis for NPRR262 to TAC.  Mr. Durrwachter seconded the motion.  The motion carried unanimously.

Review of  Protocol Revision Requests (PRRs) Language

There were no PRRs for review.

Review of NPRR Language (see Key Documents)

NPRR266, Installed Capacity of Unregistered Distributed Generation (DG)

NPRR268, Posting Requirements of Verifiable Costs Documents

NPRR270, Defining the Variable Used in the Wind Generation Formula

NPRR271, Synchronization to PRR850, Weather Responsiveness Determination for Interval Data Recorders

NPRR276, MIS Posting Requirement for the Network Operations Model Load Schedule

Mr. Durrwachter moved to recommend approval of NPRR266, NPRR268, NPRR270, NPRR271, and NPRR276 as submitted.  Mr. Goff seconded the motion.  It was discussed that a style correction to NPRR271 would be addressed administratively.  The motion carried unanimously.

NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes.

Ms. Jackson requested additional time to review the 9/21/10 ERCOT comments.

Mr. Greer moved to table NPRR190 until the next PRS meeting.  Ms. Jackson seconded the motion.  The motion carried unanimously.

NPRR219

Ms. Hammons moved to table NPRR219 until next PRS meeting.  Market Participants debated whether language might be sufficiently reviewed and understood by the day’s end so that a recommendation might be forwarded to the October 7, 2010 TAC meeting.  Ms. L. Jones noted that concerns were raised at the September 16, 2010 ROS meeting regarding possible conflicts with the North American Electric Reliability Corporation (NERC) registration and federal Reliability Standards that require additional review; that the Transmission Service Providers (TSPs) are developing comments to NPRR219; and that there has not been time to fully assess language revisions proposed by the 9/22/10 TIEC comments.  Ms. Morris noted that the motion to table had not received a second and requested the pleasure of PRS.

Mr. Greer moved to table NPRR219 until the 10/4/10 Special PRS meeting.  Ms. Hammons seconded the motion.  The motion carried unanimously.

NPRR253, CRR Balancing Account Invoice and Settlement and Billing Dispute Process

Mr. Greer moved to recommend approval of NPR253 as amended by the 9/16/10 COPS comments, and to forward NPRR253 and the Impact Analysis to TAC.  Mr. Durrwachter seconded the motion.  The motion carried unanimously.

NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs

Ms. Boren noted that the Nodal Advisory Task Force (NATF) recommended approval of NPRR257 as submitted; that ERCOT subsequently filed comments to NPRR257; and that should the item be tabled, it would later have to be expedited to TAC.  Randa Stephenson noted that ERCOT needs confirmed language as soon as possible, and that there might be impacts to taking language out of grey boxes.  Ms. Stephenson added that no reports are being deleted, but rather are being grey boxed.

David Maggio clarified that ERCOT intends to provide the reports, but that there is a delay in their provision until after Nodal go-live.  Mr. Maggio added that ERCOT Staff maintains a list of dates on the MIS when the reports will be made available.

Mr. Greer moved to recommend approval of NPRR257 as amended by the 9/16/10 ERCOT comments.  Mr. Detelich seconded the motion.  Mr. Greer noted that he would prefer to recommend approval, but without prejudice, as he and other Market Participants are not pleased with the item.  The motion carried with one objection from the Investor Owned Utility (IOU) Market Segment, and two objections from the Independent Generator Market Segment.

NPRR258, Synchronization with PRR824 and PRR833 and Additional Clarifications

Ms. Wagner moved to recommend approval of NPRR258 as amended by the 9/22/10 PSEG TX comments.  Mr. Greer seconded the motion.  Market Participants discussed the 9/22/10 PSEG TX comments.  The motion carried unanimously.

NPRR259, Resolution of Alignment Items A175 and A176 - Settlement of Generation Resources Dispatched to Meet System Reliability Requirements

Mr. Greer expressed concern that the reference to “all Dispatch Instructions” is vague, noted that Entities may receive may Dispatch Instructions that do not result in Reliability Unit Commitments (RUCs).  Ms. Wagner expressed her preference for language that requires ERCOT to use market tools as long as practicable, and then report when market tools are not used.  Market Participants proposed language revisions to make explicit ERCOT’s responsibility to exhaust market solutions without jeopardizing reliability before issuing the relevant Dispatch Instructions.

Ms. Wagner moved to recommend approval of NPRR259 as amended by the 9/1/10 ERCOT comments and as revised by PRS.  Mr. Detelich seconded the motion.  The motion carried unanimously.

NPRR263, Resolution of Alignment Item A99 - Settlement Point Price Calculation When Busses are De-energized

Ms. Wagner moved to table NPRR263 until the next PRS meeting.  Ms. Jackson seconded the motion.  Ms. Wagner requested that ERCOT incorporate the pricing mechanism into the Nodal Protocol language in time for the next PRS meeting.  The motion carried unanimously.

NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection

Walter Reid expressed concern for policy issues associated with NPRR264, opining that any Entity wishing to change their Point of Interconnect (POI) of their own accord is fairly subject to new requirements, but that and Entity required by ERCOT to change its POI should not be subject to new requirements.

Mr. Greer moved to table NPRR264 and to request that the ERCOT CEO reevaluate whether NPRR264 is needed prior to the Texas Nodal Market Implementation Date.  Bill Brod seconded the motion.  The motion carried with one abstention from the Independent Generator Market Segment.

NPRR265, MIS Secure Area Posting of Resource Category – As-Built Clarification

Mr. Durrwachter moved to recommend approval of NPRR265 as amended by the 9/17/10 Luminant Energy Company LLC comments.  Mr. Greer seconded the motion.  The motion carried unanimously.

NPRR267, Allow ERCOT to Manage Operations Model Pseudo Devices

Market Participants discussed that pseudo devises are infrequently used; that no other Regional Transmission Organization (RTO) uses pseudo devises; and that there is no current NERC requirement to model pseudo devices.  Woody Rickerson noted that there are three types of data base loads – scheduled, supplemental and emergency – and that ERCOT would manage pseudo devises through the agreed process of supplemental data base loads.

Kip Fox moved to recommend approval of NPRR267 as revised by PRS.  Mr. Greer seconded the motion.  Mr. Fox requested that ERCOT modify the “Network Operations Modeling Expectations for TSPs, REs, and QSEs” white paper to align with NPRR267.  The motion carried unanimously.

NPRR269, Synchronization of PRR830, Reactive Power Capability Requirement

Mr. Greer moved to recommend approval of NPRR269 as amended by the 9/20/10 Luminant comments.  Mr. Durrwachter seconded the motion.  Ms. Jackson noted that PRR830 is pending appeal at the PUCT and recommended amending the motion to synchronize language pending revisions that might be required by a Commission Order.  ERCOT Staff noted that NPRR269 is a synchronizing item, and that ERCOT Protocols are routinely amended per Commission Orders via the revision request process.

The motion carried with one objection from the Independent Generator Market Segment, and three abstentions from the Consumer, Independent Generator, and Independent Retail Electric Provider (IREP) Market Segments.

NPRR272, Definition and Participation of Quick Start Generation Resources

Jennifer Bevill noted that NPRR272 was discussed at the September 22, 2010 WMS meeting; that WMS referred the item to the Quick Start Task Force; and that WMS will resume discussion of NPRR272 at the October 4, 2010 Special WMS meeting.

Mr. Durrwachter moved to table NPRR272 until the October 4, 2010 Special PRS meeting.  Mr. Detelich seconded the motion.  The motion carried unanimously.

NPRR273, Allow Use of the ONTEST Resource Status to Indicate Resource Startup, Shutdown and Test Operations

Ms. Stephenson spoke to the 9/22/10 Luminant comments to NPR273 and noted that Luminant considers the item an interim solution and would like new Real-Time Resource status codes for start-up and shut-down.  Market Participants discussed that when units are in the start/shut-down sequence they cannot provide Ancillary Service; and that ERCOT requested at the September 22, 2010 NATF meeting that Ancillary Service responsibilities be adjusted before the top of the hour.  Ms. Wagner suggested that language be revised to state that a unit many not provide Ancillary Service if it is showing an On Test status.

John Varnell opined that the language also needs to cover Combined Cycle units in transition; Ms. Wagner added that in transition, there in an increment wherein a unit cannot be dispatched.

Mr. Bailey moved to recommend approval of NPRR273 as amended by the 9/22/10 Luminant comments and as revised by PRS, and to forward NPRR273 and the Impact Analysis to TAC.  Mr. Durrwachter seconded the motion.  Ms. Wagner opined that NPRR273 is not the complete solution for Combined Cycle units.  The motion carried with one abstention from the Consumer Market Segment.

NPRR274, Generic Startup Costs for Combine Cycle Generation Resources - Removal of Temporal Constraint

Mr. Greer moved to recommend approval of NPRR274 as submitted.  Ms. Wagner seconded the motion.  Market Participants discussed the dollar amount selected for the Startup Offer Generic Cap for Combined Cycle Generation Resources.  The motion carried with one abstention from the Consumer Market Segment.

NPRR275, Clarify QSE's Ability to Make Changes to Ancillary Service Resource Responsibility In Real Time

Mr. Greer moved to reject NPRR275.  Ms. Stephenson seconded the motion.  ERCOT Staff recommended that the sponsor of NPRR275 be contacted before the vote was taken.

Mr. Greer moved to table the motion until the sponsor of NPRR275 could speak to the item.  Mr. Goff seconded the motion.  The motion carried unanimously.

John Adams explained that NPRR275 is a proposed clarification to the Nodal Protocols, and cautioned that if the market determines that ERCOT’s approval is not needed to move Ancillary Service between Resources, there is no process to assure deliverability of Ancillary Service.  The motion to reject NPRR275 carried unanimously.

NPRR277, Removal of NPRR119 Language for LDL Calculation

Market Participants discussed the 9/20/10 Luminant comments to NPRR277.  Mr. Maggio expressed concern regarding language proposed by Luminant as it could result in control issues between Qualified Scheduling Entities (QSEs) and ERCOT.  Mr. Maggio explained that changes are required to Generation Resource Low Ancillary Service Limit (LASL) Resource Limit Calculator (RLC) to align with system coding.

Mr. Durrwachter moved to recommend approval of NPRR277 as revised by PRS.  Mr. Greer seconded the motion.  The motion carried unanimously.

NPRR278, Emergency Interruptible Load Service (EILS) Modifications to Correct Self-Provision Settlement Equations, to Accommodate Advanced Metering Infrastructure, and other Clarifications

Mr. Goff moved to remand NPRR278 to WMS.  Market Participants debated whether to remand the item to WMS or to table the item at PRS and allow WMS time to comment. Ms. Wagner noted that language revisions were needed regarding the use of “shall” and “may.”  Paul Wattles expressed hope that the item would receive ERCOT Board approval in time to incorporate technical changes for the February 2011 contract period.  Mr. Goff requested that the Demand Side Working Group (DSWG) and WMS provide comment to NPRR278.  The motion did not receive a second.

Mr. Greer moved to table NPRR278.  Adrianne Brandt seconded the motion.  The motion carried with one abstention from the Independent Generator Market Segment.

NPRR279, Resolution of Alignment Item A144 - Clarify Posting of MCPC for DAM and SASM

Ms. Wagner opined that NPRR279 was not ready for consideration absent explanation of the procedure ERCOT will use to revise prices.

Ms. Wagner moved to table NPRR279.  Mr. Dumas offered to discuss price validation, noting that should a software issue be identified during DAM or SASM clearing, or a step missed in the process, ERCOT would be able to provide a correction before 1600 the next day.  Ms. Wagner asked how ERCOT would develop the price, and if the previous day’s market would be re-run.

Steve Reedy noted that the process would be situation specific; that the market would be notified that ERCOT is examining prices and would prepare a packet for presentation to the ERCOT Board; and that if the ERCOT Board granted approval, ERCOT would send a Market Notice with the new prices for the day in question.  Ms. Wagner opined that many market components would be affected; that a written process would be helpful; and that the item should be tabled to provide time for additional discussion.  Mr. Goff seconded the motion.

Market Participants discussed that as much information as possible should be provided to the market as soon as possible; and that ERCOT would need to add resources to achieve certain analysis timelines.  The motion carried unanimously.

NPRRs /SCRs with CEO Determination of “Not Needed for Go-Live” (see Key Documents)

NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”)

Mr. Maggio noted that the exemption related to Generation Resource Energy Deployment Performance (GREDP) scoring in paragraph (6)(c) of Section 8.1.1.4.1, Regulation Service and Generation Resource/Controllable Load Resource Energy Deployment Performance, could not be automated without system impacts and would need to be grey-boxed until after Nodal go-live.

Ms. Stephenson moved to recommend approval of NPRR256 as amended by the 9/22/10 NATF comments and as revised by PRS.  Mr. Greer seconded the motion.  Mr. Maggio also noted that the five-minute intervals where Force Derates are excluded will not be captured in the automated reports issued pursuant to Section 8.1.1.4.1.  The motion carried with three abstentions from the Consumer, Independent Generator, and Independent Power Marketer (IPM) Market Segments.

NPRR260, Providing Access to MIS Secure Area to MIS Registered Users

Mr. Greer moved to recommend approval of NPRR260 as amended by the 9/17/10 ERCOT comments.  Ms. Jackson expressed concern for financial impacts associated with granting access to non-paying Entities.  Mr. Greer withdrew the motion, but reminded Market Participants that fee implementation requires vetting through the budget process currently underway, and approval at the Commission level.

Ms. Jackson moved to table NPRR260.  Mr. Greer seconded the motion.  Shams Siddiqi expressed concern that failure to grant access to the MIS Secure Area to Entities addressed in NPRR260 would result in a greater burden to ERCOT imposed by those Entities repeatedly contacting ERCOT Client Relations.  Mr. Siddiqi added that Entities currently have access to planning data now and perform a service in the form of free analysis.  The motion carried with one abstention from the IPM Market Segment.

Other Business (see Key Documents)

Other Binding Documents List Review

The Other Binding Documents list was considered with NPRR244.

Adjournment

Ms. Morris adjourned the September 23, 2010 PRS meeting at 3:22 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2010/09/20100923-PRS