Load Participation in ERCOT’s 
Security Constrained Economic Dispatch

The purpose of this paper is to explore a high level conceptual design to enable loads to participate in ERCOT’s real-time energy market by submitting demand response offers to be deployed by the Security Constrained Economic Dispatch (SCED) engine.   The paper also explores protocol and regulatory changes that are potentially necessary to implement such a solution.

Benefits of Load Participation in the Real-time Market

Load participation in SCED will fundamentally alter the electric market by allowing consumers to provide true economically-dispatched demand response (DR).  This has the potential to increase market efficiency through price elasticity of demand while lowering costs, reducing environmental impacts and improving grid reliability.  Because load participants are likely to submit offers that approximate their opportunity cost or value of lost load, this approach is capable of redeeming ERCOT’s energy-only market design by providing shortage prices when appropriate, based on actual offers that correctly price the shortage conditions.  Additionally, load participants will comprise a new pool of resources to provide operating reserves and thus allow ERCOT operators to operate the grid more efficiently and economically.  SCED dispatch of Load Resources (LRs) participating in the ancillary services markets will be truly economic —  reducing the need to rely solely on the alternative deployment methodologies inherent in DR dispatch today which can perversely suppress prices during shortage conditions.  Taken together, these changes will increase the State’s return on investment in the energy-only nodal market while creating DR opportunities for customers newly empowered from the mass deployment of advanced meters.

High Level Conceptual Design

The Load Resources in SCED Project (LRISP) will take advantage of many of the basic concepts and functionality that are included in the initial build out for Nodal implementation set to go live on December 1, 2010. Loads would be eligible, through their QSEs, to offer directly into SCED or to submit Ancillary Service offers in the Day Ahead Market (DAM).  A Load Resource procured for either Non-Spinning Reserve or Responsive Reserve Service could choose to be deployed through current mechanisms (XML messaging for Non-Spinning Reserve Service or Verbal Dispatch Instruction [VDI] for RRS) or choose to have its Ancillary Service capacity released for deployment by SCED following a deployment. In either case, load offers would join offers from generators in the SCED offer stack and be subject to economic dispatch — essentially the same as the systems are designed today, with a few modifications to ensure system stability. These modifications are more fully described below.

LRISP may need to be developed in two phases if the issues identified in the “Issues to Resolve“ section of this paper cannot be resolved in a reasonable period of time so that the greater benefits of Load Participation in SCED can be realized.  The paper is written under the assumption that these issues are in scope for the initial LRISP development.

ERCOT Systems with Potential Impacts

- Market Systems

  - DAM

    - No fundamental changes to Day-Ahead Market procurement are proposed. A new “deployment by SCED” flag would be added to the post-DAM COP update. The QSE would select either SCED deployment or the current deployment mechanism for Non-Spinning Reserve Service and RRS.  If the “deployment by SCED” flag is false the LRs would be deployed using the same mechanisms built into the current design (XML deployment message for Non-Spinning Reserve Service and an XML deployment followed by a VDI for RRS). If the “deployment by SCED” flag is true then the QSE would be required to submit an Energy Offer Curve (EOC) or would rely on ERCOT to create an EOC for the LR for the procured hours.  ERCOT would need to describe the process for creating this EOC.

  - SCED

    - The current SCED process uses a two-step methodology that solves for transmission congestion by applying mitigation to resolve Non-Competitive Constraints. This process evaluates offers and output schedules only from On-Line Generation Resources and dispatches to the total generation requirement determined by Load Frequency Control (LFC), subject to transmission constraints. The first step determines the Reference Locational Marginal Price (LMP) while observing only the limits of Competitive Constraints, the list of which is determined by the Constraints Competitiveness Tests (CCT). The second step then produces the base points, shadow prices, and LMPs using EOCs, which are either provided by QSEs for all on-line Generation Resources or created by ERCOT, while observing the limits of both Competitive and Non-Competitive Constraints. In this step the EOCs are now capped by either the Reference LMP as determined in the first step or the appropriate Mitigated Offer Cap and bounded at the lesser of the Reference LMP or the appropriate Mitigated Offer Floor.

    - To accommodate Load Resource participation, SCED step one would be modified to include evaluation of Load Resource EOCs submitted by QSEs or created by ERCOT.  ERCOT will create EOCs only for those LRs carrying an Ancillary Service Resource Responsibility for that time period.

    - Step two would then use EOCs from both Generation and Load Resources subject to security constraints (including both Competitive and Non-Competitive Constraints) and other Resource constraints. This step will be used to produce Base Points, Shadow prices, and LMPs for both Generation and Load Resources while applying the prevailing Offer Cap and offer floor mitigation rules.

    - The EOCs for LRs can be expected to be “blocky” (reflecting the tendency of DR to interrupt rather than ramp); therefore, some reasonable rules may need to be developed to prescribe how SCED should treat block offers. One potential solution could be that if the amount of energy needed to solve both power balance and network constraints is less than 50% of the block offer, then the block offer would be passed and SCED will continue up the aggregated EOCs to the next acceptable offer. If the amount of energy needed to solve both constraints is equal to or greater than 50% of the block offer, SCED would accept the entire offer and the base point and LMP will be based on that entire block. Note that it may not be necessary to set a limit on the size of each block. Since it is likely that offers from LRs will generally be at the high end of the aggregated EOC, it may be disadvantageous for large blocks to be offered. Large block offers risk getting passed over and not deployed during these generally high price events.

    - The current SCED process uses resource parameters, such as ramp rate, LSL, HSL, LDL, HDL, ramp rate, and other attributes.  Load Resources should be able to use all of these parameters to customize their participation in SCED.  For example, if the MW consumed by a process changes with time, either rapidly (such as a steel mill) or slowly (such as a shift-based production process), the QSE representing the Load Resource could telemeter to ERCOT a changing HSL, so that SCED only uses the energy available for dispatch at that time.

    - Many of the issues confronting Load Resources are shared by quick start generation resources, so to the extent that ideas such as “SCED look-ahead” are considered, they should also be considered for potential impacts on economic DR.

    - Since SCED relies on real-time telemetry to continuously evaluate the status of the system and its Resources, expanding the eligibility for Load participation in SCED to aggregations of LRs will require new solutions for aggregated telemetry and network modeling.

    - SCED will require modification to allow energy (DR) deployed by a Load Resource to be fed back into SCED’s ongoing algorithm calculating generation to be dispatched. This will prevent SCED from potentially causing volatile oscillating deployments of Load Resources with each SCED execution.

    - Adoption of a minimum run-time parameter could assure LRs participating in SCED of a payment for their DR deployment that more accurately approximates their opportunity cost or value of lost load.  Absent this or an alternative energy payment mechanism, LRs would be guaranteed to receive the LMP for only a single SCED execution (i.e., the $/MWh strike price divided by at least 12).   This lack of certainty for the energy payment could be a deterrent to Load participation.

  - RUC

    - It will not be necessary to subject Loads to Reliability Unit Commitments (RUC) during periods when they choose not to participate in the Day-Ahead Market.   A change to the Day-Ahead or Hour-Ahead RUC to allow it to view Load Resources via the QSEs’ COPs, indicating that they are in an online status, may be useful and advisable.

  - CCT

    - Modify the Annual and Monthly CCT to include capacity available from Load Resources that are part of the Network Operations Model. Assume all such LRs that are qualified to be participate in SCED are available for inclusion into both the Annual and Monthly CCT.

    - Modify the Daily CCT to use LR COP status to determine if modeled LRs are expected to participate in the DAM.

  - CRR

    - No impact expected

- Billing, Settlements & Data Aggregation

  - At the highest level, ERCOT should pay QSEs representing load resources in the same way that generators are paid (LMP-LMPZ).  However, a few exceptions may apply.  ERCOT should pay Load Resources for each settlement interval by multiplying the deployed energy by the Real-Time Settlement Price Point (RTSPP).  This means that whenever SCED determines that a particular LR is required to solve, that LR receives a base point above zero and is therefore eligible to be paid the amount of energy it deployed times the RTSPP.  At the same time, loads should not be paid to provide energy if they have nothing to sell.  Therefore, the Load Resource’s response must be added to its LSE’s load zone energy consumption.  For example, assume that SCED uses all of an 82 MW at $2,700 offer from a load resource that is currently consuming 100 MW.   As a result, the price at the resource node was $2,700 and the load resource price was $200.  Then, the load resource deployed 82 MW, leaving 18 MW online.  The results are:

- The QSE would be paid 82 times $2,700, or $221,400.

- The LSE’s load would be 18 MW + 82 MW, so its QSE would be charged 100 MW multiplied by the load zone price, or $20,000. (Of course, the QSE could have other positions at other settlement points.  These are ignored for simplicity).

- The QSE’s simplified settlement statement for this day would total $201,400.

Generation resources are charged for base point deviations, so base point deviation charges must also be also be assessed on load resources. (maybe consider following the QSGR language and exempt LR from Base Point Deviation Charges for the first 5 minutes.

Load Resources should be counted as online units, and their available capacity should reduce their QSE’s capacity short charges.  Effectively, this means that price responsive loads are exempt from RUC short charges when they are available to deploy.

- EMS

  - Some modifications to Load Frequency Control (LFC) may be required to accommodate non-modeled aggregations without shift factors.

  - State Estimator inputs to SCED may need to be modified to show the load from a deployed Load Resource as still being online.  This would have the effect of causing SCED to continue deploying the LR needed to resolve a constraint until less expensive resources become available.

Arbitrage Issues between DAM and Real-time

There are some concerns that allowing a Load Resource to participate only in the Real-Time market could lead to arbitrage issues between the DAM and RTM.  Fortunately, QSEs representing load can put in energy-only offers at the same resource nodes where LRs are connected to the grid.  If this energy-only offer is used by the DAM, LRs could choose to shed load during the same hours that the energy-offer was used.

Performance Monitoring

The project may require new energy deployment compliance criteria to be written into Section 8 of the Nodal Protocols.

Potential Regulatory Changes Required

A key question is how Load Resource participation in SCED will be treated in financial settlement.   This will require a review and interpretation of certain provisions of PUCT Substantive Rule §25.501, “Wholesale Market Design for the Electric Reliability Council of Texas.”  Depending on the interpretation, a change to the rule via a rulemaking project may be required to provide the necessary incentives for Load participation in SCED.

The question is whether a Load Resource (an ERCOT term) is a “load” or a “resource,” both of which are referenced in §25.501.  The rule requires ERCOT to settle each “resource imbalance” at the LMP and each “load imbalance” at its zonally-weighted average price (“LMPZ”).

(e)	Congestion pricing.

(1)	ERCOT shall directly assign all congestion rents to those resources that caused the congestion.

(2)	ERCOT shall be considered to have complied with paragraph (1) of this subsection if it complies with this paragraph.  ERCOT shall settle each resource imbalance at its nodal locational marginal price (LMP) calculated pursuant to subsection (f) of this section; each load imbalance at its zonal price calculated pursuant to subsection (h) of this section; and congestion rents on each scheduled transaction for a resource and load pair at the difference between the nodal LMP at the resource injection location calculated pursuant to subsection (f) of this section and the zonal price at the load withdrawal location calculated pursuant to subsection (h) of this section.

(f)	Nodal energy prices for resources.  ERCOT shall use nodal energy prices for resources.  Nodal energy prices for resources shall be the locational marginal prices, consistent with subsection (e) of this section, resulting from security-constrained, economic dispatch.

(g)	Energy trading hubs.  ERCOT shall provide information for energy trading hubs by aggregating nodes and calculating an average price for each aggregation, for each financial settlement interval.

(h)	Zonal energy prices for loads.  ERCOT shall use zonal energy prices for loads that consist of an aggregation of either the individual load node energy prices within each zone or the individual resource node energy prices within each zone.  Individual load node or resource node energy prices shall be the locational marginal prices, consistent with subsection (e) of this section, resulting from security-constrained, economic dispatch.  ERCOT shall maintain stable zones and shall notify market participants in advance of zonal boundary changes in order that the market participants will have an appropriate amount of time to adjust to the changes.

If Load Resources are interpreted to be “resources,” similar to generation resources, then it logically follows that Load Resources could “offer” to provide DR while simultaneously “bidding” to buy the power necessary to operate.  A Load Resource’s DR offer would be settled at the LMP just as generation, while its bids to buy power would be settled at the LMPZ pursuant to the Rule.  Because individual LMPs are more volatile than diluted LMPZs, this would create stronger incentives for Load Resources to locate at high-priced nodes or for existing Loads situated near high-priced nodes to become Load Resources.

Issues to Resolve

Load Resource participation in the ERCOT markets today is limited to individual loads which are capable of being modeled in the ERCOT system as part of the Network Operations Model.  These loads are associated with a single transmission element on the grid, and existing Load Resources are therefore potentially capable of being dispatched by SCED for both of SCED’s primary purposes:  power balancing and congestion management.   Modeling an individual load is an exact process if the load is connected at the transmission level; the location within the Network Model for a distribution-connected Load Resource is subject to a tolerable level of uncertainty depending on local conditions at a given time.

LRISP contemplates opening SCED to participation by all loads, including aggregations of small loads (e.g., retail chains, residential air conditioners, electric vehicles) which may be dispersed throughout the distribution network.  Enabling such loads to become aggregated Load Resources offers the prospect of enabling universal economic participation in electricity supply and demand, and significantly increases the potential pool of participants in ERCOT’s real-time energy and day-ahead Ancillary Services markets.  At the same time, this prospect poses a set of challenges that will need to be addressed through the ERCOT stakeholder process:

- Develop acceptable real-time telemetry standards for distribution-level aggregated Load Resources, potentially based on their desired Ancillary Service qualification levels.

- Develop an acceptable settlement solution for aggregated Load Resources that span multiple SPPs.  A key question is how the deployment of such an aggregation would impact the LMPs at those SPPs.

- Determine an acceptable minimum deployment time for a Load Resource, combined with a settlement solution that will attract participation by loads under the prevailing System Wide Offer Cap.