## Slide 1
RELIABILITY AND OPERATIONS SUBCOMMITTEE Report to TAC Austin, TX November 4, 2010
Kenneth A. Donohoo, P.E.
Chairperson
Oncor Electric Delivery Company LLC
Notes: <number>

## Slide 2: TAC Voting Items
ERCOT TAC Meeting - ROS Report
11/04/2010 Ken Donohoo
<number>
NOGRR048, Synchronization with OGRR240, CREZ Facility Protection and Control Requirements – Urgent
  This Nodal Operating Guide Revision Request (NOGRR) provides more stringent protection and control requirements for all new Competitive Renewable Energy Zone (CREZ) 345 kV Facilities.
  Benefit: None
  Impact: None
ROS Decision
  On 10/19/10, ROS voted to recommend approval of and forward the 9/23/10 OWG Report and Impact Analysis for NOGRR048 to TAC. There were four opposing votes from the Municipal (2) and Investor Owned Utility (IOU) (2) Market Segments. All Market Segments were present for the vote.
  OWG Provided additional comments.

## Slide 3: TAC Voting Items
ERCOT TAC Meeting - ROS Report
11/04/2010 Ken Donohoo
<number>
Revised State Estimator Standards
  This revision to the State Estimator Standards document corrects performance requirement in paragraph 5 to align with the ERCOT-delivered product. The revision also makes ROS the approving entity for the list of important voltages for performance requirement in paragraph 4. Additionally, section numbers have been added.
  Benefit: This revision will align the document with what ERCOT is delivering for the Nodal Market; therefore, this revision is needed prior to the Texas Nodal Market Implementation Date.
  Impact: None
ROS Decision
  Approved

## Slide 4: NMMS to Build Planning Cases
ERCOT TAC Meeting - ROS Report
11/04/2010 Ken Donohoo
<number>
NOT a December1 Go-Live Issue

## Slide 5: NMMS to Build Planning Cases
ERCOT TAC Meeting - ROS Report
03/04/2010 Ken Donohoo
<number>
Operations
Model
(NMMS)
CRR
Model
Topology
Processor
(Software)
Long Term
Planning
Model
(MOD)
IMM
(Software)

## Slide 6: NMMS to Build Planning Cases
ERCOT TAC Meeting - ROS Report
11/04/2010 Ken Donohoo
<number>
Nodal Planning is an entirely new method to build future planning cases from operations data
Many TSPs already have large existing databases of previously-vetted planning data to create future cases
TSPs are a partner with ERCOT on this effort to improve the database to meet planning requirements
Very complex translation of different environments
Presented at 10/26 NATF
Developing solutions and options that minimize manual workarounds and permit system-to-system porting of data
Manual entry increases risk of error

## Slide 7: NMMS to Build Planning Cases
ERCOT TAC Meeting - ROS Report
03/04/2010 Ken Donohoo
<number>
Continuous effort required to maintain these databases
Complete coordination of operating and planning databases is the goal, meeting all the needs
Process needs to be efficient and not create new manual workarounds
  Reduce possible source for errors
  Validation concerns with manual process
Current and new NERC standards may require further operations and planning model changes to support required analysis

## Slide 8: NMMS to Build Planning Cases
ERCOT TAC Meeting - ROS Report
03/04/2010 Ken Donohoo
<number>
New SCR Summary
Update TP/IMM to output latest PSSE version
  ERCOT needs to develop process to keep current within 180 days of new PSSE release
Distribution capacitor banks modeled
Include zero impedance line ratings where necessary
Associate loads and cap banks to correct Connectivity Node Group
Additional autotransformer parameters for planning
Improve FACTS device models
Assign valid PSSE IDs to breakers/switches/series devices
Include 30 degree phase shift for wye/delta transformation for autos

## Slide 9: ROS Next Meetings
ERCOT TAC Meeting - ROS Report
11/04/2010 Ken Donohoo
<number>
Thursday, November 11, 9:30 AM at ERCOT Austin
Major topics
  NMMS to Planning Model Building Issues and SCR’s
  Planning Working Group Issues Discussion