## Slide 1: Changes in Relay Misoperations Reporting
Curtis Crews, Reliability Services
Texas Reliability Entity, Inc.

## Slide 2: Highlights
Changes
Why Change?
How to Change?

## Slide 3: Changes
Reporting Form
  Consistency in data, definitions, and format (currently being reviewed by SPCS)
Reporting Periodicity
  Quarterly (Starting 1st Quarter 2011)
  Why change?

## Slide 4: History of Proposed Changes
Result of NERC Reliability Metrics Working Group (RMWG), ERO-Reliability Assessments and Performance Analysis Group (ERO-RAPA), discussions
Coordinated with Reliability Assessment Subcommittee (RAS), System Protection and Control Subcommittee (SPCS), Transmission Availability Data System Working Group (TADSWG), Transmission Availability Data System Regional Entity Coordinators (TADS-REC)

## Slide 5: Adequate Levels of Reliability (ALRs defined by RMWG)
ALR4-1 Automatic Transmission Outages (ATO) Caused by Protection System Misoperations
ALR6-11 ATO initiated by Failed Protection System
ALR6-12 ATO initiated by Human Error
ALR6-13 ATO initiated by Failed AC Substation Equipment
ALR6-14 ATO initiated by Failed AC Circuit Equipment

## Slide 6: ERO-RAPA Key Function
Develop a plan and an enterprise approach to data collection, checking, validation and assessment for use throughout NERC and the eight Regional Entities.

## Slide 7: Transmission Availability Data System (TADS)
System change required to capture misoperation data
Expansion of data required (TADS reports >200kV)
Communication issues with TADS responsible entity and Relay Misoperation responsible entity
TADS personnel are not Relay personnel

## Slide 8: How to change?
NERC Standard change
NERC Rules of Procedure Section 1600 Request
Change TADS
Regional procedures
First 3 options determined to be a more extended timeframe

## Slide 9
Misoperations “Trend”

## Slide 10
Per TADS Definitions:
50% of 2009 misoperations attributable to Human Error
Summary of 2009 Misoperations - Cause

## Slide 11: Summary of 2010 Misoperations - Cause
Per TADS Definitions:
59% of 2010 misoperations attributable to Human Error

## Slide 12: References
NERC Reliability Metrics Working Group
  http://www.nerc.com/filez/rmwg.html
NERC ERO Reliability Assessments and Performance Analysis Group
  http://www.nerc.com/filez/ero-rapa.html
NERC System Protection and Control Subcommittee
  http://www.nerc.com/filez/spctf.html
ERCOT System Protection Working Group
  http://www.ercot.com/committees/board/tac/ros/spwg/
ERCOT Operating Guides
  http://www.ercot.com/mktrules/guides/operating/