OWG Meeting Notes 10/20/10

Attendance:

Wayne Thomas	BTU

Curtis Graves		AEN

Dennis Kunkel 	AEP (phone)

Frank Owens		TMPA	(TO)

Rick Keetch 		Reliant (QSE)

Mike Noth		LCRA

Kevin Brown		AEN (TO)

Tip Tipton		BEPC (TO)

Jeff Sims		CPS Energy

Sebastian Smater	ERCOT

Brenda Hampton 	Luminant

Walter Reid		Wind Coalition

Rand Westbrook	CNP (TO)

Leticia Soto Reyes	ERCOT

Colleen Frosch	ERCOT

Yvette Landin		ERCOT

Naga Kota		ERCOT

Dana Showalter	ERCOT

Jerry Willms		LCRA

Mark Henry 		TRE (phone)

Leo Villanueva	ERCOT (phone)

09:30 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting report: No Formal Meeting, had an email vote of urgency on NOGRR048. It passed.

The September meeting notes were reviewed.

All action items are highlighted in green

NOGRR 049 Alignment with NERC Reliability Standard PRC-001-1, System Protection Coordination – Reviewed no impact. Group Recommended approval to ROS.

NOGRR 044 Clarification of a PSS In-Service – OWG was in consensus to table for one month to allow time for additional manufactures to comment. ERCOT stated that the term “Normal Operation” needs to be clarified.

NOGRR 048 Synchronization with OGRR240, CREZ Facility Protection and Control Requirements – OWG suggested another language between the words shall to should. The language was reviewed with the IA.  Recommended approval.

NOGRR043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement – ERCOT Staff modified language to the original zonal OGRR208 language. OWG group reviewed and discussed changes. ROS approved the NOGRR043 (OWG comments)

Action Item to Dana (ERCOT) and Walter (Wind Coalition) to resolve the issue relating to the language change.

NOGRR 052 Conductor/Transformer Facility Rating – OWG was in consensus to table one month.

Operations Report – ERCOT reviewed the September Operations Report.

Operations Task Force Report – update on Voltage Profile issues with +/- 2 % or +/- 5 % of nominal. Project still ongoing. Action item to follow up on progress OTF is making on this issue.

Black Start Task Force Report – Frank reported that there is a visit scheduled on October 27, 2010, in ERCOT (Taylor Facilities) to review Black Start plans

Compliance Report – Mark Henry discussed the new EOP-4 changes. Texas RE will show impact plan. Action Item Mark will give an update on standard PER-005 next month.

System Operations Report – Colleen Frosch discussed the Security Alert Plan revisions.  Centerpoint thought the Plan needs updating since we mostly likely will never see the Blue and Green threat con levels.  The TO vs. TOP issue also needs to be resolved.  Action item given to OTF to revise the Plan.

Other items

- Discuss 2011 OWG Meeting dates – third Wednesday of each month.

- Draft NPRR – Use of “Facility” – send to NDSWG, SPWG, PLWG, CIPWG review comments if received.

Facility: A set of electrical equipment that operates as a single element of the ERCOT System (e.g., a line, a generator, a shunt compensator, transformer, etc.), etc is a NERC definition.

Next meeting – November 18, 2010

12:00 meeting adjourned.