| SCR Number | 760 | SCR Title | Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models |
| --- | --- | --- | --- |

| Date | November 22, 2010 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Blake Williams |
| E-mail Address | bawilliams@cpsenergy.com |
| Company | CPS Energy |
| Phone Number | 210-353-3557 |
| Cell Number | 210-508-0701 |
| Market Segment | Municipally Owned Utility (MOU) |

Comments

CPS Energy supports SCR760 as submitted.  There should be at least three objectives considered for planning model development:

- The planning models must be as accurate as practicable to enable accurate assessments aimed at continued reliable operation of the transmission system.

- The planning models must be as accurate as practicable to ensure compliance with the applicable NERC reliability standards.

- The planning models should be as consistent as practicable with the operations models to ensure compliance with the ERCOT nodal protocols.

CPS Energy supports the SSWG determination that the system enhancements proposed in SCR760 helps ensure these three objectives are met.  If these system enhancements are not implemented, there are numerous manual efforts required to transform the Topology Processor output.  These manual efforts, in the form of PMCRs, introduces opportunities for inadvertent errors and, ultimately, inaccurate planning models and inconsistencies with the operations models.

Revised Business Case for Proposed System Change

None at this time.