CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | November 15, 2010 |
| Revision Request Number | RMGRR092 |
| Revision Request Name | Changes to Implement an Interim Solution for Critical Care Status and Secondary Contact Information |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Retail Market Guide Revision Request (RMGRR) 092, Changes to Implement an Interim Solution for Critical Care Status and Secondary Contact Information, implements an interim solution for new critical care statuses and secondary contact information. After initial review, RMGRR092 does not impact Nodal systems, budget or schedule. Given that there is no impact on the Nodal system, ERCOT has no objection to this RMGRR proceeding through the stakeholder review process. Because there are no Nodal impacts, the ERCOT CEO has no opinion on whether or not RMGRR092 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO reserves the right to reevaluate the RMGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.