## Slide 1: Information Technology Report
Trey Felton
Manager, IT Administration

## Slide 2: Highlights
Service Availability:
  Retail and Market Operations SLA targets were met for all systems except for business hours retail transaction processing
MIS performance issues (11/19 – 11/23):
  Volume of external data requests exhausted available connections on the MIR database
    The external impacts were to MIS displays and the retrieval of information through MIS and API
    Information was slow in displaying or returned a timeout error message to the user
  ERCOT increased system memory and the number of available connections during an emergency outage on 11/21
  Additionally, ERCOT published Terms of Use document for MIS, API, and EWS which outlines limits for query and scan rates used to access public and secure information
Multiple application performance issues (11/19):
  TML and Retail API (175 minutes) experienced outages, while retail processing and MarkeTrak (150 minutes) experienced degraded performance during the morning hours
  Root cause was slow processing due to excessive table scanning by long running queries
  Removal of the active query sessions and restarting the applications restored normal processing

## Slide 3: 2010 Net Service Availability (Retail and Market Ops)

## Slide 4: 2010 Data Center Availability

## Slide 5: November 2010 Net Service Availability

## Slide 6: November 2010 Data Center Power Availability

## Slide 7: Retail Transaction Processing Availability Summary

## Slide 8: Retail Transaction Processing Availability Summary (cont’d.)

## Slide 9: TML Availability Summary

## Slide 10: MarkeTrak Availability Summary

## Slide 11: TML Report Explorer Availability Summary

## Slide 12: Retail API Availability Summary