Date: 	November 29, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR295, Synchronization of Protocol for Generation Resource Designation as Mothballed or Decommissioned [ERCOT].

Proposed Effective Date:  February 1, 2010.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR synchronizes the Nodal Protocols with zonal Protocol Section 6.5.9.3, Generation Resource Return to Service Updates, regarding return-to-service of Mothballed or Decommissioned Generation Resources.  In addition, a clarification was made for removal of Decommissioned Generation Resources from ERCOT registration systems.

Procedural History:  NPRR295 was posted on 11/11/10.  On 11/18/10, PRS unanimously voted to recommend approval of NPRR295 as submitted and to forward NPRR295 and the Impact Analysis to TAC.  Credit review is pending.

Revision Requests Recommended for Approval and Inclusion in the Parking Deck

  - NPRR260, Providing Access to MIS Secure Area to MIS Registered Users [Crescent Power].

Proposed Effective Date:  Upon System Implementation – Priority Medium.

ERCOT Impact Analysis:  Impact Analysis will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR adds "Independent Market Information System Registered Entity (IMRE)" to Section 2.1 and Section 22, Attachment A.  By doing so, the Standard Form Market Participant Agreement would bind IMREs to the Nodal Protocols and, in particular, provisions in Section 16.12, Use Security Administrator and Digital Certificates.

Procedural History:  NPRR260 was posted on 8/5/10.  On 8/19/10, PRS unanimously voted to table NPRR260 for one month.  The Independent Power Marketer (IPM) Market Segment was not present for the vote.  On 9/23/10, PRS unanimously voted to table NPRR260.  There was one abstention from the IPM Market Segment.  On 10/21/10, PRS voted to recommend approval of NPRR260 as amended by the 9/17/10 ERCOT comments and as revised by PRS.  There were three abstentions from the Consumer, IPM, and Independent Generator Market Segments.  On 11/18/10, PRS voted to endorse and forward the 10/21/10 PRS Report as revised by PRS and Impact Analysis for NPRR260 to TAC and to assign NPRR260 a priority of Medium.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR282, Dynamic Ramp Rates Use in SCED [Calpine].

Proposed Effective Date:  Upon System Implementation – Priority Critical.

ERCOT Impact Analysis:  Impact Analysis will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR proposes revisions that are intended to result in more reasonable Dispatch of Generation Resources when a telemetered Base Point requires the Resource to employ technologies that in turn change the Resource’s ramp rate.

Procedural History:  NPRR282 was posted on 9/28/10.  On 10/21/10, PRS voted to recommend approval of NPRR282 as amended by the 10/18/10 Luminant comments.  There was one abstention from the Municipal Market Segment.  On 11/18/10, PRS unanimously voted to endorse and forward the 10/21/10 PRS Report and Impact Analysis for NPRR282 to TAC and to assign NPRR282 a priority of Critical.  Credit review is pending.

  - NPRR293, Requirement to Post PTP Obligation Quantities Awarded in DAM (formerly “Requirement to Post CRR Option and Obligation Quantities Cleared in DAM or Taken to Real Time”) [Luminant].

Proposed Effective Date:  Upon System Implementation – Priority High.

ERCOT Impact Analysis:  Impact Analysis will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR adds language to specify the need for ERCOT to post quantities of Point to Point (PTP) Obligations that were awarded in the Day-Ahead Market (DAM).

Procedural History:  NPRR293 was posted on 11/4/10.  On 11/18/10, PRS voted to recommend approval of NPRR293 as amended by the 11/17/10 Luminant Energy comments and as revised by PRS; to assign NPRR293 a priority of High; and to forward NPRR293 to TAC.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - SCR760, Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models [Steady State Working Group (SSWG)] - Urgent.

Proposed Effective Date:  Upon System Implementation – Priority Critical.

ERCOT Impact Analysis:  Pending.

Revision Description:  This System Change Request (SCR) proposes changes to the Information Model Manager and Topology Processor to fix a number of deficiencies with the proposed Annual Planning Model creation process.

Procedural History:  SCR760 was posted on 11/4/10.  On 11/11/10, ROS unanimously voted to grant Urgent status to SCR760.  ROS then voted to recommend approval of SCR760 as submitted.  There was one abstention from the IPM Market Segment.  On 11/18/10, PRS voted to recommend a priority of Critical and to endorse and forward the 11/11/10 ROS Report for SCR760 to TAC.  There were three abstentions from the Independent Generator, IPM, and Consumer Market Segments.  Credit review not applicable.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment at the December 16, 2010 PRS Meeting

  - NPRR275, Clarify QSE’s Ability to Make Changes to Ancillary Service Resource Responsibility In Real Time [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the responsibility of Qualified Scheduling Entities (QSEs) to telemeter the same Ancillary Service Resource Responsibility in Real-Time as the QSE had previously submitted in the Current Operating Plan (COP) for the effective Operating Hour.

Procedural History:  NPRR275 was posted on 9/16/10.  On 9/23/10, PRS unanimously voted to reject NPRR275.  On 10/7/10, ERCOT appealed the 9/23/10 PRS Decision to TAC.  On 11/4/10, TAC unanimously voted to remand NPRR275 to PRS and to request that the Nodal Advisory Task Force (NATF) also consider NPRR275 and provide feedback to PRS.  On 11/18/10, PRS voted to recommend approval of NPRR275 as amended by the 11/16/10 NATF comments and as revised by PRS.  There were two abstentions from the Investor Owned Utility (IOU) and Consumer Market Segments.  Credit review is pending.

  - NPRR291, Reduce the Comment Period for NPRRs and SCRs [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR reduces the comment period for NPRRs and SCRs from 21 days to 14 days and removes the requirement for the comment period to end at least three Business Days prior to the next regularly scheduled meeting of the subcommittee considering the NPRR or SCR.

Procedural History:  NPRR291 was posted on 10/28/10.  On 11/18/10, PRS unanimously voted to recommend approval of NPRR291 as submitted.  Credit review is pending.

  - NPRR292, Add Key Provisions of RPG Charter to Protocols [Planning Working Group (PLWG)].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds certain key provisions of the Regional Planning Group (RPG) Charter and Procedures (the RPG Charter), approved by the ERCOT Board in January 2009, to the Nodal Protocols without changing requirements or process. This NPRR also revises certain language within the existing Nodal Protocols for consistency with the added provisions and to coordinate with future Planning Guides.  If needed, substantive changes to the planning process will be addressed through other NPRR and Planning Guide Revision Requests (PGRRs).

Procedural History:  NPRR292 was posted on 10/29/10.  On 11/18/10, PRS voted to recommend approval of NPRR292 as submitted.  There were two opposing votes from the IPM and Independent Generator Market Segments.  Credit review is pending.

Revision Requests Deferred or Tabled

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of interconnection.

Procedural History:  NPRR264 was posted on 8/12/10.  On 8/19/10, PRS unanimously voted to table NPRR264 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS voted to table NPRR264 and to request that the ERCOT CEO reevaluate whether NPRR264 is needed prior to the Texas Nodal Market Implementation Date.  There was one abstention from the Independent Generator Market Segment.  On 10/21/10, PRS unanimously voted to table NPRR264 for one month.  On 11/18/10, PRS unanimously vote to table NPRR264 for one month.  Credit review is pending.

  - NPRR287, Real-Time Market Price Delivery Consistency [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  (Preliminary) less than $50k; no additional full-time equivalents needed; minor configuration changes to ERCOT Nodal systems; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR proposes to remove Locational Marginal Prices (LMPs) from Inter-Control Center Communications Protocol (ICCP) communications, based on emerging concerns regarding the inconsistent timeframes for price delivery in Real-Time.

Procedural History:  NPRR287 was posted on 10/18/10.  On 10/21/10, PRS unanimously voted to table NPRR287 and to request that the NATF work with ERCOT Staff toward a better solution.  On 11/18/10, PRS unanimously vote to table NPRR287 for one month.  Credit review is pending.

  - NPRR290, ERCOT Publication of DAM PSS/E Files [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Impact Analysis will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR enhances transparency of the transmission topology (including all scheduled Outages) used in the DAM by requiring ERCOT to publish certain data files (in Power System Simulator for Engineering (PSS/E format) for easy review by all Market Participants with standard power flow tools such as PTI PSS/E, Power World Simulator, etc.

Procedural History:  NPRR290 was posted on 10/28/10.  On 11/18/10, PRS unanimously voted to table NPRR290 for one month; to request that ERCOT implement the manual workaround based on the model load schedule as done in market trials and as resources allow; and to bring back estimated costs for the various options of implementation.  Credit review is pending.

  - NPRR294, Texas SET 4.0 Including: Acquisition and Transfer of Customers From One REP to Another; Meter Tampering Transactional Solution [Texas SET Working Group].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR defines the process for Mass Transition of Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another CR when transitioning due to an acquisition, the process for switch hold indicator addition and removal, and other various changes deemed to be implemented with Texas Standard Electronic Transaction (TX SET) version 4.0.  Changes to accommodate priority move-outs (including addition of the priority code and one hour processing of priority move-outs by ERCOT) and same day switches (changing the First Available Switch Date (FASD) to zero) are pending a PUCT rulemaking and are subject to revision.

Procedural History:  NPRR294 was posted on 11/5/10.  On 11/18/10, PRS unanimously voted to table NPRR294 for one month.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

  - NPRR283, Clarification of PCRR Allocation Eligibility [Tex-La].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR extends Pre-Assigned Congestion Revenue Right (PCRR) eligibility for certain wholesale supply over the high voltage Direct Current Ties (DC Ties).

Procedural History:  NPRR283 was posted on 9/30/10.  On 10/21/10, PRS unanimously voted to refer NPRR283 to WMS to discuss (1) whether the DC Tie import in question is a Generation Resource for purposes of PCRR allocation; and (2) the expected duration of pre-1999 contracts and PCRR implications.  Credit review is pending.

  - NPRR289, Clarify Use of Raise/Lower Block Status Telemetry [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR inserts language into Section 6.5.5.2 to clarify the proper use of Raise Block Status and Lower Block Status telemetry points by Resource operators in Real-Time operations.

Procedural History:  NPRR289 was posted on 10/28/10.  On 11/18/10, PRS unanimously voted to refer NPRR289 to WMS.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the December 16, 2010 PRS Meeting

  - NPRR296, Remove Posting Requirement for the Annual Planning Model for the CRR Auction [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR removes the requirement to post a schedule for updating transmission information for the Annual Planning Model six months prior to the annual and two-year CRR Auctions.

Procedural History:  NPRR296 was posted on 11/15/10.  Credit review is pending.

  - NPRR297, Add Administrative NPRR Process to Nodal Protocols [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR adds a process for “Administrative NPRRs” to the Nodal Protocols modeled on the similar process for administrative market guide revisions contained in each of the market guides.

Procedural History:  NPRR297 was posted on 11/23/10.  Credit review is pending.