## Slide 1: SCR760 Preliminary Impact Analysis
SCR | TSP Requirement | Cost | Delivery
760-1 | Keep TP current for all new PSS/E releases | $610K - $760K | Dec 2012
760-2 | Represent Distribution Capacitor Banks on the proper bus in Topology Processor PSS/E case | $210K - $260K | May 2012
760-3 | Represent the proper ratings on zero impedance lines in Topology Processor cases | $560K – 720K | Mar 2013
760-4 | Planning should be able to model loads and capacitor banks on the correct PSS/E busses | $165K – 205K | May 2012
760-5 | Represent the actual transformer models in the PSS/E cases | $145K - $185K | May 2012
760-6 | Update IMM and TP to incorporate FACTS devices | $230K - $295K | Dec 2012
760-7 | Modify TP to assign valid PSS/E IDs to Breakers/Switches/Series Devices | $105K-$140K | Sep 2011
760-8 | Allow representation of a phase shift for an autotransformer winding in the Topology Processor PSS/E cases | $95K - $130K | Sep 2011
 | TOTAL | $2.1M - $2.7M | 
 | Annual Recurring Cost | $535K – $715K | 

## Slide 2: Delivery Plan

## Slide 5: Notes for Previous Slide
AEP 133 added load records appears to separate load into Residential, Wholesale, etc to match SSWG case. Do not get removed by SCR.
LCRA 383 load adds and 324 load deletes appears to be to realign Load ID field to new modeling philosophy. Will be changed in IMM and not necessary to submit as future PMCR
PMCR’s are not the same as NOMCR’s
NOMCR’s are very detailed xml files
PMCR’s vary from 1 line of data to up to 4 lines of data

## Slide 6: Example of PMCR File
<PROJECT>, 30
AEN_TEST_CASE_10SUM_PMCR_FILE,Standard_PMCR,Active,Make sure Autos are 3-winding
<PHASE>,TEST_PMCR,10/8/2010,10/8/2010,
BUS, DELETE,9281,'TRADPOST1',138,1,0,0,9,709,1,0,190
BUS, ADD,9025,'HP_STATC',32,1,0,0,9,709,0.9986,-3.2377,100
LOAD, DELETE,9187,'1',1,9,709,2,0,0,0,0,0,190
LOAD, ADD,9184,'DG',1,9,709,-2.12,0.597,0,0,0,0,400
LOAD, MODIFY,9282,'1',1,9,709,20.324,14.287,0,0,0,0,190
GENERATOR, DELETE,9118,'VC',0,0,110,-80,1.018,0,110,0,9999,0,0,0,1,100,0,0,1,1
BRANCH, DELETE,7288,-9288,'BC',0,0.0001,0,9999,9999,9999,0,0,0,0,1,0,1,1
FACTS, ADD,1,9025,0,1,0,0,0.9986,100,9999,0.9,1.1,1.2,100,0.05,100,100,0,0,0
TRANSFORMER, ADD,9025,9118,0,'1',1,1,1,0,0,1,'STATC1',1,190,1,,,,,,
0.0025,0.08,100,,,,,,,,
1,0,-30,120,120,120,0,0,1.5,0.51,1.5,0.51,33,0,0,0
1,0,,,,,,,,,,,,,,
TRANSFORMER, MODIFY,9002,9188,0,'1',1,1,1,0,0,2,,1,189,1,,,,,,
0.00521,0.18106,100,,,,,,,,
1,13.8,0,139,139,139,0,0,1,1,1.1,0.9,33,0,0,0
1,0,,,,,,,,,,,,,,
Q
This file contains 10 PMCRS

## Slide 7
The effect of SCR 759 and 760 on the number of PMCR’s submitted for 2010 Test