OWG Meeting Notes 11/18/10

Attendance:

Frank Owens   	TMPA	(TO)

Robert Avila		BPUB (TDSP)

Ross Owen		Oncor (TO)

Rick Keetch 		Reliant (QSE)

Jeff Sims		CPS Energy (TO)

Victor Mullen		CNP (TO)

Tip Tipton		BEPC (TO)

Kevin Brown		AEN (TO)

Matt Carter		GPL (TO)

Brenda Hampton 	Luminant (QSE)

Steve Bolle		STEC (TO)

Rand Westbrook	CNP (TO)

Lindley Ellisor	Texas RE

Wayne Thomas	BTU (QSE)

Jack Thormahlen	LCRA (QSE)

Naga Kota		ERCOT

Mike Grimes		Horizon

Jerry Willms		LCRA (TO)

Mark Henry 		Texas RE (phone)

Leo Villanueva	ERCOT

Randy Kelm 		Oncor (TO) (phone)

Linda Rodriguez	AEP (Phone)

David Penny 		Texas RE (phone)

Jim Jacoby		AEP (TO) (phone)

John Schmall		ERCOT (phone)

Jose Conto		ERCOT (phone)

Brad Calhoun		CNP (TO)

09:30 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting report: NOGRR049 has been approved and moved onto TAC.

Lindley Ellisor (Texas RE) talked about CEH’s and 2011 Operators Training Seminar (OTS). Tip Tipton (Brazos) was displeased with ERCOT’s non participation as presenters at 2011 OTS.  Leo Villanueva apologized that ERCOT is not presenting due to resource limitation because of the implementation of Nodal. Frank Owens mentioned that Black start training is still going to be from ERCOT at 2011 OTS. He also took an action item to move this issue up the ladder about ERCOT’s involvement in OTS.

October meeting notes were reviewed and approved by OWG.

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement –Tabled for one month.

NOGRR 044 Clarification of a PSS In-Service – Jack (LCRA) and Jose (ERCOT) are going to incorporate their changes in the next version of this document. Frank Owens will email the same version for review and comments.

NOGRR 052 Conductor/Transformer Facility Rating – This has been approved and will return to OWG for IA review.

Operations Report – ERCOT reviewed the October Operations Report.

Nodal Operating Guides Review and Revision Task Force – In December ROS Frank Owens will be proposing the people for this group and possibly kicking off in Jan 2011.

Operations Task Force Report – update on Voltage Profile issues with +/- 2 % of setpoint and +/- 5 % of nominal. Jack is in the process of writing changes to the NOGRR and nodal protocols. Action item to follow up on progress OTF is making on this issue.

Black Start Task Force Report – NOGRR has been tabled for a month. Action item for BSTF to review the CNP comments on the draft NOGRR and look at definition of Cranking Paths and compare to CIP-002 version 4. This NOGRR will come back again for OWG review. NPRR is approved with OWG comments.

Compliance Report – Mark Henry asked OWG members to comment on the ongoing field test. NERC Preliminary Disturbance report will still be submitted to the ISO. The new Texas RE analysis report is a 2 step process. The form is on the Texas RE website. Preliminary analysis is due in 5 days and is sent to Texas RE. After 5 days a detailed analysis has to be submitted for certain events. The analysis should include the root cause of the event like equipment failure, mis-operation of equipment, etc.

System Operations Report – None.

Next meeting – December 15, 2010

12:00 meeting adjourned.