## SCR760-2, -4, -5 Summary
Cost Benefit Analysis Summary
Request Information
PRR / SCR / PR / "New": | SCR760-2, -4, -5 |  |  | Estimator's Name: |  | Teixeira/Rickerson/Ayson
Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models |  |  | Sponsor's Name: |  | SSWG
|  |  |  | Estimate Date: |  | 2010-12-09
Project Description: | (2) Represent Distribution Capacitor Banks on the proper bus in Topology Processor PSS/E case. Provide Capacitor Bank parameters necessary for PSS/E (MVAR, ID, fixed/switch shunt, number of blocks). Allow for multiple capacitor banks on the same bus. In Information Model Manager, define new Class called DistributionCapBank and create it in a new directory outside of the substations (similar to TransformerKluges). Then have a new link in a Class, such as the BusbarSection, that can be associated with the DistributionCapBank. (4) Planning should be able to model loads and capacitor banks on the correct PSS/E busses. In Information Model Manager, create a new attribute that would enable the user to select the PSS/E bus where the capacitor bank should appear in the Topology Processor case. (5) Represent the actual transformer models in the PSS/E cases. The planning transformer model is an appropriate model for the transformer to ensure stakeholders the power flow results will be accurate. Additional data attributes such as the number of taps, location of tapped winding, maximum and minimum tap ratios. In Information Model Manager, store Planning transformer data in a separate file (or in a new Class outside of the ERCOT Texas Network directory similar to Transformer Kluges). The Topology Processor will select the Planning transformer data to generate the Topology Processor PSS/E case. Necessary data includes number of taps, location of tapped winding, maximum and minimum tap ratios, and specifying the voltage control bus.
Benefits and Impacts
Feasibility
Alternatives
1 - This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 - ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
1 - The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 - The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 - Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 - The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 - On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 - The maximum number of records that can be eliminated as a result of the implementation of these changes is (#2=557, #4=114, #5=86) seven hundred and fifty-seven (757).
7 - Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
Cost and Benefit Summary
Project Costs | ERCOT Implementation Cost | 590000 |  |  |  |  | All values in this section are rounded to 2 significant digits
| Market Implementation Cost | 0
| Total Implementation Cost |  | 590000
| ERCOT Ongoing Cost | 230000
| Market Ongoing Cost | 0
| Total Ongoing Cost |  | 230000
[5 empty] | 820000 |  | Total Cost
Project Benefit | ERCOT Benefit | 36000
| Market Benefit | 36000
[5 empty] | 72000 |  | Total Benefit
|  | Net (Cost) - Benefit |  |  | -750000
Calculation Parameters
Market Cost | Impacted Number of QSEs |  |  | 0
| Impacted Number of CRs |  |  | #REF!
| Impacted Number of TDSPs |  |  | #REF!
| Impacted Number of Resources |  |  | #REF!
Present Value Interest Rate: |  |  |  | 6%
Changing this parameter is not recommended
It is used to calculate present value of future cash flows

## SCR760-2, -4, -5 Detail
Cost Benefit Analysis Data Entry Worksheet
PRR / SCR / Etc.: | SCR760-2, -4, -5 | Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models
Sponsor: | SSWG | Estimate Date: | 2010-12-09 | Estimator: | Teixeira/Rickerson/Ayson
Project Description: (please be clear and concise) | (2) Represent Distribution Capacitor Banks on the proper bus in Topology Processor PSS/E case. Provide Capacitor Bank parameters necessary for PSS/E (MVAR, ID, fixed/switch shunt, number of blocks). Allow for multiple capacitor banks on the same bus. In Information Model Manager, define new Class called DistributionCapBank and create it in a new directory outside of the substations (similar to TransformerKluges). Then have a new link in a Class, such as the BusbarSection, that can be associated with the DistributionCapBank. (4) Planning should be able to model loads and capacitor banks on the correct PSS/E busses. In Information Model Manager, create a new attribute that would enable the user to select the PSS/E bus where the capacitor bank should appear in the Topology Processor case. (5) Represent the actual transformer models in the PSS/E cases. The planning transformer model is an appropriate model for the transformer to ensure stakeholders the power flow results will be accurate. Additional data attributes such as the number of taps, location of tapped winding, maximum and minimum tap ratios. In Information Model Manager, store Planning transformer data in a separate file (or in a new Class outside of the ERCOT Texas Network directory similar to Transformer Kluges). The Topology Processor will select the Planning transformer data to generate the Topology Processor PSS/E case. Necessary data includes number of taps, location of tapped winding, maximum and minimum tap ratios, and specifying the voltage control bus.
Benefits and Impacts
Click here for ideas on benefit and impact areas… ---------------------------------------------------------------------------------->>>
1
2
3
5
6
7
8
Feasibility
Click here for ideas on feasibility… ---------------------------------------------------------------------------------->>>
Dependencies
Other 1
Other 2
Other 3
Alternatives
Click here for ideas on alternatives… ---------------------------------------------------------------------------------->>>
1 | This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 | ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
Click here for ideas on assumptions… ---------------------------------------------------------------------------------->>>
1 | The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 | The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 | Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 | The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 | On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 | The maximum number of records that can be eliminated as a result of the implementation of these changes is (#2=557, #4=114, #5=86) seven hundred and fifty-seven (757).
7 | Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
ERCOT Cost and Benefit Detail
ERCOT Internal Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Project | 587500 | 0 | 0 | 0 | NPV = | 0
Ongoing Cost (O&M) | Additional Model Maintenance | 0 | 87500 | 87500 | 87500 | NPV = | 233888.5456
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Cost: | 820000
ERCOT Internal Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Direct Cost Savings | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Productivity Increases | Staffing | 9841 | 9841 | 9841 | 9841 | NPV = | 26305.1106
Cost Avoidance | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Benefit: | 36000
Market Cost and Benefit Detail
Market Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Select type… |  |  |  |  | NPV = | 0
Ongoing Cost | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Market Cost: | 0
Market Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Benefits for Market | Staffing | 9841 | 9841 | 9841 | 9841 | NPV = | 26305.1106
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Total Present Value of Market Benefit: | 36000
Total Cost | 820000 |  | Net (Cost) - Benefit ($) |  | #VALUE!
Total Benefit | 72000 |  | Cost Benefit Ratio |  | 0.087805
Summary values are rounded to 2 significant digits.
Additional Comments
Enter any additional comments here…
1
2
3
4
Benefit and Impact Prompts
GOVERNANCE: Is the project required to support a PUCT rulemaking or government requirement?
GOVERNANCE: Is the project required by a market or ERCOT committee?
GOVERNANCE: Will the project provide better information for management decision making?
RELIABILITY: Does the project improve the reliability of the grid?
RELIABILITY: Does the project improve the reliability of ERCOT's computing infrastructure?
RELIABILITY: Is there a significant operational need for the project?
SAFETY: Will the project enhance safety within ERCOT?
SECURITY: Is there a physical or cyber-security issue that is addressed by this effort?
SECURITY: Does the project address an audit finding?
SECURITY: Will the project decrease the chance of fraud or help protect sensitive data?
RISK REDUCTION: Does this reduce risk to ERCOT in some significant manner?
RESOURCES: Does the project reduce the number of resources needed to support current operations?
RESOURCES: Does the project deliver infrastructure components that are more efficient or more easily upgraded?
DATA MANAGEMENT: Does this improve the accuracy, timeliness and transparency of transactions or settlements?
DATA MANAGEMENT: Does this enhance or optimize our data storage capability?
DATA MANAGEMENT: Does this improve reporting capabilities (financial, operational, etc.)?
EFFICIENCY: Does the project improve the efficiency or effectiveness of ERCOT?
EFFICIENCY: Does the project automate, improve or streamline a necessary function?
INVESTMENT: Is the project an investment in new capability or does it support the current architecture?
OTHER: Are there other areas that will indirectly benefit from this project?
Feasibility Prompts
REQUIREMENTS: Are high level requirements clearly defined?
REQUIREMENTS: How complex are the potential solutions?
REQUIREMENTS: Does a required completion date make delivery more difficult?
DELIVERY: Can the project be broken down into smaller sections or delivered in stages to reduce risk?
DELIVERY: Will training be required as the project is rolled out?
DEPENDENCIES: Are there major dependencies on other projects that make this difficult to implement?
Alternative Prompts
DELIVERY: Is a manual workaround an option (short-term or long-term)?
DELIVERY: Does a partial implementation provide enough value to be worth considering?
DELIVERY: Should a phased implementation be considered to reduce risk or accelerate key benefits?
DELIVERY: If this is an automation project is it reasonable to consider using the current process?
Assumption Prompts
DEPENDENCIES: Is this request is dependent on another ERCOT project (either active or planned)?
DELIVERABLES: Are specific key deliverables required from this project?
DELIVERABLES: What is the useful life of the deliverables of this project?
RESOURCES: Are computing resources assumed that are not to be delivered by this project?
RESOURCES: Are specific key resources assumed to be available for this project?
RESOURCES: Are there facilities requirements necessary for this project?
REQUIREMENTS: Is completion required by a specific date?

## SCR760-7 Summary
Cost Benefit Analysis Summary
Request Information
PRR / SCR / PR / "New": | SCR760-7 |  |  | Estimator's Name: |  | Teixeira/Rickerson/Ayson
Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models |  |  | Sponsor's Name: |  | SSWG
|  |  |  | Estimate Date: |  | 2010-12-09
Project Description: | Allow any valid PSS/E ID’s to be assigned, in particular where breakers and switches are used to split up branches. Current SSWG cases allow zero impedance branches to have any valid two character PSS/E ID. Simply maintain this ability for SSWG members because circuit IDs have already been assigned for particular reasons. In Information Model Manager, allow the capability to assign any valid PSS/E ID to Breakers and Switches by including an additional attribute. Also, remove validation rules that limit the PSS/E ID on series devices to Sx.
Benefits and Impacts
Feasibility
Alternatives
1 - This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 - ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
1 - The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 - The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 - Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 - The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 - On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 - The maximum number of records that can be eliminated as a result of the implementation of this change is two hundred and forty-five (245).
7 - Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
Cost and Benefit Summary
Project Costs | ERCOT Implementation Cost | 120000 |  |  |  |  | All values in this section are rounded to 2 significant digits
| Market Implementation Cost | 0
| Total Implementation Cost |  | 120000
| ERCOT Ongoing Cost | 0
| Market Ongoing Cost | 0
| Total Ongoing Cost |  | 0
[5 empty] | 120000 |  | Total Cost
Project Benefit | ERCOT Benefit | 12000
| Market Benefit | 12000
[5 empty] | 24000 |  | Total Benefit
|  | Net (Cost) - Benefit |  |  | -96000
Calculation Parameters
Market Cost | Impacted Number of QSEs |  |  | 0
| Impacted Number of CRs |  |  | #REF!
| Impacted Number of TDSPs |  |  | #REF!
| Impacted Number of Resources |  |  | #REF!
Present Value Interest Rate: |  |  |  | 6%
Changing this parameter is not recommended
It is used to calculate present value of future cash flows

## SCR760-7 Detail
Cost Benefit Analysis Data Entry Worksheet
PRR / SCR / Etc.: | SCR760-7 | Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models
Sponsor: | SSWG | Estimate Date: | 2010-12-09 | Estimator: | Teixeira/Rickerson/Ayson
Project Description: (please be clear and concise) | Allow any valid PSS/E ID’s to be assigned, in particular where breakers and switches are used to split up branches. Current SSWG cases allow zero impedance branches to have any valid two character PSS/E ID. Simply maintain this ability for SSWG members because circuit IDs have already been assigned for particular reasons. In Information Model Manager, allow the capability to assign any valid PSS/E ID to Breakers and Switches by including an additional attribute. Also, remove validation rules that limit the PSS/E ID on series devices to Sx.
Benefits and Impacts
Click here for ideas on benefit and impact areas… ---------------------------------------------------------------------------------->>>
1
2
3
5
6
7
8
Feasibility
Click here for ideas on feasibility… ---------------------------------------------------------------------------------->>>
Dependencies
Other 1
Other 2
Other 3
Alternatives
Click here for ideas on alternatives… ---------------------------------------------------------------------------------->>>
1 | This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 | ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
Click here for ideas on assumptions… ---------------------------------------------------------------------------------->>>
1 | The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 | The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 | Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 | The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 | On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 | The maximum number of records that can be eliminated as a result of the implementation of this change is two hundred and forty-five (245).
7 | Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
ERCOT Cost and Benefit Detail
ERCOT Internal Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Project | 122500 | 0 | 0 | 0 | NPV = | 0
Ongoing Cost (O&M) | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Cost: | 120000
ERCOT Internal Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Direct Cost Savings | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Productivity Increases | Staffing | 3185 | 3185 | 3185 | 3185 | NPV = | 8513.5431
Cost Avoidance | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Benefit: | 12000
Market Cost and Benefit Detail
Market Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Select type… |  |  |  |  | NPV = | 0
Ongoing Cost | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Market Cost: | 0
Market Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Benefits for Market | Staffing | 3185 | 3185 | 3185 | 3185 | NPV = | 8513.5431
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Total Present Value of Market Benefit: | 12000
Total Cost | 120000 |  | Net (Cost) - Benefit ($) |  | #VALUE!
Total Benefit | 24000 |  | Cost Benefit Ratio |  | 0.2
Summary values are rounded to 2 significant digits.
Additional Comments
Enter any additional comments here…
1
2
3
4
Benefit and Impact Prompts
GOVERNANCE: Is the project required to support a PUCT rulemaking or government requirement?
GOVERNANCE: Is the project required by a market or ERCOT committee?
GOVERNANCE: Will the project provide better information for management decision making?
RELIABILITY: Does the project improve the reliability of the grid?
RELIABILITY: Does the project improve the reliability of ERCOT's computing infrastructure?
RELIABILITY: Is there a significant operational need for the project?
SAFETY: Will the project enhance safety within ERCOT?
SECURITY: Is there a physical or cyber-security issue that is addressed by this effort?
SECURITY: Does the project address an audit finding?
SECURITY: Will the project decrease the chance of fraud or help protect sensitive data?
RISK REDUCTION: Does this reduce risk to ERCOT in some significant manner?
RESOURCES: Does the project reduce the number of resources needed to support current operations?
RESOURCES: Does the project deliver infrastructure components that are more efficient or more easily upgraded?
DATA MANAGEMENT: Does this improve the accuracy, timeliness and transparency of transactions or settlements?
DATA MANAGEMENT: Does this enhance or optimize our data storage capability?
DATA MANAGEMENT: Does this improve reporting capabilities (financial, operational, etc.)?
EFFICIENCY: Does the project improve the efficiency or effectiveness of ERCOT?
EFFICIENCY: Does the project automate, improve or streamline a necessary function?
INVESTMENT: Is the project an investment in new capability or does it support the current architecture?
OTHER: Are there other areas that will indirectly benefit from this project?
Feasibility Prompts
REQUIREMENTS: Are high level requirements clearly defined?
REQUIREMENTS: How complex are the potential solutions?
REQUIREMENTS: Does a required completion date make delivery more difficult?
DELIVERY: Can the project be broken down into smaller sections or delivered in stages to reduce risk?
DELIVERY: Will training be required as the project is rolled out?
DEPENDENCIES: Are there major dependencies on other projects that make this difficult to implement?
Alternative Prompts
DELIVERY: Is a manual workaround an option (short-term or long-term)?
DELIVERY: Does a partial implementation provide enough value to be worth considering?
DELIVERY: Should a phased implementation be considered to reduce risk or accelerate key benefits?
DELIVERY: If this is an automation project is it reasonable to consider using the current process?
Assumption Prompts
DEPENDENCIES: Is this request is dependent on another ERCOT project (either active or planned)?
DELIVERABLES: Are specific key deliverables required from this project?
DELIVERABLES: What is the useful life of the deliverables of this project?
RESOURCES: Are computing resources assumed that are not to be delivered by this project?
RESOURCES: Are specific key resources assumed to be available for this project?
RESOURCES: Are there facilities requirements necessary for this project?
REQUIREMENTS: Is completion required by a specific date?

## SCR760-8 Summary
Cost Benefit Analysis Summary
Request Information
PRR / SCR / PR / "New": | SCR760-8 |  |  | Estimator's Name: |  | Teixeira/Rickerson/Ayson
Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models |  |  | Sponsor's Name: |  | SSWG
|  |  |  | Estimate Date: |  | 2010-12-09
Project Description: | Allow representation of a phase shift for an autotransformer winding in the Topology Processor PSS/E cases. Topology Processor should check the value in the “Connection Type” attribute between TransformerWindings objects. If two windings are Y-Δ, then process as a 30 degree phase shift.
Benefits and Impacts
Feasibility
Alternatives
1 - This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 - ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
1 - The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 - The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 - Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 - The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 - On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 - The maximum number of records that can be eliminated as a result of the implementation of this change is forty-six (46).
7 - Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
Cost and Benefit Summary
Project Costs | ERCOT Implementation Cost | 110000 |  |  |  |  | All values in this section are rounded to 2 significant digits
| Market Implementation Cost | 0
| Total Implementation Cost |  | 110000
| ERCOT Ongoing Cost | 20000
| Market Ongoing Cost | 0
| Total Ongoing Cost |  | 20000
[5 empty] | 130000 |  | Total Cost
Project Benefit | ERCOT Benefit | 2200
| Market Benefit | 2200
[5 empty] | 4400 |  | Total Benefit
|  | Net (Cost) - Benefit |  |  | -130000
Calculation Parameters
Market Cost | Impacted Number of QSEs |  |  | 0
| Impacted Number of CRs |  |  | #REF!
| Impacted Number of TDSPs |  |  | #REF!
| Impacted Number of Resources |  |  | #REF!
Present Value Interest Rate: |  |  |  | 6%
Changing this parameter is not recommended
It is used to calculate present value of future cash flows

## SCR760-8 Detail
Cost Benefit Analysis Data Entry Worksheet
PRR / SCR / Etc.: | SCR760-8 | Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models
Sponsor: | SSWG | Estimate Date: | 2010-12-09 | Estimator: | Teixeira/Rickerson/Ayson
Project Description: (please be clear and concise) | Allow representation of a phase shift for an autotransformer winding in the Topology Processor PSS/E cases. Topology Processor should check the value in the “Connection Type” attribute between TransformerWindings objects. If two windings are Y-Δ, then process as a 30 degree phase shift.
Benefits and Impacts
Click here for ideas on benefit and impact areas… ---------------------------------------------------------------------------------->>>
1
2
3
5
6
7
8
Feasibility
Click here for ideas on feasibility… ---------------------------------------------------------------------------------->>>
Dependencies
Other 1
Other 2
Other 3
Alternatives
Click here for ideas on alternatives… ---------------------------------------------------------------------------------->>>
1 | This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 | ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
Click here for ideas on assumptions… ---------------------------------------------------------------------------------->>>
1 | The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 | The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 | Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 | The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 | On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 | The maximum number of records that can be eliminated as a result of the implementation of this change is forty-six (46).
7 | Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
ERCOT Cost and Benefit Detail
ERCOT Internal Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Project | 112500 | 0 | 0 | 0 | NPV = | 0
Ongoing Cost (O&M) | Additional Model Maintenance | 0 | 7500 | 7500 | 7500 | NPV = | 20047.5896
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Cost: | 130000
ERCOT Internal Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Direct Cost Savings | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Productivity Increases | Staffing | 598 | 598 | 598 | 598 | NPV = | 1598.4611
Cost Avoidance | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Benefit: | 2200
Market Cost and Benefit Detail
Market Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Select type… |  |  |  |  | NPV = | 0
Ongoing Cost | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Market Cost: | 0
Market Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Benefits for Market | Staffing | 598 | 598 | 598 | 598 | NPV = | 1598.4611
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Total Present Value of Market Benefit: | 2200
Total Cost | 130000 |  | Net (Cost) - Benefit ($) |  | #VALUE!
Total Benefit | 4400 |  | Cost Benefit Ratio |  | 0.033846
Summary values are rounded to 2 significant digits.
Additional Comments
Enter any additional comments here…
1
2
3
4
Benefit and Impact Prompts
GOVERNANCE: Is the project required to support a PUCT rulemaking or government requirement?
GOVERNANCE: Is the project required by a market or ERCOT committee?
GOVERNANCE: Will the project provide better information for management decision making?
RELIABILITY: Does the project improve the reliability of the grid?
RELIABILITY: Does the project improve the reliability of ERCOT's computing infrastructure?
RELIABILITY: Is there a significant operational need for the project?
SAFETY: Will the project enhance safety within ERCOT?
SECURITY: Is there a physical or cyber-security issue that is addressed by this effort?
SECURITY: Does the project address an audit finding?
SECURITY: Will the project decrease the chance of fraud or help protect sensitive data?
RISK REDUCTION: Does this reduce risk to ERCOT in some significant manner?
RESOURCES: Does the project reduce the number of resources needed to support current operations?
RESOURCES: Does the project deliver infrastructure components that are more efficient or more easily upgraded?
DATA MANAGEMENT: Does this improve the accuracy, timeliness and transparency of transactions or settlements?
DATA MANAGEMENT: Does this enhance or optimize our data storage capability?
DATA MANAGEMENT: Does this improve reporting capabilities (financial, operational, etc.)?
EFFICIENCY: Does the project improve the efficiency or effectiveness of ERCOT?
EFFICIENCY: Does the project automate, improve or streamline a necessary function?
INVESTMENT: Is the project an investment in new capability or does it support the current architecture?
OTHER: Are there other areas that will indirectly benefit from this project?
Feasibility Prompts
REQUIREMENTS: Are high level requirements clearly defined?
REQUIREMENTS: How complex are the potential solutions?
REQUIREMENTS: Does a required completion date make delivery more difficult?
DELIVERY: Can the project be broken down into smaller sections or delivered in stages to reduce risk?
DELIVERY: Will training be required as the project is rolled out?
DEPENDENCIES: Are there major dependencies on other projects that make this difficult to implement?
Alternative Prompts
DELIVERY: Is a manual workaround an option (short-term or long-term)?
DELIVERY: Does a partial implementation provide enough value to be worth considering?
DELIVERY: Should a phased implementation be considered to reduce risk or accelerate key benefits?
DELIVERY: If this is an automation project is it reasonable to consider using the current process?
Assumption Prompts
DEPENDENCIES: Is this request is dependent on another ERCOT project (either active or planned)?
DELIVERABLES: Are specific key deliverables required from this project?
DELIVERABLES: What is the useful life of the deliverables of this project?
RESOURCES: Are computing resources assumed that are not to be delivered by this project?
RESOURCES: Are specific key resources assumed to be available for this project?
RESOURCES: Are there facilities requirements necessary for this project?
REQUIREMENTS: Is completion required by a specific date?

## SCR760-3 Summary
Cost Benefit Analysis Summary
Request Information
PRR / SCR / PR / "New": | SCR760-3 |  |  | Estimator's Name: |  | Teixeira/Rickerson/Ayson
Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models |  |  | Sponsor's Name: |  | SSWG
|  |  |  | Estimate Date: |  | 2010-12-09
Project Description: | Represent the proper ratings on zero impedance lines in the Topology Processor PSS/E cases. IMM already has rating attributes associated with breakers and switches. ERCOT may make these rating attributes available to the TSP NOMCR process, and modify the topology processer to transfer these ratings into the Model on Demand process as zero impedance elements with a rating.
Benefits and Impacts
Feasibility
Alternatives
1 - This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 - ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
1 - The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 - The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 - Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 - The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 - On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 - The maximum number of records that can be eliminated as a result of the implementation of this change is two hundred and fifty (250).
7 - Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
Cost and Benefit Summary
Project Costs | ERCOT Implementation Cost | 640000 |  |  |  |  | All values in this section are rounded to 2 significant digits
| Market Implementation Cost | 0
| Total Implementation Cost |  | 640000
| ERCOT Ongoing Cost | 60000
| Market Ongoing Cost | 0
| Total Ongoing Cost |  | 60000
[5 empty] | 700000 |  | Total Cost
Project Benefit | ERCOT Benefit | 12000
| Market Benefit | 12000
[5 empty] | 24000 |  | Total Benefit
|  | Net (Cost) - Benefit |  |  | -680000
Calculation Parameters
Market Cost | Impacted Number of QSEs |  |  | 0
| Impacted Number of CRs |  |  | #REF!
| Impacted Number of TDSPs |  |  | #REF!
| Impacted Number of Resources |  |  | #REF!
Present Value Interest Rate: |  |  |  | 6%
Changing this parameter is not recommended
It is used to calculate present value of future cash flows

## SCR760-3 Detail
Cost Benefit Analysis Data Entry Worksheet
PRR / SCR / Etc.: | SCR760-3 | Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models
Sponsor: | SSWG | Estimate Date: | 2010-12-09 | Estimator: | Teixeira/Rickerson/Ayson
Project Description: (please be clear and concise) | Represent the proper ratings on zero impedance lines in the Topology Processor PSS/E cases. IMM already has rating attributes associated with breakers and switches. ERCOT may make these rating attributes available to the TSP NOMCR process, and modify the topology processer to transfer these ratings into the Model on Demand process as zero impedance elements with a rating.
Benefits and Impacts
Click here for ideas on benefit and impact areas… ---------------------------------------------------------------------------------->>>
1
2
3
5
6
7
8
Feasibility
Click here for ideas on feasibility… ---------------------------------------------------------------------------------->>>
Dependencies
Other 1
Other 2
Other 3
Alternatives
Click here for ideas on alternatives… ---------------------------------------------------------------------------------->>>
1 | This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 | ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
Click here for ideas on assumptions… ---------------------------------------------------------------------------------->>>
1 | The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
2 | The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
3 | Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
4 | The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
5 | On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
6 | The maximum number of records that can be eliminated as a result of the implementation of this change is two hundred and fifty (250).
7 | Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
ERCOT Cost and Benefit Detail
ERCOT Internal Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Project | 640000 | 0 | 0 | 0 | NPV = | 0
Ongoing Cost (O&M) | Additional Model Maintenance | 0 | 22500 | 22500 | 22500 | NPV = | 60142.7689
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Cost: | 700000
ERCOT Internal Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Direct Cost Savings | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Productivity Increases | Staffing | 3250 | 3250 | 3250 | 3250 | NPV = | 8687.2888
Cost Avoidance | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Benefit: | 12000
Market Cost and Benefit Detail
Market Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Select type… |  |  |  |  | NPV = | 0
Ongoing Cost | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Market Cost: | 0
Market Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Benefits for Market | Staffing | 3250 | 3250 | 3250 | 3250 | NPV = | 8687.2888
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Total Present Value of Market Benefit: | 12000
Total Cost | 700000 |  | Net (Cost) - Benefit ($) |  | #VALUE!
Total Benefit | 24000 |  | Cost Benefit Ratio |  | 0.034286
Summary values are rounded to 2 significant digits.
Additional Comments
Enter any additional comments here…
1
2
3
4
Benefit and Impact Prompts
GOVERNANCE: Is the project required to support a PUCT rulemaking or government requirement?
GOVERNANCE: Is the project required by a market or ERCOT committee?
GOVERNANCE: Will the project provide better information for management decision making?
RELIABILITY: Does the project improve the reliability of the grid?
RELIABILITY: Does the project improve the reliability of ERCOT's computing infrastructure?
RELIABILITY: Is there a significant operational need for the project?
SAFETY: Will the project enhance safety within ERCOT?
SECURITY: Is there a physical or cyber-security issue that is addressed by this effort?
SECURITY: Does the project address an audit finding?
SECURITY: Will the project decrease the chance of fraud or help protect sensitive data?
RISK REDUCTION: Does this reduce risk to ERCOT in some significant manner?
RESOURCES: Does the project reduce the number of resources needed to support current operations?
RESOURCES: Does the project deliver infrastructure components that are more efficient or more easily upgraded?
DATA MANAGEMENT: Does this improve the accuracy, timeliness and transparency of transactions or settlements?
DATA MANAGEMENT: Does this enhance or optimize our data storage capability?
DATA MANAGEMENT: Does this improve reporting capabilities (financial, operational, etc.)?
EFFICIENCY: Does the project improve the efficiency or effectiveness of ERCOT?
EFFICIENCY: Does the project automate, improve or streamline a necessary function?
INVESTMENT: Is the project an investment in new capability or does it support the current architecture?
OTHER: Are there other areas that will indirectly benefit from this project?
Feasibility Prompts
REQUIREMENTS: Are high level requirements clearly defined?
REQUIREMENTS: How complex are the potential solutions?
REQUIREMENTS: Does a required completion date make delivery more difficult?
DELIVERY: Can the project be broken down into smaller sections or delivered in stages to reduce risk?
DELIVERY: Will training be required as the project is rolled out?
DEPENDENCIES: Are there major dependencies on other projects that make this difficult to implement?
Alternative Prompts
DELIVERY: Is a manual workaround an option (short-term or long-term)?
DELIVERY: Does a partial implementation provide enough value to be worth considering?
DELIVERY: Should a phased implementation be considered to reduce risk or accelerate key benefits?
DELIVERY: If this is an automation project is it reasonable to consider using the current process?
Assumption Prompts
DEPENDENCIES: Is this request is dependent on another ERCOT project (either active or planned)?
DELIVERABLES: Are specific key deliverables required from this project?
DELIVERABLES: What is the useful life of the deliverables of this project?
RESOURCES: Are computing resources assumed that are not to be delivered by this project?
RESOURCES: Are specific key resources assumed to be available for this project?
RESOURCES: Are there facilities requirements necessary for this project?
REQUIREMENTS: Is completion required by a specific date?

## SCR760-1, -6 Summary
Cost Benefit Analysis Summary
Request Information
PRR / SCR / PR / "New": | SCR760-1, -6 |  |  | Estimator's Name: |  | Teixeira/Rickerson/Ayson
Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models |  |  | Sponsor's Name: |  | SSWG
|  |  |  | Estimate Date: |  | 2010-12-09
Project Description: | SCR760-6 involves the implementation of the FACTS device type which is allowed in PSS/E version 32 and used in the ERCOT market. SCR760-1 is proposed as the implementation of a process to determine future device types that are needed for implementation. Yearly, when the new device types are determined, a System Change Request (SCR) will be created and submitted through the standard Project Prioritization List process. (1) Implement a process where Steady State Working Group (SSWG) and ERCOT jointly decide which new PSS/E data models should be implemented in IMM. This is more cost-efficient as it provides for the implementation of data types that will be used and avoids unnecessary costs and inefficiencies associated with the expansion of the model for data types that are not needed. (6) Allow capability to convert a FACTS device model in Information Model Manager to any possible FACTS device model allowed in PSS/E version 32. In Information Model Manager, Add an attribute to allow the TSP to be able to select for each object (generator, switch shunt, or FACTS Device). The TSP should be able to select the object it would like to see as a FACTS Device appear in the Topology Processor case as opposed to all FACTS Devices be modeled as generators. Any additional data parameters needed should be included as attributes, so that the Topology Processor can convert to the appropriate PSS/E model.
Benefits and Impacts
Feasibility
Alternatives
1 - This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 - ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
1 - The cost to implement device types identified beyond Year 1, when FACTS devices are proposed for implementation, is not included.
2 - The benefits resulting from the implementation of device types identified beyond Year 1, when FACTS devices are proposed for implementation, are not included.
3 - The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
4 - The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
5 - Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
6 - The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
7 - On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
8 - The maximum number of known records that can be eliminated as a result of the implementation of this change is twenty-one (21).
9 - Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
10 - SSWG will convene an annual meeting to discuss and decide which new PSS/E data models should be implemented in IMM.
11 - ERCOT will provide an analysis of new device types submitted to the Planning Model through PMCR so that these devices can be considered in the joint planning meeting.
Cost and Benefit Summary
Project Costs | ERCOT Implementation Cost | 270000 |  |  |  |  | All values in this section are rounded to 2 significant digits
| Market Implementation Cost | 0
| Total Implementation Cost |  | 270000
| ERCOT Ongoing Cost | 88000
| Market Ongoing Cost | 0
| Total Ongoing Cost |  | 88000
[5 empty] | 360000 |  | Total Cost
Project Benefit | ERCOT Benefit | 1000
| Market Benefit | 1000
[5 empty] | 2000 |  | Total Benefit
|  | Net (Cost) - Benefit |  |  | -360000
Calculation Parameters
Market Cost | Impacted Number of QSEs |  |  | 0
| Impacted Number of CRs |  |  | #REF!
| Impacted Number of TDSPs |  |  | #REF!
| Impacted Number of Resources |  |  | #REF!
Present Value Interest Rate: |  |  |  | 6%
Changing this parameter is not recommended
It is used to calculate present value of future cash flows

## SCR760-1, -6 Detail
Cost Benefit Analysis Data Entry Worksheet
PRR / SCR / Etc.: | SCR760-1, -6 | Project Title: | Recommended Changes Needed from Information Model Manager and Topology Processor for Planning Models
Sponsor: | SSWG | Estimate Date: | 2010-12-09 | Estimator: | Teixeira/Rickerson/Ayson
Project Description: (please be clear and concise) | SCR760-6 involves the implementation of the FACTS device type which is allowed in PSS/E version 32 and used in the ERCOT market. SCR760-1 is proposed as the implementation of a process to determine future device types that are needed for implementation. Yearly, when the new device types are determined, a System Change Request (SCR) will be created and submitted through the standard Project Prioritization List process. (1) Implement a process where Steady State Working Group (SSWG) and ERCOT jointly decide which new PSS/E data models should be implemented in IMM. This is more cost-efficient as it provides for the implementation of data types that will be used and avoids unnecessary costs and inefficiencies associated with the expansion of the model for data types that are not needed. (6) Allow capability to convert a FACTS device model in Information Model Manager to any possible FACTS device model allowed in PSS/E version 32. In Information Model Manager, Add an attribute to allow the TSP to be able to select for each object (generator, switch shunt, or FACTS Device). The TSP should be able to select the object it would like to see as a FACTS Device appear in the Topology Processor case as opposed to all FACTS Devices be modeled as generators. Any additional data parameters needed should be included as attributes, so that the Topology Processor can convert to the appropriate PSS/E model.
Benefits and Impacts
Click here for ideas on benefit and impact areas… ---------------------------------------------------------------------------------->>>
1
2
3
5
6
7
8
Feasibility
Click here for ideas on feasibility… ---------------------------------------------------------------------------------->>>
Dependencies
Other 1
Other 2
Other 3
Alternatives
Click here for ideas on alternatives… ---------------------------------------------------------------------------------->>>
1 | This functionality is fully supported via the Model on Demand (MOD). TSPs can continue to use MOD as designed.
2 | ERCOT will load standard Planning Model Change Requests (PMCRs) via the Model on Demand and work with TSPs to resolve discrepancies.
Assumptions
Click here for ideas on assumptions… ---------------------------------------------------------------------------------->>>
1 | The cost to implement device types identified beyond Year 1, when FACTS devices are proposed for implementation, is not included.
2 | The benefits resulting from the implementation of device types identified beyond Year 1, when FACTS devices are proposed for implementation, are not included.
3 | The cost to identify equipment needing NOMCR following the implementation of these changes is equal to the cost to identify the equipment needing a PMCR prior to implementation of these changes resulting in no cost/benefit.
4 | The cost to create NOMCR following the implementation of these changes is equal to the cost to create PMCR prior to implementation of these changes resulting in no cost/benefit.
5 | Benefit is derived from one time entry for NOMCR and no semi-annual review versus semi-annual review of PMCR at case building time to make sure it is needed x 2 case building periods per year.
6 | The benefit is measured as the annual time saved because there are fewer PMCRs to review during each case building period following the implementation of these changes.
7 | On average, twenty (20) PMCRs can be reviewed in a 2 hour period or 10 PMCRs per hour.
8 | The maximum number of known records that can be eliminated as a result of the implementation of this change is twenty-one (21).
9 | Costs from the Preliminary Impact Analysis (IA) have been used in the Cost portions of this document based on the mid-point of the range in the Prelimiary IA.
10 | SSWG will convene an annual meeting to discuss and decide which new PSS/E data models should be implemented in IMM.
11 | ERCOT will provide an analysis of new device types submitted to the Planning Model through PMCR so that these devices can be considered in the joint planning meeting.
ERCOT Cost and Benefit Detail
ERCOT Internal Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Project | 272900 | 0 | 0 | 0 | NPV = | 0
Ongoing Cost (O&M) | Additional Model Maintenance | 0 | 32900 | 32900 | 32900 | NPV = | 87942.0931
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Cost: | 360000
ERCOT Internal Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Direct Cost Savings | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Productivity Increases | Staffing | 273 | 273 | 273 | 273 | NPV = | 729.7323
Cost Avoidance | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Benefit: | 1000
Market Cost and Benefit Detail
Market Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Select type… |  |  |  |  | NPV = | 0
Ongoing Cost | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Market Cost: | 0
Market Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Benefits for Market | Staffing | 273 | 273 | 273 | 273 | NPV = | 729.7323
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Total Present Value of Market Benefit: | 1000
Total Cost | 360000 |  | Net (Cost) - Benefit ($) |  | #VALUE!
Total Benefit | 2000 |  | Cost Benefit Ratio |  | 0.0055556
Summary values are rounded to 2 significant digits.
Additional Comments
Enter any additional comments here…
1
2
3
4
Benefit and Impact Prompts
GOVERNANCE: Is the project required to support a PUCT rulemaking or government requirement?
GOVERNANCE: Is the project required by a market or ERCOT committee?
GOVERNANCE: Will the project provide better information for management decision making?
RELIABILITY: Does the project improve the reliability of the grid?
RELIABILITY: Does the project improve the reliability of ERCOT's computing infrastructure?
RELIABILITY: Is there a significant operational need for the project?
SAFETY: Will the project enhance safety within ERCOT?
SECURITY: Is there a physical or cyber-security issue that is addressed by this effort?
SECURITY: Does the project address an audit finding?
SECURITY: Will the project decrease the chance of fraud or help protect sensitive data?
RISK REDUCTION: Does this reduce risk to ERCOT in some significant manner?
RESOURCES: Does the project reduce the number of resources needed to support current operations?
RESOURCES: Does the project deliver infrastructure components that are more efficient or more easily upgraded?
DATA MANAGEMENT: Does this improve the accuracy, timeliness and transparency of transactions or settlements?
DATA MANAGEMENT: Does this enhance or optimize our data storage capability?
DATA MANAGEMENT: Does this improve reporting capabilities (financial, operational, etc.)?
EFFICIENCY: Does the project improve the efficiency or effectiveness of ERCOT?
EFFICIENCY: Does the project automate, improve or streamline a necessary function?
INVESTMENT: Is the project an investment in new capability or does it support the current architecture?
OTHER: Are there other areas that will indirectly benefit from this project?
Feasibility Prompts
REQUIREMENTS: Are high level requirements clearly defined?
REQUIREMENTS: How complex are the potential solutions?
REQUIREMENTS: Does a required completion date make delivery more difficult?
DELIVERY: Can the project be broken down into smaller sections or delivered in stages to reduce risk?
DELIVERY: Will training be required as the project is rolled out?
DEPENDENCIES: Are there major dependencies on other projects that make this difficult to implement?
Alternative Prompts
DELIVERY: Is a manual workaround an option (short-term or long-term)?
DELIVERY: Does a partial implementation provide enough value to be worth considering?
DELIVERY: Should a phased implementation be considered to reduce risk or accelerate key benefits?
DELIVERY: If this is an automation project is it reasonable to consider using the current process?
Assumption Prompts
DEPENDENCIES: Is this request is dependent on another ERCOT project (either active or planned)?
DELIVERABLES: Are specific key deliverables required from this project?
DELIVERABLES: What is the useful life of the deliverables of this project?
RESOURCES: Are computing resources assumed that are not to be delivered by this project?
RESOURCES: Are specific key resources assumed to be available for this project?
RESOURCES: Are there facilities requirements necessary for this project?
REQUIREMENTS: Is completion required by a specific date?