- Section 3:

NPRR261 - Revision of Data Submission Timeline for Network Model

This Nodal Protocol Revision Request (NPRR) removes the three-month summer model and replaces it with individual model packages for each month.  This NPRR also separates paragraph (5) of Section 3.10.4, ERCOT Responsibilities, into three paragraphs for clarification of ERCOT’s requirements.

Revised Subsection:  3.10.1 [unboxed due to system implementation]

- Section 6:

NPRR257 - Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII (formerly “Synchronization with Nodal Operating Guide Section 9, Monitoring Programs”)

This NPRR grey-boxes multiple sections of the Nodal Protocols to align with Nodal Operating Guide Section 9, Monitoring Programs.  This NPRR also changes the posting requirement for certain Black Start documents which meet the definition of Critical Energy Infrastructure Information (CEII) and removes the requirement for posting Black Start procedures for Resource Entities that have Black Start Agreements with ERCOT since Section 8.1, QSE and Resource Performance Monitoring, is related to performance monitoring.

Revised Subsection:  6.5.7.3 [partially unboxed due to system implementation]

- Section 8:

NPRR257 - Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII (formerly “Synchronization with Nodal Operating Guide Section 9, Monitoring Programs”)

See Section 6 above.

Revised Subsection:  8.2 [partially unboxed due to system implementation]