| I. Revision Request Details |  |
| --- | --- |
| Date | November 4, 2010 |
| Revision Request Number | SCR760 |
| Revision Request Name | Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| System Change Request (SCR) 760, Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models, proposes changes to the Information Model Manager and Topology Processor to fix a number of deficiencies with the proposed Annual Planning Model creation process. ERCOT has performed an initial assessment of SCR760 and determined that, as currently written, it will impact Nodal systems. The proposed changes from SCR760 would impact, at a minimum, the NMMS system. The ERCOT CEO has determined that, as written, SCR760 is not necessary prior to the Texas Nodal Market Implementation Date. Pursuant to Section 21.8.1, Review and Posting of System Change Requests, the ERCOT CEO reserves the right to reevaluate the SCR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: Due to system impacts.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: Impacts to the NMMS system..