## Sheet1
SCED Int | Base Point Y (Current SCED) | Base Point Y-1 (Previous SCED) | Telemetered Gen | Telemetered Gen Previous SCED | SCED Int (seconds) | AABP | TWTG
| 100 | 100 | 100
y1 | 150 | 100 | 125 | 100 | 150 | 20.8333 | 4.6875
y2 | 175 | 150 | 150 | 125 | 150 | 27.0833 | 5.7292
y3 | 200 | 175 | 200 | 150 | 300 | 62.5 | 14.5833
y4 | 250 | 200 | 220 | 200 | 120 | 30 | 7
y5 | 250 | 250 | 250 | 220 | 180 | 50 | 11.75
[5 empty] | 900 | 190.4167 | 43.75
[5 empty] | RTSPP | 100 | KP | 1
[5 empty] | Bandwidth | 0.05 | 5
[5 empty] | % Tolerance | 180.8958 | MWH | 45.224
[5 empty] | MW Tolerance | 185.4167
[5 empty] | BPD Undergen | 147.3958

## Sheet2
SCED Int | Base Point Y (Current SCED) | Base Point Y-1 (Previous SCED) | Telemetered Gen | Telemetered Gen Previous SCED | SCED Int (seconds) | AABP | TWTG |  |  | Base Point y | Adj Base Point Y | y-1 | Telemetered Gen | Telemetered Gen Previous SCED | SCED Int (seconds) | AABP | TWTG
| 100 | 100 | 100 | [9 empty] | 100
y1 | 150 | 100 | 125 | 100 | 150 | 20.8333 | 4.6875 |  | y1 | 150 | 125 | 100 | 125 | 100 | 150 | 18.75 | 18.75
y2 | 175 | 150 | 150 | 125 | 150 | 27.0833 | 5.7292 |  | y2 | 175 | 150 | 125 | 150 | 125 | 150 | 22.9167 | 22.9167
y3 | 200 | 175 | 200 | 150 | 300 | 62.5 | 14.5833 |  | y3 | 200 | 200 | 150 | 200 | 150 | 300 | 58.3333 | 58.3333
y4 | 250 | 200 | 220 | 200 | 120 | 30 | 7 |  | y4 | 250 | 220 | 200 | 220 | 200 | 120 | 28 | 28
y5 | 250 | 250 | 250 | 220 | 180 | 50 | 11.75 |  | y5 | 250 | 250 | 220 | 250 | 220 | 180 | 47 | 47
[5 empty] | 900 | 190.4167 | 43.75
[11 empty] | Ramp | 0.16667
[5 empty] | RTSPP | 100 | KP | 1
[5 empty] | Bandwidth | 0.05 | 5
[5 empty] | % Tolerance | 180.8958
[5 empty] | MW Tolerance | 185.4167
[5 empty] | BPD Undergen | 147.3958

## Sheet3
SCED Int | Base Point Y (Current SCED) | Base Point Y-1 (Previous SCED) | Telemetered Gen | Telemetered Gen Previous SCED | SCED Int (seconds) | AABP | TWTG |  |  | Base Point y | Adj Base Point Y | y-1 | Telemetered Gen | Telemetered Gen Previous SCED | SCED Int (seconds) | AABP | TWTG
|  | 250 | 250 | [8 empty] | 100 | 250
y1 | 200 | 250 | 225 | 250 | 150 | 37.5 | 9.8958 |  | y1 | 200 | 225 | 250 | 225 | 250 | 150 | 39.5833 | 39.5833
y2 | 175 | 200 | 200 | 225 | 150 | 33.3333 | 8.8542 |  | y2 | 175 | 200 | 225 | 200 | 225 | 150 | 35.4167 | 35.4167
y3 | 150 | 175 | 150 | 200 | 300 | 54.1667 | 14.5833 |  | y3 | 150 | 150 | 200 | 150 | 200 | 300 | 58.3333 | 58.3333
y4 | 100 | 150 | 130 | 150 | 120 | 16.6667 | 4.6667 |  | y4 | 100 | 130 | 150 | 130 | 150 | 120 | 18.6667 | 18.6667
y5 | 100 | 100 | 100 | 130 | 180 | 23 | 5.75 |  | y5 | 100 | 100 | 130 | 100 | 130 | 180 | 23 | 23
[5 empty] | 900 | 164.6667 | 43.75
[11 empty] | Ramp | 0.16667
[5 empty] | RTSPP | 100 | KP | 1
[5 empty] | Bandwidth | 0.05 | 5
[5 empty] | % Tolerance | 172.9 | MWh | 43.225
[5 empty] | MW Tolerance | 169.6667
[5 empty] | BPD Overgen | 52.5