## Slide 1: Nodal Settlement Status and Observations
Jim Galvin, SEWG Chair

## Slide 2: Market Launch
At midnight December 1, 2010 ERCOT launched full Nodal Market Go-Live and Nodal Market has operated since that date
Soft-start procedures eased into full market implementation with LFC under Nodal Systems and simulated DAMs providing additional and last minute feedback
Transition appears to have been successful operationally
This update will focus on Settlements with brief updates on the following topics:
  CRR Auction Settlement
  Statements
  Invoices
  Statement, Report, Extract Issues
  Cost Metrics

## Slide 3: Settlement Observations- CRR Auctions
CRR Auction for December and January completed, settled, invoiced and cleared
  January 2011 CRR Auction results delayed due to a longer than usual execution and analysis time for the market optimizations and system lock-up when accessing the Downloads page in the application
  Still awaiting word on the allocation of the December TCR Auction refunds, issue remains outstanding with ERCOT

## Slide 4: Settlement Observations- Statements
Settlement Statements for DAM issued (All December Trade Days)
  DAM results for Operating Day December 4, 2010 were delayed due to issues with notifications
Settlement Statements for RTM issued ( Through TD 12/24/2010)
  Some RTM SPPs affected due to previous day’s FIP/FOP values being used instead of current day’s values for December 1 and December 8 through December 10 – Small impact, no price corrections requested
  RT SPPs affected for one Settlement Interval due to a software error on December 15, 2010 – A price correction will be requested from the ERCOT BOD at their January 2011 meeting
Zonal Final and True-up Resettlements continue
Concerns through SEWG discussion on the number of statements continue be noted as an impact of Nodal

## Slide 5: Settlement Observations- Invoices
As of January 6, 2010 all DAM Invoices will be published for December and DAM Invoices will have settled (Cash Cleared) through December 29 Trade Day
As of January 6, 2010, Three RTM Invoices will have settled (Cash Cleared)
Market Participants are expressing concerns on the two settlement process as invoice processing is now a daily function
ERCOT appears to be clearing all invoices, no short or no pay scenarios
Zonal invoices continue for Final and True-up Settlements
  ERCOT published Zonal invoices with an incorrect payment due date creating some concern and processing issues over the holiday period

## Slide 6: Settlement Observations- Reports and Extracts
Extracts and Reports have been Published
  Some Market Participants had difficulty opening compressed reports in .zip format – ERCOT provided instructions
  ERCOT made minor configuration updates to the Extract Subscriber application requiring Market Participants to verify their subscriptions
  Due to long run times, December 2 and 3, 2010 Settlement Input Data Extract posted out of protocol
  Some 48 Hour Disclosure reports delayed for Operating days December 3 and December 4, 2010 due to extensive validations being performed by ERCOT on Nodal Go-live market data
  Settlement Input Data Extract XML postings reprocessed and reposted for December 1 through December 6, 2010 due to incorrect AML header tags in the public market tables
  Certain MIS Market reports not posted due to database server outage on December 11, 2010

## Slide 7: Settlement Observations- Reports and Extracts
Extracts and Reports have been Published, continued
  New report implemented December 14, 2010 due to NPRR293, Requirement to Post PTP Obligation Quantities Awarded in the DAM
  Delayed and missing postings for Resource Ancillary Service Supply Insufficiency at 1430 Report due to extensive data validations being performed by ERCOT
  Non-Spin Obligation (NSO) and Non-Spin Quantities (NSQ) bill determinants not included in RTM CODE Extracts for December 1 through December 3, 2010 due to missed configuration step in ERCOT’s cutover tasks
  ERCOT IDR estimation calculation data is no longer provided in the Supplemental AMS Interval Data Extract and Supplemental IDR Required Interval Data Extract – Retail extract changed without notice - Market Participants requested to derive estimation calculation data
  Missing last 15-minute interval on RT SPP Report on Real-Time Prices Displays on the ERCOT Website (has been corrected)

## Slide 8: Settlement Observations- Settlement Challenges
More billing determinants and larger data sets in the extracts for settlement validation
Settlement algorithms using billing determinants that have different interval counts (i.e. calculations that use hourly and 15-minute data to calculate a 15-minute settlement result)
  Some using 5-minute data such as Base Point Deviation
Aggregated bill determinants are no longer being published
  Quantities, Amounts, Billable Quantities, Billable Amounts that were created in Zonal are not in Nodal, participants must calculate these internally
Validation of approved and accepted QSE to QSE trades by ERCOT- impacts the Real Time Energy Imbalance calculation and requires party to party settlement of mismatches
Retail market concerns on transparency of ERCOT charges that impact loads (training and education opportunity)

## Slide 9: Settlement Observations- Market Prices
Market Prices-
  Load Zone Average Estimated RTSPPs-
    HLZ $32.06 (On-Peak), $26.94 (Off-Peak)
    NLZ $32.37, $27.28
    SLZ $30.95, $26.48
    WLZ $29.49, $21.54
  Spikes appear to be short-lived, market appears to be self-correcting in subsequent intervals, max RTSPP_LZ cleared at $1,286.28
  Basis between Load Zone and HUB is very small, primary spread is seen in West Zone
Offer Cap is not a Price Cap, offers are capped at $180, but prices can clear higher based on LMP solution from SCED

## Slide 10: Settlement Observations- Cost to Serve Load
Cost to Serve Load (as of 12/20/2010 based on RTM Settlements)
  AS seems within Zonal values where price per MWh is $1.51with the premium for Responsive Reserve at $1.06
  BPD Uplift charges are a credit to Loads at less than $0.01 per MWh, total BPD charges to resources through 12/20 is approximately $100 K (shortened SCED Intervals?)
  RUC Uplift Charge is negligible (~$2 K), meaning that most all of the RUC is being assigned to Loads that are short in the market
    RUC Capacity Shortfall Charges have averaged over $45 K per day, total of over $900 K for the first 20 days of the market
  Revenue Neutrality uplift to Loads currently an expense of $0.35/MWh
    SEWG will evaluate the drivers of Revenue Neutrality

## Slide 11: Summary
Overall, settlements and the reporting and extract functionality is operational
Improvements may be identified through Working Group discussions for future Parking Deck/NPRR consideration
  Examples of discussion points thus far include new extracts to support accepted QSE to QSE trades and revisiting the timeliness requirement of 48-hours on extracts/reports
Issues have been addressed or are in the process of being addressed
Invoice processing continues to be the popular topic of discussion
  Processing time and volume has increased exponentially for back office resources
While prices and cost of services appear to be modest, there remains some concern discussed on the release of the offer cap limit
SEWG and COPS will review monthly updates to settlement issues and observations

## Slide 12: Questions?