Date: 	December 30, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs) and Other Binding Document Revision Request (OBDRR)

The PRS met and discussed several revision requests and presents the following NPRRs and OBDRR to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR275, Clarify QSE’s Ability to Make Changes to Ancillary Service Resource Responsibility In Real Time [ERCOT].

Proposed Effective Date:  March 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the responsibility of Qualified Scheduling Entities (QSEs) to telemeter the same Ancillary Service Resource Responsibility in Real-Time as the QSE had previously submitted in the Current Operating Plan (COP) for the effective Operating Hour.

Procedural History:  NPRR275 was posted on 9/16/10.  On 9/23/10, PRS unanimously voted to reject NPRR275.  On 10/7/10, ERCOT appealed the 9/23/10 PRS Decision to TAC.  On 11/4/10, TAC unanimously voted to remand NPRR275 to PRS and to request that the Nodal Advisory Task Force (NATF) also consider NPRR275 and provide feedback to PRS.  On 11/18/10, PRS voted to recommend approval of NPRR275 as amended by the 11/16/10 NATF comments and as revised by PRS.  There were two abstentions from the Investor Owned Utility (IOU) and Consumer Market Segments.  On 12/16/10, PRS voted to endorse and forward the 11/18/10 PRS Report and Impact Analysis for NPRR275 to TAC with a proposed effective date of March 1, 2011.  There were two abstentions from the Consumer and IOU Market Segments.

  - NPRR291, Reduce the Comment Period for NPRRs and SCRs [ERCOT].

Proposed Effective Date:  March 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR reduces the comment period for NPRRs and System Change Requests (SCRs) from 21 days to 14 days and removes the requirement for the comment period to end at least three Business Days prior to the next regularly scheduled meeting of the subcommittee considering the NPRR or SCR.

Procedural History:  NPRR291 was posted on 10/28/10.  On 11/18/10, PRS unanimously voted to recommend approval of NPRR291 as submitted.  On 12/16/10, PRS unanimously voted to endorse and forward the 11/18/10 PRS Report and Impact Analysis for NPRR291 to TAC.

  - NPRR292, Add Key Provisions of RPG Charter to Protocols [Planning Working Group (PLWG)].

Proposed Effective Date:  March 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR adds certain key provisions of the Regional Planning Group (RPG) Charter and Procedures (the RPG Charter), approved by the ERCOT Board in January 2009, to the Nodal Protocols without changing requirements or process. This NPRR also revises certain language within the existing Nodal Protocols for consistency with the added provisions and to coordinate with future Planning Guides.  If needed, substantive changes to the planning process will be addressed through other NPRR and Planning Guide Revision Requests (PGRRs).

Procedural History:  NPRR292 was posted on 10/29/10.  On 11/18/10, PRS voted to recommend approval of NPRR292 as submitted.  There were two opposing votes from the Independent Power Marketer (IPM) and Independent Generator Market Segments.  On 12/16/10, PRS unanimously voted to endorse and forward the 11/18/10 PRS Report and Impact Analysis for NPRR292 to TAC.

  - NPRR302, Correct Fuel Type Language for Mitigated Offer Cap [Morgan Stanley] - Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR revises the language for the Mitigated Offer Cap to eliminate use of the Fuel Oil Price (FOP) in the calculation.

Procedural History:  NPRR302 was posted on 12/7/10.  On 12/9/10, the motion to grant NPRR302 Urgent status passed via PRS email vote.  On 12/16/10, PRS voted to recommend approval of NPRR302 as submitted.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

OBDRRs Recommended for Approval

  - OBDRR001, Texas SET Implementation Guides Revision Process [Texas SET Working Group] - Urgent .

Proposed Effective Date:  February 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This OBDRR incorporates the revision process into the Texas Standard Electronic Transaction Implementation Guides.

Procedural History:  OBDRR001 was posted on 12/13/10.  On 12/15/10, the motion to grant OBDRR001 Urgent status failed via PRS email vote.  On 12/16/10, PRS unanimously voted to grant OBDRR001 Urgent status.  PRS then voted to recommend approval of OBDRR001 as submitted.  There was one abstention from the Independent Generator Market Segment.  Credit review is not applicable.

Revision Requests Rejected and Failed Motions

  - NPRR287, Real-Time Market Price Delivery Consistency [ERCOT].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  (Preliminary) less than $50k; no additional full-time equivalents needed; minor configuration changes to ERCOT Nodal systems; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR proposes to remove Locational Marginal Prices (LMPs) from Inter-Control Center Communications Protocol (ICCP) communications, based on emerging concerns regarding the inconsistent timeframes for price delivery in Real-Time.

Procedural History:  NPRR287 was posted on 10/18/10.  On 10/21/10, PRS unanimously voted to table NPRR287 and to request that the NATF work with ERCOT Staff toward a better solution.  On 11/18/10, PRS unanimously vote to table NPRR287 for one month.  On 12/16/10, PRS unanimously voted to reject NPRR287.  Credit review is not applicable.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment at the January 20, 2011 PRS Meeting

  - NPRR283, Clarification of PCRR Allocation Eligibility [Tex-La].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR extends Pre-Assigned Congestion Revenue Right (PCRR) eligibility for certain wholesale supply over the high voltage Direct Current Ties (DC Ties).

Procedural History:  NPRR283 was posted on 9/30/10.  On 10/21/10, PRS unanimously voted to refer NPRR283 to the Wholesale Market Subcommittee (WMS) to discuss (1) whether the DC Tie import in question is a Generation Resource for purposes of PCRR allocation; and (2) the expected duration of pre-1999 contracts and PCRR implications.  On 12/16/10, PRS voted to recommend approval of NPRR283 as amended by the 12/15/10 WMS comments.  There were three abstentions from the Consumer, IPM, and IOU Market Segments.   Credit review is pending.

  - NPRR289, Clarify Use of Raise/Lower Block Status Telemetry [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR inserts language into Section 6.5.5.2, Operational Data Requirements, to clarify the proper use of Raise Block Status and Lower Block Status telemetry points by Resource operators in Real-Time operations.

Procedural History:  NPRR289 was posted on 10/28/10.  On 11/18/10, PRS unanimously voted to refer NPRR289 to WMS.  On 12/16/10, PRS unanimously voted to recommend approval of NPRR289 as amended by the 12/15/10 WMS comments.  Credit review is pending.

  - NPRR296, Remove Posting Requirement for the Annual Planning Model for the CRR Auction [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR removes the requirement to post a schedule for updating transmission information for the Annual Planning Model six months prior to the annual and two-year Congestion Revenue Right (CRR) Auctions.

Procedural History:  NPRR296 was posted on 11/15/10.  On 12/16/10, PRS unanimously voted to recommend approval of NPRR296 as submitted.  Credit review is pending.

  - NPRR297, Add Administrative NPRR Process to Nodal Protocols [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This NPRR adds a process for “Administrative NPRRs” to the Nodal Protocols modeled on the similar process for administrative market guide revisions contained in each of the market guides.

Procedural History:  NPRR297 was posted on 11/23/10.  On 12/16/10, PRS unanimously voted to recommend approval of NPRR297 as submitted.  Credit review is pending.

Revision Requests Deferred or Tabled

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of interconnection.

Procedural History:  NPRR264 was posted on 8/12/10.  On 8/19/10, PRS unanimously voted to table NPRR264 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS voted to table NPRR264 and to request that the ERCOT CEO reevaluate whether NPRR264 is needed prior to the Texas Nodal Market Implementation Date.  There was one abstention from the Independent Generator Market Segment.  On 10/21/10, PRS unanimously voted to table NPRR264 for one month.  On 11/18/10, PRS unanimously voted to table NPRR264 for one month.  On 12/16/10, PRS unanimously voted to table NPRR264 for one month.  Credit review is pending.

  - NPRR290, ERCOT Publication of DAM PSS/E Files [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR enhances transparency of the transmission topology (including all scheduled Outages) used in the Day-Ahead Market (DAM) by requiring ERCOT to publish certain data files (in Power System Simulator for Engineering (PSS/E format) for easy review by all Market Participants with standard power flow tools such as PTI PSS/E, Power World Simulator, etc.

Procedural History:  NPRR290 was posted on 10/28/10.  On 11/18/10, PRS unanimously voted to table NPRR290 for one month; to request that ERCOT implement the manual workaround based on the model load schedule as done in market trials and as resources allow; and to bring back estimated costs for the various options of implementation.  On 12/16/10, PRS unanimously voted to table NPRR290 for one month.  Credit review is pending.

  - NPRR294, Texas SET 4.0 Including: Acquisition and Transfer of Customers From One REP to Another; Meter Tampering Transactional Solution [Texas SET Working Group].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR defines the process for Mass Transition of Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another CR when transitioning due to an acquisition, the process for switch hold indicator addition and removal, and other various changes deemed to be implemented with Texas Standard Electronic Transaction (TX SET) version 4.0.  Changes to accommodate priority move-outs (including addition of the priority code and one hour processing of priority move-outs by ERCOT) and same day switches (changing the First Available Switch Date (FASD) to zero) are pending a PUCT rulemaking and are subject to revision.

Procedural History:  NPRR294 was posted on 11/5/10.  On 11/18/10, PRS unanimously voted to table NPRR294.  Credit review is pending.

  - NPRR298, New Definitions Related to Black Start [Operations Working Group (OWG)].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR proposes new definitions to Section 2.1 and clarifies the use of black start terminology in other sections of the Nodal Protocols.  This NPRR also identifies uses of the proposed terms(s) and makes language changes if applicable.

Procedural History:  NPRR298 was posted on 11/29/10.  On 12/16/10, PRS unanimously voted to table NPRR298.  Credit review is pending.

  - NPRR299, Remove Requirement for ERCOT Board Approval of PUCT, IMM, and FERC Required Reports [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR modifies the Nodal Protocols to better capture the requirement for ERCOT to prepare and submit reports in accordance with its regulatory requirements.  This NPRR removes the need for the ERCOT Board, PUCT Staff and Independent Market Monitor (IMM) to approve a schedule and format for reports.

Procedural History:  NPRR299 was posted on 11/30/10.  On 12/16/10, PRS unanimously voted to table NPRR299.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

None.

New Revision Requests Scheduled for Consideration at the January 20, 2011 PRS Meeting

  - NPRR300, Municipal Owned Utility Addition to Determination of Total Potential Exposure for a Counter-Party [City of Garland].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds Municipally Owned Utilities (MOUs) to the list of Entities exempt from the requirement to grant ERCOT a first priority security interest in order for Total Potential Exposure (TPE) of a Counter-Party to be based on the algebraic sum of the Counter-Party’s current and future credit exposures.

Procedural History:  NPRR300 was posted on 12/3/10.  Credit review is pending.

  - NPRR301, Correct Energy Trade Language for Adjustment Period [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR revises the language in Section 4.4.2 for entering Energy Trades in the Adjustment Period to match that of the latest Edison Electric Institute (EEI) Amendment.

Procedural History:  NPRR301 was posted on 12/3/10.  Credit review is pending.

  - NPRR303, Requirement to Post PTP Options Cleared in DAM or Taken to Real-Time [Luminant Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify the need for ERCOT to post quantities of Point-to-Point (PTP) Options and PTP Options with Refund that were not cleared in the Day-Ahead Market (DAM) and taken to Real-Time for Settlement.

Procedural History:  NPRR303 was posted on 12/5/10.  Credit review is pending.

  - NPRR304, Removal of Frequency Bias Methodology Approval Requirement [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement for ERCOT to develop a methodology, subject to TAC approval, to determine the optimal frequency bias for given system conditions.

Procedural History:  NPRR304 was posted on 12/17/10.  Credit review is pending.