## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
IntervalData | Interval Data by CM Zone, Weather Zone and ERCOT-wide (MWH consumption values)
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
CongestionZones | Monthly peak demand and energy data for this year by congestion zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.

## Updates
File Updated | 2011-01-10
Added System Minimum Demands from beginning of year | 2010-12-09

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2010
[5 empty] | Updated | 2011-01-10
Max All Time to be reset for 2011
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2010 Demand, MW | 55877.8342 | 47194.7947 | 41440.0878 | 40169.1025 | 54725.4972 | 60789.1431 | 60674.1727 | 65776.3264 | 58200.7414 | 45456.3922 | 40220 | 44715.7344 | 65776.3264
Date | 8 | 24 | 2 | 23 | 28 | 21 | 15 | 23 | 14 | 25 | 1 | 13
Interval Ending | 0800 | 0800 | 0800 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 0800
Day of Week | Friday | Wednesday | Tuesday | Friday | Friday | Monday | Thursday | Monday | Tuesday | Monday | Monday | Monday
Forecasted Demand, MW | 42990 | 43045 | 35486 | 43844 | 54232 | 56206 | 59794 | 64052 | 49083 | 45056 | 39431 | 40045 | 64052
Difference, percent | 29.98% | 9.641% | 16.78% | -8.382% | 0.91% | 8.154% | 1.472% | 2.692% | 18.58% | 0.8887% | 2.001% | 11.66% | 2.692%
2009 Demand, MW | 45495.4582 | 41378.1561 | 39534.7927 | 43297.9698 | 51209.6518 | 62277.9943 | 63400.4899 | 62042.9044 | 55188.0183 | 49051.6512 | 36934.7681 | 46263.7402 | 63400.4899
Date | 29 | 3 | 2 | 22 | 8 | 25 | 13 | 5 | 3 | 8 | 30 | 10
Hour Ending | 0800 | 0800 | 0800 | 1800 | 1700 | 1600 | 1700 | 1600 | 1600 | 1700 | 1900 | 0800
Day of Week | Thursday | Tuesday | Monday | Wednesday | Friday | Thursday | Monday | Wednesday | Thursday | Thursday | Monday | Thursday
Increase, MW | 10382.376 | 5816.6386 | 1905.2951 | -3128.8673 | 3515.8454 | -1488.8512 | -2726.3172 | 3733.422 | 3012.7231 | -3595.259 | 3285.2319 | -1548.0058
Increase, percent | 22.82% | 14.06% | 4.819% | -7.226% | 6.866% | -2.391% | -4.3% | 6.017% | 5.459% | -7.33% | 8.895% | -3.346%
Max All Time | 50404 | 50408 | 43033 | 51800 | 56344 | 62278 | 63400 | 62339 | 59524 | 54102 | 45143 | 48064
Date | 1/16/2007 at 1900 | 2/16/2007 at 0800 | 3/4/2002 at 0800 | 4/18/2006 at 1700 | 5/23/2008 at 1700 | 6/25/2009 at 1600 | 7/13/2009 at 1700 | 8/17/2006 at 1700 | 9/28/2005 at 1700 | 10/1/2007 at 1700 | 11/30/2006 2000 | 12/8/2005 at 2000
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2010 Demand, MW | 56190.6889 | 47989.8195 | 42291.1568 | 40271.1423 | 54798.973 | 60840 | 60729.9808 | 66028.232 | 58268.0008 | 45571.7523 | 40296 | 45227.5286 | 66028.232
Date | 8 | 24 | 2 | 23 | 28 | 21 | 15 | 23 | 14 | 25 | 1 | 13
Interval Ending | 0715 | 0715 | 0715 | 16:45 | 1630 | 16:45 | 16:45 | 1600 | 1645 | 1630 | 1645 | 0715
Day of Week | Thursday | Wednesday | Tuesday | Friday | Friday | Monday | Thursday | Monday | Tuesday | Monday | Monday | Monday
Max All Time | 50568 | 51251 | 43983 | 52024 | 56379 | 62393 | 63518 | 62434 | 59594 | 54204 | 45297 | 48141
Date | 1/16/2007 at 1845 | 2/16/2007 at 0715 | 3/4/2002 at 0715 | 4/17/2006 at 1615 | 5/23/2008 at 1700 | 6/13/2009 at 1615 | 7/13/2009 at 1700 | 8/17/2006 at 1700 | 9/28/2005 at 1630 | 10/1/2007 at 1645 | 11/30/2006 1900 | 12/8/2005 at 1900
NET SYSTEM MINIMUM DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2010 Demand, MW | 22376.028 | 23295.9851 | 22093 | 21770.2845 | 22927.4962 | 27517.4778 | 29468.8598 | 29108.8702 | 23251.7394 | 22206.6055 | 22904 | 23428.6875
Date | 23 | 21 | 31 | 25 | 3 | 4 | 3 | 28 | 28 | 31 | 8 | 31
Interval Ending | 0400 | 0400 | 0400 | 0500 | 0400 | 0400 | 0500 | 0500 | 0400 | 0500 | 0300 | 0400
Day of Week | Saturday | Sunday | Wednesday | Wednesday | Monday | Friday | Saturday | Saturday | Tuesday | Sunday | Monday | Friday

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2010
[5 empty] | Updated | 2011-01-10
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2010 Energy, MWh | 26072476.3698 | 23737721.6958 | 22028910.172 | 21502948.6826 | 27221819.2111 | 31781587.449 | 32397557.5854 | 35774778.982 | 28844061.793 | 23933083.247 | 21753399.2658 | 24049056 | 319097400.4534
2010 YTD Energy, MWh | 26072476.3698 | 49810198.0656 | 71839108.2376 | 93342056.9202 | 120563876.1313 | 152345463.5803 | 184743021.1657 | 220517800.1477 | 249361861.9407 | 273294945.1876 | 295048344.4534 | 319097400.4534
Forecasted Energy, MWh | 24336955 | 21904902 | 22061083 | 23311902 | 28070243 | 29474124 | 32773534 | 32794537 | 25615629 | 24393118 | 21972629 | 23741059 | 310449715
Difference, percent | 7.131% | 8.367% | -0.1458% | -7.76% | -3.023% | 7.829% | -1.147% | 9.088% | 12.6% | -1.886% | -0.9977% | 1.297% | 2.786%
YTD Forecasted Energy, MWh | 24336955 | 46241857 | 68302940 | 91614842 | 119685085 | 149159209 | 181932743 | 214727280 | 240342909 | 264736027 | 286708656 | 310449715
YTD Difference, percent | 7.131% | 7.717% | 5.177% | 1.885% | 0.7343% | 2.136% | 1.545% | 2.697% | 3.753% | 3.233% | 2.909% | 2.786%
2009 Energy, MWh | 24099522.7177 | 19889801.1712 | 22151339.7348 | 21621057.1864 | 26218403.0065 | 31231259.8662 | 33726598.6103 | 33451890.4797 | 26273161.3459 | 23202647.4331 | 20622885.4726 | 25789192.4518 | 308277759.4761
Increase, MWh | 1972953.6521 | 3847920.5246 | -122429.5628 | -118108.5038 | 1003416.2046 | 550327.5828 | -1329041.0249 | 2322888.5023 | 2570900.4471 | 730435.8139 | 1130513.7932 | -1740136.4518 | 10819640.9773
Increase, percent | 8.187% | 19.35% | -0.5527% | -0.5463% | 3.827% | 1.762% | -3.941% | 6.944% | 9.785% | 3.148% | 5.482% | -6.748% | 3.51%
2009 YTD Energy, MWh | 24099522.7177 | 43989323.8889 | 66140663.6237 | 87761720.8101 | 113980123.8166 | 145211383.6828 | 178937982.2931 | 212389872.7728 | 238663034.1187 | 261865681.5518 | 282488567.0244 | 308277759.4761
YTD Increase, MWh | 1972953.6521 | 5820874.1767 | 5698444.6139 | 5580336.1101 | 6583752.3147 | 7134079.8975 | 5805038.8726 | 8127927.3749 | 10698827.822 | 11429263.6358 | 12559777.4291 | 10819640.9773
YTD Increase, percent | 8.187% | 13.23% | 8.616% | 6.359% | 5.776% | 4.913% | 3.244% | 3.827% | 4.483% | 4.365% | 4.446% | 3.51%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2010 | 62.71% | 72.27% | 71.45% | 74.35% | 66.86% | 72.61% | 71.77% | 73.1% | 68.83% | 70.77% | 75.12% | 72.29% | 55.38%
2009 | 71.2% | 71.53% | 75.31% | 69.35% | 68.81% | 69.65% | 71.5% | 72.47% | 66.12% | 63.58% | 77.55% | 74.92% | 55.51%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2010 | 62.37% | 73.61% | 70.01% | 74.16% | 66.77% | 72.55% | 71.7% | 72.82% | 68.75% | 70.59% | 72.56% | 71.47% | 55.17%

## CongestionZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY CONGESTION ZONE FOR 2010
[5 empty] | Updated | 2011-01-10
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
North | 23416.0193 | 19538.4371 | 17847.9366 | 14400.8545 | 20356.6761 | 23731.8158 | 23927.3356 | 26591.2937 | 22805.3386 | 16425.048 | 13201.4264
South | 16551.1946 | 14478.0232 | 12044.681 | 11927.8908 | 15291.0473 | 16433.5625 | 16724.2059 | 18233.9477 | 16271.4837 | 13293.6785 | 12182.6433
Houston | 12794.1557 | 10826.3741 | 9490.0752 | 11654.0175 | 16065.8707 | 17189.2427 | 16596.3645 | 17393.2343 | 15650.6382 | 13074.5836 | 12567.7791
West | 3429.3193 | 3146.9852 | 2908.4641 | 2288.3795 | 3085.3789 | 3486.0404 | 3482.0749 | 3809.7562 | 3540.5403 | 2778.4421 | 2344.1703
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
North | 23416.0193 | 19900.1515 | 17847.9366 | 14444.8938 | 20563.8329 | 24029.7064 | 23990.5417 | 26591.2937 | 22805.3386 | 16689.5415 | 15518.4829
Date and time | 8 @ 07:30 | 9 @ 07:15 | 2 @ 07:15 | 29 @ 17:00 | 27 @ 16:30 | 22 @ 17:00 | 15 @ 16:30 | 23 @ 16:00 | 14 @ 16:45 | 19 @ 16:15 | 30 @ 20:30
South | 16646.968 | 14478.0232 | 12060.2231 | 12518.9575 | 15317.308 | 16566.1732 | 16724.2059 | 18350.6437 | 17223.773 | 13347.4132 | 12228.2881
Date and time | 9 @ 07:15 | 24 @ 07:15 | 2 @ 07:00 | 30 @ 17:00 | 28 @ 17:00 | 28 @ 16:00 | 15 @ 16:45 | 23 @ 16:45 | 1 @ 17:00 | 27 @ 17:00 | 1 @ 17:00
Houston | 13928.0711 | 11852.0412 | 10009.3162 | 12484.347 | 16069.4845 | 17189.2427 | 16766.416 | 17611.2157 | 16122.9241 | 14732.9697 | 12670.8535
Date and time | 8 @ 18:30 | 23 @ 19:30 | 3 @ 07:00 | 26 @ 16:45 | 28 @ 16:45 | 21 @ 16:45 | 30 @ 17:00 | 16 @ 15:00 | 10 @ 17:00 | 27 @ 16:00 | 1 @ 15:45
West | 3429.9397 | 3146.9852 | 2908.4641 | 2725.7024 | 3229.6546 | 3602.4183 | 3544.896 | 3861.9756 | 3623.1377 | 2869.1784 | 2855.4293
Date and time | 8 @ 07:15 | 24 @ 07:15 | 2 @ 07:15 | 29 @ 17:45 | 31 @ 17:00 | 22 @ 16:30 | 14 @ 16:45 | 17 @ 16:45 | 15 @ 16:30 | 18 @ 16:45 | 30 @ 21:15
NET ENERGY FOR LOAD, MWh
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
North | 10257203.8032 | 9487211.2228 | 8377854.7016 | 7782161.3473 | 9898679.698 | 12151007.2475 | 12528609.521 | 13922802.411 | 10874877.6801 | 8537771.2421 | 8027436.8435
South | 7244992.7344 | 6522329.6876 | 5969198.1621 | 5984055.2097 | 7701912.7026 | 8795979.4706 | 8998245.3763 | 9897926.8905 | 8073392.0036 | 6750233.338 | 6027360.4914
Houston | 6718815.9554 | 6071028.7362 | 6041633.3708 | 6220116.7263 | 7843536.0775 | 8824187.7637 | 8851067.0931 | 9733951.5636 | 7984891.513 | 6954317.4639 | 6042371.8479
West | 1851463.8768 | 1657152.0492 | 1640223.9375 | 1516615.3993 | 1777690.733 | 2010412.9672 | 2019635.5951 | 2220098.1169 | 1910900.5963 | 1690761.203 | 1656230.083
Totals may not match the ERCOT values because of rounding.
With the advent of Nodal Settlements on December 1, 2010, data is no longer available for this report.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2010
[5 empty] | Updated | 2011-01-10
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 13425.9855 | 11307.3535 | 9885.0596 | 12155.8587 | 16731.1967 | 17780.5062 | 17213.3252 | 18058.873 | 16222.4022 | 13571.5429 | 13049.3837 | 11049.8715
East | 2335.9404 | 1942.3018 | 1697.8774 | 1516.1698 | 1989.8593 | 2253.7668 | 2221.4787 | 2326.8699 | 2235.6765 | 1782.5887 | 1485.9071 | 1868.9626
Far West | 1600.9267 | 1483.0498 | 1432.4204 | 1142.8933 | 1461.7534 | 1744.9694 | 1652.348 | 1805.7776 | 1735.4062 | 1322.6532 | 1171.8132 | 1478.402
North Central | 21448.9409 | 17849.1026 | 16400.6637 | 12994.6032 | 18607.7975 | 21668.9549 | 21920.8802 | 24498.0256 | 20800.2264 | 14820.4845 | 11883.9417 | 17006.8886
North | 1462.4671 | 1259.0297 | 1140.2044 | 830.0254 | 1180.8837 | 1366.4262 | 1434.9776 | 1556.7347 | 1328.4624 | 1097.2017 | 834.8249 | 1308.8213
South Central | 9729.7758 | 8584.2231 | 7307.91 | 7102.9872 | 9178.3159 | 9870.954 | 10015.6919 | 11249.8855 | 9768.3643 | 7939.6362 | 7221.1371 | 7782.1729
South | 4476.842 | 3989.3494 | 3072.5641 | 3514.6277 | 4208.4334 | 4571.9915 | 4660.3118 | 4753.3282 | 4568.6747 | 3881.7246 | 3651.5659 | 3435.3624
West | 1709.8105 | 1575.4096 | 1354.4572 | 1013.9769 | 1440.7332 | 1583.0924 | 1610.9674 | 1778.7375 | 1608.7883 | 1155.9205 | 997.4455 | 1297.0472
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 14584.4444 | 12376.1877 | 10416.5547 | 13003.7732 | 16733.0957 | 17780.5062 | 17393.1267 | 18267.9284 | 16730.4999 | 15255.9218 | 13153.4387 | 11049.8715
Date and time | 8 @ 18:30 | 23 @ 19:30 | 3 @ 07:00 | 26 @ 16:45 | 28 @ 16:45 | 21 @ 16:45 | 30 @ 17:00 | 16 @ 15:00 | 10 @ 17:00 | 27 @ 16:00 | 1 @ 15:45 | 13 @ 07:15
East | 2642.9712 | 2364.6166 | 2020.9453 | 1678.213 | 2610.9746 | 2384.0459 | 2666.7446 | 2919.4854 | 2465.9049 | 1793.7486 | 1737.1602 | 2103.7887
Date and time | 11 @ 07:30 | 24 @ 18:45 | 3 @ 19:00 | 26 @ 14:30 | 24 @ 16:15 | 15 @ 11:45 | 23 @ 18:15 | 10 @ 15:00 | 20 @ 14:00 | 27 @ 18:00 | 24 @ 18:30 | 13 @ 07:30
Far West | 1671.3759 | 1491.8757 | 1432.4204 | 1414.7215 | 1575.3244 | 1798.238 | 1689.8356 | 1861.0862 | 1765.2669 | 1441.5237 | 1498.7695 | 1539.3298
Date and time | 7 @ 21:30 | 16 @ 07:15 | 2 @ 07:15 | 29 @ 18:00 | 31 @ 17:00 | 6 @ 16:45 | 13 @ 16:45 | 17 @ 16:45 | 15 @ 15:45 | 1 @ 16:45 | 30 @ 07:15 | 1 @ 07:15
North Central | 21448.9409 | 18287.6801 | 16400.6637 | 13053.1153 | 18727.9836 | 21991.1184 | 21930.3395 | 24498.0256 | 20830.0294 | 15250.6696 | 14040.8485 | 17006.8886
Date and time | 8 @ 07:30 | 9 @ 07:15 | 2 @ 07:15 | 29 @ 17:00 | 27 @ 16:00 | 23 @ 16:30 | 15 @ 16:30 | 23 @ 16:00 | 14 @ 16:30 | 19 @ 16:30 | 30 @ 20:30 | 13 @ 07:15
North | 1495.4367 | 1328.1603 | 1176.687 | 966.6072 | 1320.2645 | 1553.0856 | 1482.2715 | 1573.9533 | 1373.2971 | 1113.7501 | 1060.3712 | 1315.4075
Date and time | 8 @ 06:45 | 9 @ 07:00 | 2 @ 07:00 | 22 @ 21:15 | 24 @ 18:00 | 23 @ 15:30 | 20 @ 14:15 | 23 @ 16:45 | 15 @ 16:30 | 25 @ 16:00 | 30 @ 07:15 | 13 @ 07:00
South Central | 9729.7758 | 8584.2231 | 7309.9166 | 7507.344 | 9195.7771 | 10274.5715 | 10138.9432 | 11361.2318 | 10642.8882 | 7961.5262 | 7265.6369 | 7782.1729
Date and time | 8 @ 07:30 | 24 @ 07:15 | 2 @ 07:00 | 30 @ 18:00 | 28 @ 16:45 | 28 @ 16:30 | 16 @ 17:30 | 23 @ 17:00 | 1 @ 17:30 | 25 @ 17:00 | 1 @ 17:00 | 13 @ 07:15
South | 4876.8376 | 4005.159 | 3206.0711 | 3722.5947 | 4272.192 | 4735.5324 | 4697.1048 | 4781.6352 | 4618.4199 | 4292.1348 | 3653.0573 | 3436.0413
Date and time | 9 @ 07:00 | 24 @ 07:00 | 3 @ 07:00 | 30 @ 17:00 | 17 @ 16:00 | 14 @ 16:00 | 19 @ 15:15 | 23 @ 16:30 | 1 @ 16:30 | 27 @ 16:45 | 1 @ 17:00 | 13 @ 07:00
West | 1709.8105 | 1579.1669 | 1354.4572 | 1159.6574 | 1467.8443 | 1639.2964 | 1643.8632 | 1823.6237 | 1671.4211 | 1255.4946 | 1190.9786 | 1322.2857
Date and time | 8 @ 07:30 | 24 @ 07:30 | 2 @ 07:15 | 29 @ 18:00 | 31 @ 17:00 | 22 @ 16:45 | 14 @ 17:30 | 17 @ 16:45 | 1 @ 17:00 | 20 @ 17:30 | 30 @ 21:00 | 6 @ 07:15
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Coastal | 7022823.8911 | 6333238.5162 | 6317025.2808 | 6501651.8411 | 8190883.1832 | 9165894.6511 | 9215457.9213 | 10123951.6105 | 8303925.5999 | 7233578.1975 | 6306855.8081 | 6569813.6808 | 91285100.1815
East | 1080329.1732 | 982195.3361 | 880146.4193 | 823221.9824 | 1064273.3532 | 1185201.7512 | 1231931.5334 | 1320835.6955 | 1107140.1864 | 881913.8597 | 840886.3944 | 943202.9013 | 12341278.5861
Far West | 920076.3364 | 820219.5443 | 831902.8628 | 798385.6772 | 908193.9253 | 1011867.5067 | 985214.933 | 1079483.9093 | 961018.1782 | 869584.1827 | 862024.6104 | 955173.9145 | 11003145.5808
North Central | 9255061.3674 | 8591207.9742 | 7539325.0884 | 6993975.8258 | 8913406.3556 | 11042071.0512 | 11374311.1317 | 12699565.7425 | 9838390.5083 | 7715176.5248 | 7235183.8762 | 8419495.7955 | 109617171.2418
North | 707759.4514 | 646491.7882 | 603150.7317 | 510657.5753 | 618533.4999 | 773265.0131 | 800748.4286 | 871330.1332 | 702703.53 | 592735.943 | 582580.5437 | 688611.0745 | 8098567.7126
South Central | 4281172.008 | 3906339.0011 | 3520451.4028 | 3494112.2753 | 4487601.1604 | 5199447.1409 | 5384949.1753 | 5990235.7204 | 4798501.9067 | 3933599.4644 | 3552844.0294 | 3935264.8646 | 52484518.1494
South | 1990879.9755 | 1733097.1915 | 1675669.5091 | 1770762.3961 | 2299553.1916 | 2558233.8568 | 2536306.4872 | 2717657.2114 | 2334063.8338 | 2035570.3461 | 1730949.6954 | 1814212.2894 | 25196955.9839
West | 814374.1668 | 724932.3443 | 661238.877 | 610181.1093 | 739374.5418 | 845606.478 | 868637.9749 | 971718.9591 | 798318.0497 | 670924.7288 | 642074.3081 | 723281.2222 | 9070662.7601
All values are from initial settlement data and will not be updated with subsequent settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2010
[5 empty] | Updated | 2011-01-10
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 9595342.104 | 8972039.851 | 6299307.082 | 8636463.774 | 10405143.003 | 12859045.222 | 13853452.407 | 17099564.381 | 11745790.239 | 7702702.636 | 6807746.385 | 6755839.5087 | 120732436.5927
Coal | 10766794.73 | 9220122.084 | 8945566.389 | 7878894.324 | 10209060.64 | 12022279.98 | 12067550.93 | 12476166.45 | 11227162.8 | 10298411.73 | 9089015.085 | 10747723.87 | 124948749.012
Nuclear | 3452682.25 | 3261183.867 | 3694757.51 | 1970579.531 | 3704217.298 | 3610728.367 | 3754249.846 | 3669945.317 | 3641141.821 | 3794673.923 | 2936001.41 | 3844182.6 | 41334343.74
Wind | 1873245.819 | 1585158.013 | 2526808.15 | 2584460.312 | 2175350.479 | 2398402.389 | 1754775.462 | 1561465.765 | 1463027.491 | 1729227.965 | 2621537.879 | 2439805.384 | 24713265.108
Water | 44759.0771 | 101371.5058 | 97273.9218 | 87664.2709 | 98619.0582 | 82131.6048 | 131634.0946 | 92287.506 | 73367.1801 | 58130.816 | 25855.9917 | 33929.5026 | 927024.5296
Other | 113271.4836 | 309912.5666 | 280096.8763 | 158094.7409 | 382135.2181 | 453381.1639 | 492993.8648 | 465882.101 | 371080.0048 | 214171.1918 | 101681.552 | 47818.3849 | 3390519.1487
Total | 25846095.4636 | 23449787.8874 | 21843809.9291 | 21316156.9528 | 26974525.6963 | 31425968.7267 | 32054656.6044 | 35365311.52 | 28521569.5359 | 23797318.2618 | 21581838.3027 | 23869299.2502 | 316046338.131
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 37.12% | 38.26% | 28.84% | 40.52% | 38.57% | 40.92% | 43.22% | 48.35% | 41.18% | 32.37% | 31.54% | 28.3% | 38.2%
Coal | 41.66% | 39.32% | 40.95% | 36.96% | 37.85% | 38.26% | 37.65% | 35.28% | 39.36% | 43.28% | 42.11% | 45.03% | 39.53%
Nuclear | 13.36% | 13.91% | 16.91% | 9.245% | 13.73% | 11.49% | 11.71% | 10.38% | 12.77% | 15.95% | 13.6% | 16.11% | 13.08%
Wind | 7.248% | 6.76% | 11.57% | 12.12% | 8.064% | 7.632% | 5.474% | 4.415% | 5.13% | 7.266% | 12.15% | 10.22% | 7.82%
Water | 0.1732% | 0.4323% | 0.4453% | 0.4113% | 0.3656% | 0.2613% | 0.4107% | 0.261% | 0.2572% | 0.2443% | 0.1198% | 0.1421% | 0.2933%
Other | 0.4383% | 1.322% | 1.282% | 0.7417% | 1.417% | 1.443% | 1.538% | 1.317% | 1.301% | 0.9% | 0.4711% | 0.2003% | 1.073%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
Differences in the totals here and the total for ERCOT are attributable to energy across DC ties, rounding, and subsequent settlements.
These values are based on initial settlements and will not be updated with subsequent settlements.
"Other" includes petroleum coke, landfill gas, biomass solids, biomas gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Natural Gas | 9595.3421 | 8972.0399 | 6299.3071 | 8636.4638 | 10405.143 | 12859.0452 | 13853.4524 | 17099.5644 | 11745.7902 | 7702.7026 | 6807.7464 | 6755.8395
Coal | 10766.7947 | 9220.1221 | 8945.5664 | 7878.8943 | 10209.0606 | 12022.28 | 12067.5509 | 12476.1665 | 11227.1628 | 10298.4117 | 9089.0151 | 10747.7239
Nuclear | 3452.6822 | 3261.1839 | 3694.7575 | 1970.5795 | 3704.2173 | 3610.7284 | 3754.2498 | 3669.9453 | 3641.1418 | 3794.6739 | 2936.0014 | 3844.1826
Wind | 1873.2458 | 1585.158 | 2526.8081 | 2584.4603 | 2175.3505 | 2398.4024 | 1754.7755 | 1561.4658 | 1463.0275 | 1729.228 | 2621.5379 | 2439.8054
Water | 44.7591 | 101.3715 | 97.2739 | 87.6643 | 98.6191 | 82.1316 | 131.6341 | 92.2875 | 73.3672 | 58.1308 | 25.856 | 33.9295
Other | 113.2715 | 309.9126 | 280.0969 | 158.0947 | 382.1352 | 453.3812 | 492.9939 | 465.8821 | 371.08 | 214.1712 | 101.6816 | 47.8184
Diesel | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## EnergyComparisons
Energy, MWh
|  |  | 2010 | 2009 | 2009, GWh
|  | Jan | 26072.4764 | 24099522.7177 | 24099.5227 |  | 24099522.7177
|  | Feb | 23737.7217 | 19889801.1712 | 19889.8012 |  | 19889801.1712
|  | Mar | 22028.9102 | 22151339.7348 | 22151.3397 |  | 22151339.7348
|  | Apr | 21502.9487 | 21621057.1864 | 21621.0572 |  | 21621057.1864
|  | May | 27221.8192 | 26218403.0065 | 26218.403 |  | 26218403.0065
|  | Jun | 31781.5874 | 31231259.8662 | 31231.2599 |  | 31231259.8662
|  | Jul | 32397.5576 | 33726598.6103 | 33726.5986 |  | 33726598.6103
|  | Aug | 35774.779 | 33451890.4797 | 33451.8905 |  | 33451890.4797
|  | Sep | 28844.0618 | 26273161.3459 | 26273.1613 |  | 26273161.3459
|  | Oct | 23933.0832 | 23202647.4331 | 23202.6474 |  | 23202647.4331
|  | Nov | 21753.3993 | 20622885.4726 | 20622.8855 |  | 20622885.4726
|  | Dec | 24049.056 | 25789192.4518 | 25789.1925 |  | 25789192.4518
ytd | ytd |  | Energy, MWh
Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
26072.4764 | 24595.0925 | Jan | 26072.4764 | 24595.0925 |  | -5.666% |  | 24595092.48 | 25092678.55 | 24470147.58
49810.1981 | 46782.9862 | Feb | 23737.7217 | 22187.8938 |  | -6.529% |  | 22187893.76 | 23253555.42 | 21920027.65
71839.1082 | 69225.2376 | Mar | 22028.9102 | 22442.2514 |  | 1.876% |  | 22442251.38 | 22162786.88 | 22327526.55
93342.0569 | 92923.0789 | Apr | 21502.9487 | 23697.8413 |  | 10.21% |  | 23697841.28 | 24303590.8 | 23349802.63
120563.8761 | 121403.5193 | May | 27221.8192 | 28480.4404 |  | 4.624% |  | 28480440.37 | 27963899.57 | 28088768.45
152345.4636 | 151347.8829 | Jun | 31781.5874 | 29944.3636 |  | -5.781% |  | 29944363.65 | 29896875.66 | 29680858.72
184743.0212 | 184580.7688 | Jul | 32397.5576 | 33232.8859 |  | 2.578% |  | 33232885.87 | 33463263.77 | 32876030.34
220517.8001 | 217807.8838 | Aug | 35774.779 | 33227.115 |  | -7.121% |  | 33227115.03 | 31982828.14 | 33111561.55
249361.8619 | 243813.644 | Sep | 28844.0618 | 26005.7601 |  | -9.84% |  | 26005760.14 | 25358107.54 | 25894230.57
273294.9452 | 268637.0825 | Oct | 23933.0832 | 24823.4386 |  | 3.72% |  | 24823438.58 | 24686958.05 | 24575610.6
295048.3445 | 291005.5946 | Nov | 21753.3993 | 22368.5121 |  | 2.828% |  | 22368512.06 | 22068476.16 | 22148775.85
319097.4005 | 315064.7382 | Dec | 24049.056 | 24059.1436 |  | 0.04195% |  | 24059143.6 | 23713280.65 | 23760251.73
0
0
|  | EIA-411 forecast made in March 2004 |  | 0
0
YTD Actual 235,718,421 MWh
YTD Forecast 242,752,402 MWh
Difference -2.9%

## DemandComparisons
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 Houly | 55877.8342 | 47194.7947 | 41440.0878 | 40169.1025 | 54725.4972 | 60789.1431 | 60674.1727 | 65776.3264 | 58200.7414 | 45456.3922 | 40220 | 44715.7344
2007 hourly | 45495.4582 | 41378.1561 | 39534.7927 | 43297.9698 | 51209.6518 | 62277.9943 | 63400.4899 | 62042.9044 | 55188.0183 | 49051.6512 | 36934.7681 | 46263.7402
[8 empty] | 60214 | 59524 | 52107 | 42670 | 48064
2008 15-minute | 56190.6889 | 47989.8195 | 42291.1568 | 40271.1423 | 54798.973 | 60840 | 60729.9808 | 66028.232 | 58268.0008 | 45571.7523 | 40296 | 45227.5286
2007 15-minute | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Forecast | 42990 | 43045 | 35486 | 43844 | 54232 | 56206 | 59794 | 64052 | 49083 | 45056 | 39431 | 40045
| 55877.8342 | 47194.7947 | 41440.0878 | 40169.1025 | 54725.4972 | 60789.1431 | 60674.1727 | 65776.3264 | 58200.7414 | 45571.7523 | 40296 | 45227.5286
| 41231 | 41095 | 36115 | 41219 | 51947 | 58140 | 57319 | 60214 | 59524 | 52107 | 42670 | 48064
| 45994.13 | 45855.76 | 38995.49 | 50745.92 | 56667.03 | 57810.88 | 64927.19 | 62829.88 | 51256.27 | 46607.52 | 38282.14 | 41243.68
| 44704.64 | 45534.39 | 39743.83 | 49316.95 | 55315.89 | 57945.68 | 61277.83 | 63794.02 | 50601.63 | 45766.8 | 38730.82 | 40796.51
| 42943 | 43058 | 36071 | 43246 | 54465 | 56118 | 59837 | 63491 | 49227 | 45368 | 39047 | 39996