| NOGRR Number | 057 | NOGRR Title | Daily Report Containing Loss of Generation Greater than 450 MW |
| --- | --- | --- | --- |

| Date | January 12, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Brenda Hampton |
| E-mail Address | brenda.hampton@luminant.com |
| Company | Luminant Energy Company, LLC |
| Phone Number | 512.349.6416 |
| Cell Number | 903.505.9175 |
| Market Segment | Investor-Owned Utility (IOU) |

Comments

Luminant Energy Company LLC submits these comments to better clarify the intent of the Performance/Disturbance/Compliance Working Group (PDCWG) related to this report.  Luminant also proposes to delete paragraph (2)(e) of Section 9.4.3, Resource-Specific Responsive Reserve Performance, because it adds no value.

Proposed Guide Language Revision

9.4.3	Resource-Specific Responsive Reserve Performance

(1)	ERCOT shall develop monthly reports detailing Resource-specific Responsive Reserve (RRS) performance during deployments, including Load Resources, based on criteria described in Protocol Section 8.1.1.4.2, Regulation Service and Generation Resource Energy Deployment Performance.

(2)	ERCOT shall publish a daily report on the MIS Public Area for the sudden loss of Generation and/or Load Resource capacity totaling more than 450 MW occurring within a one minute timeframe. The report shall include:

(a)	ERCOT Load at the time of each event;

(b)	Time of each event;

(c)	Amount of Generation and/or Load Resource capacity lost during  the event; and

(d)	Lowest ERCOT frequency that occurred during the event

.