## Slide 1: 12DSA and 12DSB Case Build Options (Developed at 12/15/2010 SSWG/Nodal Planning Go-Live Workshop)
Option 1:
  Model On Demand (MOD)
  Topology Processor case as seed case
  Standard Planning Model Change Requests (PMCR)
Option 2:
  MOD
  SSWG case as seed case
  Topology Processor case used for ongoing comparisons
Option 3:
  Continue current case building process

## Slide 2: Option 1
TSP
Profiles
Planning Topology Output
TSP Review
Case complete?
Case Posted
Yes
No
TSPs submit
Change via MOD
NMMS db
ERCOT Topology Processor for ODMS
ERCOT/TSP Network Model update via NOMCR
CRR Topology Output
Planning Case Output
ERCOT
Model on Demand
TSP Standard PMCR
TSP Future PMCR
ERCOT Dispatch
Profile

## Slide 3: Option 1
Using the Topology Processor output as the seed case for MOD to create 2012 Data Set A with TSPs providing profiles and projects (including Standard PMCRs).
ERCOT will review all TSP input and provide the Generation Dispatch.
Existing and future SCRs that modify the TP and IMM are still to be fully vetted and implemented as required.
Under this option Planning Go-live is expected to be implemented on April 1, 2011, with the posting of the 12 DSA cases by August 1, 2011.

## Slide 4: Option 2
TSP
Profiles
Topology from Existing Planning Case
TSP Review
Case complete?
Case Posted
Yes
No
TSPs submit
Change via MOD
NMMS db
ERCOT Topology Processor for ODMS
ERCOT/TSP Network Model update via NOMCR
CRR Top Output
Planning Case Output
ERCOT
Model on Demand
TSP Future PMCR
ERCOT Dispatch
Profile

## Slide 5: Option 2
Using an already created SSWG case as the seed case for MOD to create 2012 Data Set A
Includes an ongoing commitment by TSPs and ERCOT to compare the TP case with an SSWG case and resolve or document differences in order to achieve consistency between planning and operations cases. The process of documenting the differences will be developed by the Planning Working Group. The PLWG will develop and document the tolerances for the differences.
Option 2 to continue until SCR759 and SCR760 are fully vetted and implemented as required.
Option 2 to continue until any additional changes to the IMM or TP are fully vetted and implemented as required. Additional changes must be submitted as SCRs by July 1, 2011.
Option 2 to continue until SSWG reviews a TP case and endorses the TP-seed process for producing Planning Cases. This endorsement will move the process to Option 1.
Under this option Planning Go-live is expected to be implemented by August 1, 2011 with the posting of the 12 DSA cases.