## Slide 1: ERCOT Planning Go-Live Update
January 13, 2011
ROS
Jay Teixeira
Manager, Model Administration

## Slide 2
ROS
January 13, 2011
MOD PMCR to Case Total Comparison

## Slide 3: Option 1 - NMMS Model on Demand Integrated System
ROS
January 13, 2011
TSP
Profiles
Planning Top Output
TSP Review
Case complete?
Case Posted
Yes
No
TSPs submit
Change via MOD
NMMS db
ERCOT Topology Processor for ODMS
ERCOT/TSP Network Model update via NOMCR
CRR Top Output
Planning Case Output
ERCOT
Model on Demand
TSP Standard PMCR
TSP Future PMCR
ERCOT Dispatch
Profile

## Slide 4: Option 1 - Considerations
ROS
January 13, 2011
TSPs trying to do too much with Standard PMCRs
  Unknown if for comparison purposes or intended to be permanent
  Need a set of consistency rules to define limits of changes that can be made or cases will end up as inconsistent as present planning cases
  Need to concentrate on modifying NMMS to reduce number and type of Standard PMCRs to only those necessary for other planning data besides topology
Using Option 1 allows SCR items to be acted on immediately after BOD endorsement

## Slide 5: Option 2 – SSWG Model on Demand Separated System
ROS
January 13, 2011
TSP
Profiles
Topology from Existing Planning Case
TSP Review
Case complete?
Case Posted
Yes
No
TSPs submit
Change via MOD
NMMS db
ERCOT Topology Processor for ODMS
ERCOT/TSP Network Model update via NOMCR
CRR Top Output
Planning Case Output
ERCOT
Model on Demand
TSP Future PMCR
ERCOT Dispatch
Profile
Compare to TP
Resolve/Explain
Document

## Slide 6: Option 2 - Problems
ROS
January 13, 2011
Planning Go-Live is being redefined
  August 1, 2011 date for redefined Go-Live is misleading
    Defined as building cases that are still 78% consistent
    Is there an ongoing commitment to reconcile differences?
    No action defined, is it going to make cases more consistent or is it just a list of differences
    Even if it is intended to make cases more consistent, cases will be complete before comparison made with no feedback into model
    The need to wait until July 1 for possible new SCRs to be submitted delays work on SCR760 and SCR759.

## Slide 7: Option 2 – Changes Needed to make it Better
ROS
January 13, 2011
    Need commitment to resolve and update cases by a specific date before Go-Live comparability can be claimed
    Need some definition of consistency in order to identify updates that must be made
    Need commitment by TSPs to Go-Live without having to repeat experience of last three months.

## Slide 8: Option 3 – Maintain Current Separated Process
ROS
January 13, 2011
ERCOT
Manual Process
TSP Review
Case complete?
Case Posted
Yes
No
TSPs submit
Changes via IDEV, other
NMMS db
ERCOT Topology Processor for ODMS
ERCOT/TSP Network Model update via NOMCR
CRR Top Output
Planning Case Creation
ERCOT Dispatch
TSPs submit RAWD files for their area containing
Topology, Load, Voltage Control

## Slide 9
ROS
January 13, 2011
Consistency Spectrum
Direct Topology Processor Output used for CRR
TP Output + Standard PMCRs
SSWG 2012 Case compared to TP Output
100%
97%
78%
Opt 1
Option 2
3000 Standard PMCRs
A large number of something very similar to PMCRs
Opt 3

## Slide 10
Questions
January 13, 2011
ROS