| NPRR Number | 290 | NPRR Title | ERCOT Publication of DAM PSS/E Files |
| --- | --- | --- | --- |
| Date |  | January 14, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Matt Mereness |  |
| E-mail Address |  | mmereness@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3089 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT is requesting that NPRR290, ERCOT Publication of DAM PSS/E Files, be tabled for another month to allow ERCOT Staff time to continue to review and collect cost implementation estimates on the options shown below.  ERCOT does not have the level of detail required at this time to provide cost estimates for implementation.  It is estimated that associated costs to implement the various options will be available for the February PRS meeting.

- Create a weekly PSS/e file for posting with each Model Load.

  - Provides a PSS/e file, but does not include the Outages.

- Produce a weekly PSS/e file for posting and daily supplemental Outage files that can be applied by Market Participants to the weekly Model

  - Requires development for creating Outage files that can be applied to a PSS/e Model.

  - Market Participants would have the tools to select and apply the Outages as required.

- Create Market Management System (MMS) PSS/e files and supporting files enhancing tools created during market trials.

- Requires development time to productionalize current tools and automate the creation process.

ERCOT will continue the manual workaround on a best-effort basis through February 2011.

Revised Proposed Protocol Language

None at this time.