| PGRR Number |  | PGRR Title | New Section 6, TPIT Reportand Data Requirements |
| --- | --- | --- | --- |
| Date Posted |  |

| Planning Guide Sections Requiring Revision | 6, Data/Modeling (new) 6.1, Intentionally Left Blank (new) 6.2, Intentionally Left Blank (new) 6.3, Intentionally Left Blank (new) 6.4, Transmission Project Information and Tracking (TPIT) Report and Data Requirements (new) 6.4.1, TPITReport (new) 6.4.2, ERCOT Responsibilities (new) 6.4.3, TSP Responsibilities (new) |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| Revision Description | This Planning Guide Revision Request (PGRR) incorporates Section 2.4 of the ERCOT Regional Planning Group Charter and Procedures related to the TPIT Process into the Planning Guide. |
| Reason for Revision | The Planning Working Group (PLWG) recommends that this language be moved from the ERCOT Regional Planning Group Charter and Procedures and into the ERCOT Planning Guide to ensure visibility of this important part of the planning process to the market and to provide for a structured change process to ensure that any modification to this process be reviewed and approved by the ERCOT Technical Advisory Committee (TAC) and if necessary, the ERCOT Board. |
| Overall Market Benefit | Better visibility into an important aspect of transmission planning activities as well as a better defined revision process than currently exists. |
| Overall Market Impact | None |
| Consumer Impact | None |

| Quantitative Impacts and Benefits |
| --- |
| Assumptions | 1 | Changes to the TPIT process will be recommended by the PLWG and approved by ROS, TAC and the ERCOT Board (if necessary). |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Transmission Planning | Improved visibility of the process used to create and update the TPIT information. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Other Comments | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |

| Sponsor |
| --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |
| --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

ERCOT Planning Guide

Section 6: Data/Modeling

Month Day, Year

6	DATA/MODELING	5

6.1	Intentionally Left Blank	5

6.2	Intentionally Left Blank	5

6.3	Intentionally Left Blank	5

6.4	Transmission Project Information and Tracking (TPIT) Reportand Data Requirements	5

6.4.1	TPITReport	5

6.4.2	ERCOT Responsibilities	6

6.4.3	TSP Responsibilities	6

# DATA/MODELING

## 6.1	Intentionally Left Blank

## 6.2	Intentionally Left Blank

## 6.3	Intentionally Left Blank

## 6.4	Transmission Project Information and Tracking (TPIT) Reportand Data Requirements

### 6.4.1	TPIT Process

(1)	The ERCOT Transmission Project and Information Tracking (TPIT) report presents the current quarterly status of the transmission projects (60 kV and above) that have a material impact to the flow of power in the ERCOT System.  The TPIT report communicates the status to the stakeholders through the TPIT Database.  The TPIT Database has four primary sections:

(a)	Future Projects;

(b)	Completed Projects;

(c)	Cancelled Projects; and

(d)	Five-Year Transmission Plan Projects.

(2)	Transmission projects listed in the current TPIT “Future Projects” and “Completed Project” sections are modeled in the current set of Steady State Working Group (SSWG) load flow cases used for transmission planning studies with the following exceptions:

(a)	Any project that requires Regional Planning Group (RPG) review and has not completed the review process;

(b)	Any project with a projected in-service date beyond the five-year planning horizon; or

(c)	Any project that consists of only a Special Protection Scheme (SPS) (which is not typically modeled);

### 6.4.2	ERCOT Responsibilities

ERCOT shall prepare TPIT updates using data supplied by each Transmission Service Provider (TSP), or its Designated Agent.  ERCOT shall maintain a section within the TPIT Database that describes each data element as well as identify the entity responsible to supply the data within each data element.  The updated TPIT Database shall be posted quarterly  on the Market Information System (MIS) Public .  The format and schedule for data collection and verification for the TPIT Database shall be determined by ERCOT and communicated to the appropriate Market Participants in a timely manner.

### 6.4.3 	Five-Year Transmission Plan Projects in TPIT

Each year, ERCOT develops, with input from Market Participants, a Five-Year Transmission Plan that identifies a set of reliability-driven and economic-driven transmission projects based on the current SSWG planning Base Cases.  Transmission projects identified in the Five-Year Transmission Plan are typically at varying stages within the planning process and thus, are subject to change.  When a Five-Year Plan Transmission Plan project is deemed appropriate for inclusion in the SSWG planning Base Cases, ERCOT shall assign a TPIT project number and include that project in the Future Projects section of the TPIT.  The project shall also remain in the Five-Year Transmission Plan section of the TPIT.

### 6.4.3	TSP Responsibilities

TPIT provides information on transmission projects that are included in current TSP plans or included in the ERCOT Five-Year Transmission Plan. Each TSP shall provide information for its transmission projects to ERCOT as outlined in the TPIT Procedures.

# Comments

Should this section move to the procedures?