OWG Meeting Notes 12/15/10

Attendance:

Tip Tipton		BEPC (TO)

Rand Westbrook	CNP (TO)

Brad Calhoun		CNP (TO)

Karl Tammar		Sharyland Utilities

Robert Avila		BPUB (TDSP)

Jeff Sims		CPS Energy (TO)

Leticia Soto-Reyes	ERCOT

Frank Owens   	TMPA	(TO)

Jack Thormahlen	LCRA (QSE)

Jerry Willms		LCRA (TO)

Leo Villanueva	ERCOT

Rick Keetch 		Reliant Energy (QSE)

Kevin Brown		AEN (TO)

Ross Owen 		ONCOR (TO) (phone)

Sam Bridges		DME (phone)

Brad Watts		DME (phone)

Dana Showalter	ERCOT

Brenda Hampton 	Luminant (QSE)

Mark Henry 		Texas RE

Kelly Blackmer	ERCOT

Yvette Landin		ERCOT

Richard Smith		Electric Power Engineers

Colleen Frosch	ERCOT

Jose Conto		ERCOT (phone)

9:30 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report –ROS did not meet

The November meeting notes were reviewed.

All action items are highlighted in green

NOGRR 044 Clarification of a PSS In-Service – Jack (LCRA) and Jose (ERCOT) incorporated changes in the new version of this NOGRR.  OWG was in consensus to recommend approval as revised by OWG and to forward to ROS.

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement –

Tabled until ERCOT and Wind Coalition submit changes to the definition of WGR.

NOGRR 052 Conductor/Transformer Facility Rating –

Reviewed no impact IA. Group Recommended approval to ROS.

Operations Report – ERCOT reviewed the November Operations Report. New or rescinded SPS information send to ROS for approval.  DCS event reviewed.

Nodal Operating Guides Review and Revision Task Force –

This group will start meeting beginning in January.

Operations Task Force Report – update on Voltage Profile issues with +/- 2 % of setpoint and +/- 5 % of nominal. Jack (LCRA) is working with several entities in the process of writing changes to the NOGRR and Protocols. Action item to follow up on progress OTF is making on this issue.

Black Start Task Force Report – Kelly Blackmer gave update from previous meeting.

The OWG reviewed the 121510 Black Start Task Force (BSTF) comments and was in consensus to recommend that PRS approve Nodal Protocol Revision Request (NPRR) 298 as amended by the 121510 BSTF comments and as revised by the OWG.

Compliance Report – Mark Henry reported Texas RE have a new address:

805 Las Cimas Pkwy, Suite 200, Austin TX 78746

Texas RE asked OWG members to comment on the ongoing field test; the form is on the Texas RE website. TRE will do the protocol and Guides enforcement for reliability.

System Operations Report – New procedures are located in the ERCOT website.

ERCOT will test the Back-Up plans for QSE and TO, in Nodal Operating Guides Section 3 (March 15 of each year). ERCOT will send a Market Notice as a reminder of the deadline to submit the Back-Up plant.

Other Item

- Discuss OWG leadership for 2011.

Recommend Frank Owens to be re-elected as chair and Brad Calhoun as vice-chair.

- Discussion on PER 005-1 (System Personnel Training)

Jeff (CPS): PER 002 still in effect until PER 005 takes over. Want to be sure that the proper training is provided, depending of the approval for FERC and look the effective and retired days. Mark (Texas RE) will revise effective dates and email the information to OWG.

- Discussion on PER-002-0 implementation date (April 1 2011) is accurate and if we still fall under PER 002-0 until go live?

OWG recommend creating a group to discus training issues to ensure consistency across ERCOT. Frank will talk to Lindley about changes to the fundamental test from zonal to nodal.

- Discussion on more visibility of ERCOT Real Time Data like we had in the zonal market? NPRR has been submitted to address this problem.

Next meeting – January 19th, 2010 at ERCOT Taylor TX

12:37 meeting adjourned.