| NPRR Number | 264 | NPRR Title | Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | September 23, 2010 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 1.6.5, Interconnection of New Generation |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of interconnection. |  |  |
| Reason for Revision |  | Some Nodal Protocol requirements applicable to Generation Resources are based upon the date of execution of the SGIA between the Resource owner and the Transmission Service Provider (TSP). For Resources with more than one point of interconnection, the question arises which SGIA date should be used to determine applicability of such requirements to the Resource. The Multiple Interconnections for Generators Task Force (MIGTF) recommended that the date of the original SGIA be binding for this purpose. The MIGTF recommendation was endorsed by the Reliability and Operations Subcommittee (ROS), Wholesale Market Subcommittee (WMS), and Technical Advisory Committee (TAC). |  |  |
| Overall Market Benefit |  | Clarification of applicability of certain requirements to Generation Resources. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 8/12/10, NPRR264 and a CEO Revision Request Review were posted. - On 8/18/10, ERCOT comments were posted. - On 8/19/10, PRS considered NPRR264. - On 9/22/10, a second set of ERCOT comments were posted. - On 9/23/10, PRS again considered NPRR264. |  |  |
| PRS Decision |  | On 8/19/10, PRS unanimously voted to table NPRR264 for one month. The Independent Power Marketer (IPM) Market Segment was not present for the vote. On 9/23/10, PRS voted to table NPRR264 and to request that the ERCOT CEO reevaluate whether NPRR264 is needed prior to the Texas Nodal Market Implementation Date. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/19/10, additional time was requested to consider NPRR264 and whether an exception is needed for TSPs with Special Protection System (SPS) obligations. ERCOT Staff explained that the 8/18/10 ERCOT comments raise additional reliability concerns that were not considered during the MIGTF discussions that resulted in NPRR264. On 9/23/10, interested participants and ERCOT Staff requested that PRS table NPRR264 to provide additional time to resolve remaining issues. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | Based upon the ERCOT’s CREZ Transmission Optimization Study relied upon by the Public Utility Commission of Texas (PUCT) in the Final Order in Docket No. 33672, Commission Staff's Petition for Designation of Competitive Renewable Energy Zones, designating Competitive Renewable Energy Zones (CREZs), it is anticipated a number of Wind-powered Generation Resources (WGRs) in West Texas will likely switch points of interconnection or utilize multiple points of interconnection as CREZ Transmission Plan infrastructure is constructed in the near term. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Improved clarity regarding Nodal Protocol requirements applicability and compliance obligations. | Avoided costs from unnecessary disputes arising from a lack of clarity in Nodal Protocol language. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Some Generation Resources in the ERCOT Region are currently utilizing more than one point of interconnection and require the regulatory certainty established by the clarification of Nodal Protocol requirements based upon SGIA execution dates. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Mark Bruce on behalf of WMS |
| E-mail Address | mark.bruce@stratusenergy.com |
| Company | Stratus Energy Group |
| Phone Number | 512-547-6431 |
| Cell Number | 512-810-1516 |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 081810 | Explained reliability concerns related to WGRs changing injection points on the ERCOT Transmission Grid. |
| ERCOT 092310 | Proposed revisions to clarify that the date of the SGIA for the point of interconnection will be used in determining the applicability of relevant Nodal Protocol requirements. |

Proposed Protocol Language Revision

1.6.5	Interconnection of New Generation

Interconnection of new All-Inclusive Generation Resources to the ERCOT Transmission Grid must be in accordance with the ERCOT Standard Generation Interconnection Agreement (SGIA) and associated procedures.  For Generation Resources which connect to a new point of interconnection or which utilize more than one point of interconnection to the ERCOT Transmission Grid, any Protocol requirements applicable to Generation Resources which are based upon the execution date of the SGIA shall be applied to the date of the first executed SGIA.