| NPRR Number | 290 | NPRR Title | ERCOT Publication of DAM PSS/E Files |
| --- | --- | --- | --- |
| Date |  | January 19, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@luminant.com |  |
| Company |  | Luminant Energy Company LLC |  |
| Phone Number |  | 214-875-9285 |  |
| Cell Number |  | 214-437-4622 |  |
| Market Segment |  | Investor-Owned Utility |  |

Comments

Luminant Energy Company LLC (Luminant) has reviewed the comments submitted by ERCOT dated January 14, 2011 and offers the following in response.

Luminant appreciates ERCOT’s need to collect cost implementation estimates for the options listed in their comments.  However, Luminant believes that delay for another month to consider the language change(s) necessary to implement one of the options is not necessary, since the NPRR approval process requires the Protocol Revision Subcommittee to review the Impact Assessment prior to the NPRR being forwarded to the Technical Advisory Committee (TAC).  Thus, assuming that PRS approves language changes for one of the options listed by ERCOT at the January 20, 2011 PRS meeting, then PRS can forward the approved NPRR and Impact Assessment to TAC after its February 17, 2011 meeting.  ERCOT would still have the month it needs to develop cost estimates for the Impact Assessment for the option selected by PRS.  TAC could then consider the NPRR and Impact Assessment at its March 3, 2011 meeting, with Board approval to follow at the March Board meeting.  Therefore, Luminant respectfully requests that PRS not table NPRR 290 for another month as requested by ERCOT and instead, consider the changes shown below to incorporate one of the two options, Option 2 or Option 3, outlined in ERCOT’s comments of January 14, 2011.  Luminant believes that Option 1, as described in ERCOT’s comments, does not provide the necessary transparency that the Market Participants need and, thus, should not be considered further.

Revised Proposed Protocol Language

4.5.3	Communicating DAM Results

(1)	As soon as practicable, but no later than 1330 in the Day-Ahead, ERCOT shall notify the parties to each cleared DAM transaction (e.g., the buyer and the seller) of the results of the DAM as follows:

(a)	Awarded Ancillary Service Offers, specifying Resource, MW, Ancillary Service type, and price, for each hour of the awarded offer;

(b)	Awarded energy offers from Three-Part Supply Offers and from DAM Energy-Only Offers, specifying Resource (except for DAM Energy-Only Offers), MWh, Settlement Point, and Settlement Point Price, for each hour of the awarded offer;

(c)	Awarded DAM Energy Bids, specifying MWh, Settlement Point, and Settlement Point Price for each hour of the awarded bid;

(d)	Awarded CRR Offers (PTP Options and PTP Options with Refund), specifying CRR identifier(s), number of CRRs in MW, source and sink Settlement Points, and price, for each Settlement Interval of the awarded offer; and

(e)	Awarded PTP Obligation bids, number of PTP Obligations in MW, source and sink Settlement Points, and price for each Settlement Interval of the awarded bid.

(2)	As soon as practicable, but no later than 1330, ERCOT shall post on the Market Information System (MIS) Public Area the hourly:

(a)	Day-Ahead MCPC for each type of Ancillary Service for each hour of the Operating Day;

(b)	Day-Ahead Settlement Point Prices for each Settlement Point for each hour of the Operating Day;

(c)	Day-Ahead hourly Locational Marginal Prices (LMPs) for each Electrical Bus for each hour of the Operating Day;

(d)	Shadow Prices for every binding constraint for each hour of the Operating Day;

(e)	Quantity of total Ancillary Service Offers received in the DAM, in MW by Ancillary Service type for each hour of the Operating Day;

(f)	Total quantity of energy (in MWh) bought in DAM at each Settlement Point for each hour of the Operating Day;

(g) 	Total quantity of energy (in MWh) sold in the DAM at each Settlement Point for each hour of the Operating Day; and

(h)	Aggregated Ancillary Service Offer Curve of all Ancillary Service Offers for each type of Ancillary Service for each hour of the Operating Day.

(3)	ERCOT shall monitor Day-Ahead MCPCs and Day-Ahead hourly LMPs for errors and if there are conditions that cause the price to be questionable, ERCOT shall notify all Market Participants that the DAM prices are under investigation as soon as practicable.

(4)	All DAM LMPs, MCPCs, and Settlement Point Prices are final at 1000 of the next Business Day after the Operating Day.  After DAM LMPs, MCPCs, and Settlement Point Prices are final, if ERCOT determines that prices are in need of correction, it shall notify Market Participants and describe the need for such correction.  DAM LMPs, MCPCs, and Settlement Point Prices cannot be changed unless the ERCOT Board finds that the DAM LMPs, MCPCs, or Settlement Point Prices are significantly affected by a software or data error.

(5)	(Option 2) ERCOT shall produce and post on the MIS Public Area, on a weekly basis, an hourly file in Power System Simulator for Engineering (PSS/E) files in Version 30 format (or the current version being utilized by ERCOT System Planning) associated with the weekly Market Management System (MMS) model.  ERCOT shall also produce and post on the MIS Public area, on a daily basis, supplemental Outage files in PSSE/E format that can be applied by Market Participants to the weekly MMS model. OR

(Option 3) ERCOT shall produce and post on the MIS Public Area, on a daily basis, an hourly file in Power System Simulator for Engineering (PSS/E) files in Version 30 format (or the current version being utilized by ERCOT System Planning) associated with the daily Market Management System (MMS) model.

(6)	ERCOT shall provide, at a minimum, the following information in the MMS model described in sub-paragraph (5) above:

(a)	For each hour (24 files):

(i)	Outages from the Outage Scheduler;

(ii)	All bus shunt MW and MVAr set to zero;

(iii)	All Load MW and MVAr set to zero;

(iv)	All generation MW and MVAr set to zero;

(v)	All ratings for series devices not monitored/secured in DAM set to zero; and

(vi)	Slack bus used in DAM shall be represented at the same bus in each case.

(b)	Contingency data corresponding to each hourly PSS/E case (24 files).

(c)	Generator mapping data corresponding to each hourly PSS/E case necessary to map all DAM Settlement Points, including Private Use Network Settlement Points (24 files).

(d)	Load mapping data corresponding to each hourly PSS/E case necessary to model all Load Zone energy transactions in the DAM (24 files).

(e)	Transmission line mapping data corresponding to each hourly PSS/E case (24 files).

(f)	Transformer mapping data corresponding to each hourly PSS/E case (24 files).

(g)	Hub mapping data corresponding to each hourly PSS/E case necessary to model all Hub energy transactions in the DAM (24 files).

(h)	Outage data showing equipment not in service corresponding to each hourly PSS/E case (24 files).

(i)	A “read me” document, as needed, that describes the content and format of each file in the package and log any changes to the package itself (i.e. addition/deletion of files, formatting changes, additional information, etc.) (one file).