OWG Report to ROS

February 10, 2011

The Operations Working Group (OWG) met January 19, 2011.

On January 19th, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – update on Voltage Profile issues with +/- 2 % of set-point and +/- 5 % of nominal. Jack Thormahlen reported that there are discussions ongoing with ERCOT related to the voltage profile issues and that an NPRR would be presented when issues have been worked out.

Black Start Task Force Report - Kelly Blackmer noted that Steve Zaragoza was nominated as chair for 2011.

The Texas RE Report – No report given.

The OWG reviewed the following:

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement – Tabled until ERCOT and Wind Coalition submit changes to the definition of WGR. Walter (Wind Coalition) stated this NOGRR still in progress and no resolutions at the moment.

NOGRR054 Change Facilitator for the Annual Operations Seminar This Nodal Operating Guide Revision Request (NOGRR) – OWG reviewed the change of the responsibility of the annual Operations Training Seminar from the Texas Reliability Entity (TRE) to ERCOT. The dates are set for March 7 - 9, 2011. OWG was in consensus to recommend it will come back with IA next meeting.

NOGRR055 Deletion of an Invalid Reference to a Non-Existent NERC Term – OWG was in consensus to recommend it will come back with IA next meeting.

NPRR298, New Definitions Related to Black Start – OWG was in consensus to recommend that PRS approve NPRR298 as revised by OWG.  Austin Energy comments were incorporated into OWG comments.

System Operations Report – ERCOT reviewed the December Operations Report. New or rescinded SPS information section was revised. ERCOT will follow up to see why MIS is slowed.

Nodal Operating Guide Task Force – Brad (CNP) reported group is idle.

Nodal Protocol and Guides Resolution Task Force Report (NPGRTF) – Frank reported that ROS approved creation of this task force and stated that a meeting would be scheduled in the near future to discuss the scope of the group.

Other Discussions:

- OWG leadership for 2011. Recommend Frank Owens to be re-elected as chair and Brad Calhoun as vice-chair.

Next OWG meeting will be on February 16th in Austin at Texas RE facility.