| SCR Number | 760 | SCR Title | Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models |
| --- | --- | --- | --- |

| Date | January 27, 2010 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Paul Hassink |
| E-mail Address | phassink@aep.com |
| Company | American Electric Power Service Corporation |
| Phone Number | 918/599-2653 |
| Cell Number | 918/599-2653 (press 0#) |
| Market Segment | Investor Owned Utility (IOU) |

Comments

AEP appreciates the opportunity to offer comments in support of SCR760 but would first like to state that Nodal Planning Go-Live Option 2, as recommended by ROS, is the only valid path forward. Forcing planning cases out of the Topology Processor in its current state will result in decades of planning data being lost.  It is critical that a SSWG case be used as the “seed” case for building planning cases in MOD.

Regarding SCR760, AEP agrees with the other TSPs and that implementing SCR760 in its entirety will achieve the best possible planning cases for the market.  AEP provided costs estimates used to develop the costs/benefits analysis presented in the joint TSP comments and supports the analysis therein. Furthermore, there are two specific requirements that AEP feels will alleviate modeling inconsistencies that have the greatest risk causing power flow differences in cases used for the annual CRR.

| SCR Requirement | Reason for Need | Reason Needed for Go-Live |
| --- | --- | --- |
| SCR760-3: Zero Impedance Line Ratings | Series reactor bypasses, series capacity bypasses and PST bypasses. A few examples: - Lane City Bus 1 (8127) – Lane City Bus 2 (8130) - > South Lane City Series Reactor Bypass - YellowJacket PST Bypass (6364-6364) - Nelson Sharp PST Bypass (85001-85002 BO) | Necessary to ensure ratings of intra-station of adjacent-stations ties and bus-work are consistent between the power flow case and the operations case. |
| SCR760-5: Additional Autotransformer Data for Planning | Differences in the Wnd 1 ratio, Wnd 2 Ratio, Rmax and Rmin, in nearly all off-nominal tapped AEP TCC, AEP TNC or ETT transformers. Autotransformer examples: - Spur Auto (6148-6150) - Three Rivers Auto (8400-8403) A PST example: - Hamilton Road (8255-8257) | Necessary to ensure tap ratios of transformers are consistent between the power flow cases and the operations case. |

Revised Business Case for Proposed System Change

None.