# January 28, 2011 Quick Start Task Force Meeting Notes

- Articulate Benefits of SCED Look-Ahead

  - Rational commitment in Real Time reflecting cost of service

- NYISO’s RTC

  - Look-Ahead Time horizon 2:15; 15 and 30 minute unit commitments

  - Key characteristics

  - What is appropriate for ERCOT?

  - Relationship between SCED (RTD –NYISO) and SCED Look-Ahead (RTC)

- How to address risks associated with RT unit commitments

  - Identify instances of uplift

  - Recommend allocation sources

  - Resource Parameters for Load and Generation

  - Short term net load, wind, generation load forecasts

- Binding unit commitment decisions (?)

  - Explore DR limits – what are implications

  - Is there a bid cap on RT demand side?

  - Performance criteria

- Reference Load in SCED Issues (Jay to talk to DSWG and Load in SCED WG)

- Proposals around make-whole for generators/load committed in SCED Look-Ahead

  - Amortize SU over one hour, add to EOC – make-whole only when Revenues < Offer

  - Keep EOC for minimum run time, establish Make Whole Payment

- WMS Questions

  - Real Time Co-optimization of AS/Energy – where to address?

  - Duct Burners/Other technologies