| LPRR Number | 042 | LPGRR Title | Updating of Weather Sensitivity Assignment, Suspension of Annual Validation for Advanced Meters, Addition of Load Research Sampling Documents, and Removal of Unused TOUS Codes |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | January 26, 2011 |  |  |
| Proposed Effective Date |  | April 1, 2011. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Load Profiling Guide (LPG) Sections Requiring Revision |  | 11.2, Annual Validation of Load Profile Type 11.2.1, Annual Validation of Load Profile Type Assignment for RES and BUS Load Factor Electric Service Identifiers 15, Load Research Samples Appendix D: Profile Decision Tree |  |  |
| Revision Description |  | This Load Profiling Guide Revision Request (LPGRR) allows for assignment of ‘Weather Sensitive’ for Advanced Meters and prescribes that ‘Non-Weather Sensitive’ be the default assignment for Interval Data Recorder (IDR) Meters (BUSIDRRQ); removes unused Time Of Use Schedules (TOUS) from the Profile Decision Tree; and adds language in Section 15, to reflect where additional information can be found as it relates to Load Research Sampling. |  |  |
| Reason for Revision |  | This LPGRR does the following: - Synchronizes the LPG with NPRR271, Synchronization to PRR850, Weather Responsiveness Determination for Interval Data Recorders; - Synchronizes the LPG with NPRR250, Suspension of Annual Profile ID Validation with Advanced Meter Deployment; - Removes unused TOUS codes to improve the efficiency of ERCOT and Market Participant systems; and - Adds Load Research Sampling information. |  |  |
| Overall Market Benefit |  | Aligns the LPG with the Nodal Protocols; improves efficiency of ERCOT and Market Participant systems by removing Time of Use (TOU) codes that are not used or will not be used. |  |  |
| Overall Market Impact |  | Minor. |  |  |
| Consumer Impact |  | Minimal. |  |  |
| Procedural History |  | - On 11/10/10, LPGRR042 was posted. - On 11/30/10, Profiling Working Group (PWG) comments were posted. - On 12/9/10, PWG considered LPGRR042. - On 1/14/11, the Impact Analysis was posted. - On 1/26/11, PWG considered the 12/9/10 PWG Report and Impact Analysis for LPGRR042. |  |  |
| PWG Decision |  | On 12/9/10, the PWG was in consensus to recommend approval of LPGRR042 as amended by the 11/30/10 PWG comments. On 1/26/11, PWG was in consensus to endorse and forward the 12/9/10 PWG Report as revised by PWG and the Impact Analysis for LPGRR042 to COPS. |  |  |
| Summary of PWG Discussion |  | On 12/9/10, PWG reviewed the 11/30/10 PWG comments and was in agreement with the proposed language changes. On 1/26/11, PWG proposed revisions, including capitalizing defined terms, updating the baseline in Section 15.3, and adding the location where the Load Research Sampling information can be found. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Minor. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Improved efficiency of ERCOT batch runs from deleting unused Load Profile IDs. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza on behalf of the PWG |
| Company | Direct Energy |
| Phone Number | 713.877.3517 |
| Market Segment | Independent Retail Electric Provider (IREP) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512.248.6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| PWG 113010 | Re-inserted Section 11.2.1 and updated Appendix D. |

Comments

Changes to Appendix D are included in LPGRR042-09 spreadsheet.  See highlighted yellow tabs.

Proposed Guide Language Revision

11.2	Annual Validation of Load Profile Type

(1)	For the purposes of Annual Validation, ERCOT is responsible for determining the Load Profile Type assignment for all Residential and Business Load factor Electronic Service Identifiers (ESI IDs) that have a Meter Data Type assignment of Non-Interval Data Recorder (NIDR).  Transmission and/or Distribution Service Providers (TDSPs) and ERCOT shall work closely and expeditiously with each other during the Annual Validation process.

(2)	When a date is listed in this Section 11.2, and a year is not specified, the date shall apply to the year in which the Annual Validation is performed.

11.2.1	Annual Validation of Load Profile Type Assignment for RES and BUS Load Factor Electric Service Identifiers

The following timeline shall be adhered to, unless otherwise approved by an appropriate Technical Advisory Committee (TAC) subcommittee.  ERCOT shall utilize the historical usage and Demand data in its systems to derive usage time period values for each active and de-energized ESI ID for the time period specified in Appendix D, Profile Decision Tree.

(a)	Residential Load Profile Group Timeline

(i)	ERCOT shall determine the Load Profile Segment for the Load Profile ID for each active and de-energized ESI ID based on the current Profile Decision Tree in Appendix D.  ERCOT shall provide the TDSPs with a list of Residential ESI IDs containing the current Load Profile Type and the recommended Load Profile Type for those ESI IDs where ERCOT recommends a change in Load Profile Type assignment.  An electronic copy of each list shall be delivered to each TDSP no later than June 30.

(ii)	For each ESI ID contained in the lists, the TDSPs shall review the recommended Load Profile Segment assignment and determine whether the recommended change is consistent with the TDSP tariffs, the applicable Retail Electric Provider (REP) billing requirements, and whether the ESI ID is active or de-energized.  The TDSP shall then send finalized lists of ESI IDs back to ERCOT no later than July 10.  The finalized lists shall indicate all revisions determined to be necessary by the TDSP.

(iii)	ERCOT shall send notification to Competitive Retailers (CRs) and the Profiling Working Group (PWG) by July 15 announcing these lists are available to the CR of record.  Upon request, ERCOT shall make available to the current CR of record the list of those ESI IDs that are expected to have a Load Profile ID change as a result of Annual Validation.

(iv)	The TDSPs shall coordinate with ERCOT to submit the necessary Texas Standard Electronic Transaction (TX SET) transactions to update Load Profile ID assignments for the population of the Residential Load Profile Group to be effective on the most current meter read date on or after August 15.

(v)	TDSPs are responsible for verifying that TX SET transactions related to Annual Validation have been successfully accepted into ERCOT’s systems by monitoring the appropriate response transactions.  The TDSPs and ERCOT shall work together to have TX SET transactions successfully completed for the Residential Load Profile Group by September 30.

(vi)	Within the first two Business Days of the TDSP successfully submitting all of its Residential transactions, ERCOT shall compare the finalized lists of recommended changes with the current Load Profile ID in the ERCOT system.  ERCOT and the TDSPs shall work closely and expeditiously to resolve any discrepancies.  The TDSP and ERCOT shall be in contact until at least 99.0% of the finalized list of changes is resolved to their mutual satisfaction.

(vii)	ERCOT and the TDSPs shall provide regular updates on the progress of Annual Validation as needed, or at a minimum during the regularly scheduled PWG meetings.

(b)	Business Load Profile Group Timeline

(i)	ERCOT shall determine the Load Profile Type for the Load Profile ID for each active and de-energized ESI ID based on the current Profile Decision Tree (Appendix D).  ERCOT shall provide the TDSPs with a list of Business Load factor ESI IDs containing the current Load Profile Type and the recommended Load Profile Segment for those ESI IDs where ERCOT recommends a change in Load Profile Segment assignment.  An electronic copy of each list shall be delivered to each TDSP no later than August 15.

(ii)	For each ESI ID in the lists, the TDSPs shall review the recommended Load Profile Segment assignment and determine whether the recommended change is consistent with the TDSP tariffs, the applicable Retail Electric Provider (REP) billing requirements, and whether the ESI ID is active or de-energized.  The TDSP shall then send finalized lists of ESI IDs back to ERCOT no later than August 25.  The finalized lists shall indicate all revisions determined to be necessary by the TDSP.

(iii)	ERCOT shall send Notification to CRs and the PWG by September 1 announcing these lists are available to the CR of Record.  Upon request, ERCOT shall make available to the current CR of Record the list of those ESI IDs that are expected to have a Load Profile ID change as a result of Annual Validation.

(iv)	The TDSPs shall coordinate with ERCOT to submit the necessary TX SET transactions to update Load Profile ID assignments for the population of Business Load factor group to be effective on the most current meter read date on or after October 1.

(v)	TDSPs are responsible for verifying that TX SET transactions related to Annual Validation have been successfully accepted into ERCOT’s systems by monitoring the appropriate response transactions.  The TDSPs and ERCOT shall work together to have TX SET transactions successfully completed for the Business Load factor group by November 30.

(vi)	Within the first two Business Days of the TDSP successfully submitting all of its Business Load factor transactions, ERCOT shall compare the finalized lists of recommended changes with the current Load Profile Segment in the ERCOT system.  ERCOT and the TDSPs shall work closely and expeditiously to resolve any discrepancies.  The TDSP and ERCOT shall be in contact until at least 99.0% of the finalized list of changes is resolved to their mutual satisfaction.

(vii)	ERCOT and the TDSPs shall provide regular updates on the progress of Annual Validation as needed, or at a minimum during the regularly scheduled PWG meetings.

# LOAD RESEARCH SAMPLES

(1)	Load research samples are required by ERCOT as the basis for developing and evaluating Load Profiles for most Load Profile Types.  Nodal Protocol Section 18.2.10, Responsibilities of Sampling in Support of Load Profiling, broadly defines the responsibilities of ERCOT and Transmission and/or Distribution Service Providers (TDSPs) regarding Load research samples.  This part of the Load Profiling Guide (LPG) also provides guidelines on communication and expectations between ERCOT and TDSPs in fulfilling those responsibilities.

(2)	TDSPs have provided their Load research data in the past and shall continue to provide available data in the future in the interests of keeping ERCOT’s costs down.  TDSPs may, at their own discretion, determine the overall level of Load research effort they will provide.  TDSP’s Load research is independent of ERCOT, except as specified in Protocol Section 18, Load Profiling.  ERCOT shall make use of TDSP and Non-Opt-In Entity (NOIE) Load research data to the extent such data are available and useful.  ERCOT shall attempt to minimize the burden to TDSPs of providing data to ERCOT.

(3)	TDSPs and NOIEs provided all Load research data to ERCOT used in the initial development of Load Profiles.  ERCOT may periodically request current Load research data from all TDSPs and NOIEs for Load Profile Model evaluations.  Additional Load Research Sampling information can be found on the Load Profiling page on the ERCOT website.

# Appendix D

Profile Decision Tree

See electronic Microsoft Office Excel© file on the ERCOT Website