| NPRR Number | 264 | NPRR Title | Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection |
| --- | --- | --- | --- |
| Date |  | February 01, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Walter Reid |  |
| E-mail Address |  | w.j.reid@ieee.org |  |
| Company |  | Wind Coalition |  |
| Phone Number |  | 512-335-0664 |  |
| Cell Number |  | 512-335-0664 |  |
| Market Segment |  | Not applicable |  |

Comments

The Wind Coalition offers the following comments to those submitted by ERCOT on January 11, 2011. These comments result from the discussion on the conference call regarding issues involved in NPRR 264 on January 24, 2011.

These comments attempt to balance the commercial benefits and costs of Generating Resources either changing their Point of Interconnection (POI) or maintaining multiple POIs with the need for system reliability, in a cost effective manner.

ERCOT’s open access policy permits Generation Resources the flexibility to re-interconnect in response to market signals, and at least one has done so. ERCOT staff and stakeholders both see market and potential reliability benefits from re-interconnection. They also seem to agree on the need for a clear process to approve requests for re-interconnection. There is no debate on the need to maintain system reliability.

The Wind Coalition does object to ERCOT’s comments that would require Generation Resources to upgrade their capabilities to provide certain services if they change their POI. Presumably these generators were operating reliably at their original POIs. A blanket requirement for them to provide additional services will at least discourage re-interconnection. This is especially troubling for wind resources that were planned to re-interconnect in order to obtain the benefits of the CREZ Transmission Plan. The situation is further complicated by the chance that one too many Generation Resource would re-interconnect. The last one to interconnect could cause a reliability risk on the grid, and consequently be required to bear the cost for alleviating that risk.

This possibility is part of the ERCOT market philosophy that requires generators to bear the risk of interconnecting in exchange for open access. That’s why the appropriate mechanism for evaluating re-interconnections is the Generation Interconnection or Change Procedure. It was endorsed by TAC following the stakeholder investigation into the impact of multiple interconnections for generation, as was the use of the earliest SGIA for grandfathering purposes.

The comments below would require Generation Resources to go through the same process to re-interconnect as do new Generation Resources to interconnect for the first time. They would maintain system reliability at the current level or better. If the interconnection studies required by that procedure indicate that the Generation Resource needs to provide more of the services ERCOT needs (Voltage Support and Voltage Ride-Through), then it must demonstrate that capability before re-interconnecting. If, on the other hand, the change in POI is as simple as moving up to a 345 kV bus at its original POI, no additional cost would be imposed.

The Generation Interconnection Procedure offers the flexibility for a Generation Resource to evaluate its options during the process, and make an informed commercial decision. Using this procedure and upgrading Generation Resources’ capability as needed strikes a balance between continued reliability and acceptable cost.

Revised Proposed Protocol Language

1.6.5	Interconnection of New or Existing Generation

Interconnection of new Generation Resources to the ERCOT Transmission Grid must be in accordance with the Protocols and Other Binding Documents.

Interconnection of existing Generation Resources to a new Point of Interconnection on the ERCOT Transmission Grid shall be in accordance with the Generation Interconnection Or Change Request Procedure or its successor document. Generation Resources that establish a new Point of Interconnection shall maintain no less that their current capability to operate in accordance with the Protocols and Other Binding Documents based on the execution date of its first Standard Generation Interconnection Agreement (SGIA). However, if studies conducted during the Interconnection Or Change Request Procedure show a need for a Generation Resource to comply with current requirements to provide Voltage Support or Voltage Ride Through capability, that Generation Resource shall demonstrate that capability before connecting at its new POI.