## Slide 1: Nodal – Settlements Update Known Issues
February 8, 2011
COPS
Mandy Bauld

## Slide 2: Nodal Settlements Update – Known Issues
Manual override of HDL and LDL - “Holds”
Issue with the Manual Process / Tools required to implement the “holds” as described in NPRR272 (payment through emergency energy settlements). The process/tools erroneously did not consider the combined cycle units, therefore they were not considered for emergency energy settlement.
The process and tools have been corrected. The data for the impacted Operating Days has been processed and is already in the system available for Final settlements.
Affected Operating Days: 12/1 – 12/10, 12/12 – 12/13, and 12/20

## Slide 3: Nodal Settlements Update – Known Issues
Start Type for RUC VDIs and HRUC Extensions
Current system implementation does not provide a start type for RUC VDIs and for RUC extensions (i.e. extending an existing RUC with a RUC commitment in the hours preceding and contiguous to the start of the original RUC). Therefore even if the resource is determined to be “startup eligible” it does not get a startup payment.
ERCOT is working this as a Nodal Stabilization defect. The system change will calculate the actual start type for the commitment based on the telemetry. The fix is expected to move to production in late March. The fix will be effective for all Operating Days beginning 12/1 and will be used in all subsequent settlements (Initial, Final, True-Up, or Resettlement.)
Details of the change will be provided prior to implementation (Market Bulletins / Market Notices)

## Slide 4: Nodal Settlements Update – Known Issues
Issues were mentioned at January SEWG
Committed to follow-up with COPS this month
Can discuss the defect resolution for start type at next SEWG