## Slide 1: COPS NOIE DRG Task Force 2010 Accomplishments
February 08, 2011
NOIE DRG Settlements TF update to COPS
Don Tucker on behalf of the NOIE DRG Settlements Task Force

## Slide 2: COPS NOIE DRG Task Force - 2010 Accomplishments
NOIE DRG Settlements TF update to COPS
February 08, 2011
Provided market clarity on registration requirements for Distributed Generation for the Nodal market with NPRR208
  established a DG registration threshold (currently at 1MW)
    eliminated Resource registration requirement for DG below the DG registration threshold
    allowed all DG below the DG registration threshold to be settled as negative load
Established reporting requirements for unregistered DG
Established threshold trigger to limit installed capacity of unregistered DG
  any Load Zone hits 10 MW threshold triggers Market Action
  the DG registration threshold is lowered below 1 MW
  the new DG registration threshold is based on reducing the aggregate generation to no more than 7 MW in any Load Zone