## Slide 1: Nodal Program Update and SEWG Update COPS 2/08/2011
Jim Galvin

## Slide 2: Settlement Observations- Load Zone Market Prices
Arithmetic Average Adjusted SPP |  |  |  | 
 | Houston | North | South | West
On-Peak | $32.06 | $32.37 | $30.95 | $29.49
Off-Peak | $26.94 | $27.28 | $26.48 | $21.54
Average | $29.45 | $29.77 | $28.63 | $24.70
December 2010
January 2011
Arithmetic Average Adjusted SPP |  |  |  | 
 | Houston | North | South | West
On-Peak | $40.97 | $41.19 | $57.55 | $36.70
Off-Peak | $30.38 | $30.56 | $30.14 | $26.72
Average | $35.09 | $35.29 | $42.32 | $31.16

## Slide 3: Settlement Observations- Load Zone to Hub December
Load Zone/HUB RTSPP |  | Period: | Dec-10 |  |  |  |  |  |  | 
Location Average |  |  |  |  | Zone over HUB Comparison |  |  |  |  | 
Location | RTSPP Average |  |  | Row Labels | Average RTSPP |  | Location | Average RTSPP |  | Zone over HUB Delta
HB_HOUSTON | $29.41 |  |  | LZ_HOUSTON | $29.45 |  | HB_HOUSTON | $29.41 |  | $0.03
HB_NORTH | $29.82 |  |  | LZ_NORTH | $29.77 |  | HB_NORTH | $29.82 |  | -$0.05
HB_SOUTH | $28.71 |  |  | LZ_SOUTH | $28.63 |  | HB_SOUTH | $28.71 |  | -$0.08
HB_WEST | $23.41 |  |  | LZ_WEST | $24.70 |  | HB_WEST | $23.41 |  | $1.29
LZ_HOUSTON | $29.45 |  |  |  |  |  |  |  |  | 
LZ_NORTH | $29.77 |  |  |  |  |  |  |  |  | 
LZ_SOUTH | $28.63 |  |  |  |  |  |  |  |  | 
LZ_WEST | $24.70 |  |  |  |  |  |  |  |  | 
LZ_AEN | $29.33 |  |  |  |  |  |  |  |  | 
LZ_CPS | $28.96 |  |  |  |  |  |  |  |  | 
Market Wide Avg | $28.22 |  |  |  |  |  |  |  |  | 

## Slide 4: Settlement Observations- Load Zone to Hub January
Row Labels | Average of Average |  | Average of Average | Column Labels |  | Average of Average | Column Labels |  | Basis
HB_HOUSTON | $34.72 |  | Row Labels | LZ |  | Row Labels | HUB |  | 
HB_NORTH | $35.06 |  | LZ_HOUSTON | $34.72 |  | HB_HOUSTON | $34.72 |  | $0.00
HB_SOUTH | $36.48 |  | LZ_NORTH | $35.60 |  | HB_NORTH | $35.06 |  | $0.55
HB_WEST | $30.63 |  | LZ_SOUTH | $41.48 |  | HB_SOUTH | $36.48 |  | $5.00
LZ_HOUSTON | $34.72 |  | LZ_WEST | $31.17 |  | HB_WEST | $30.63 |  | $0.54
LZ_NORTH | $35.60 |  | Grand Total | $35.75 |  | Grand Total | $34.22 |  | 
LZ_SOUTH | $41.48 |  |  |  |  |  |  |  | 
LZ_WEST | $31.17 |  |  |  |  |  |  |  | 
LZ_AEN | $34.87 |  |  |  |  |  |  |  | 
LZ_CPS | $35.22 |  |  |  |  |  |  |  | 
Grand Total | $35.00 |  |  |  |  |  |  |  | 

## Slide 5: Settlement Observations- Cost to Serve Load December
Cost to Serve Load (as of 12/20/2010 based on RTM Settlements)
  AS seems within Zonal values where price per MWh is $1.24with the premium for Responsive Reserve at $0.77
  BPD Uplift charges are a credit to Loads at less than $0.01 per MWh, total BPD charges to resources through is approximately $100K
  RUC Uplift Charge is negligible (~$2K), meaning that most all of the RUC is being assigned to Loads that are short in the market
    RUC Capacity Shortfall Charges have averaged over $45 K per day, total of over $900 K for the first 20 days of the market
  Revenue Neutrality uplift to Loads currently an expense of $0.35/MWh
    SEWG will evaluate the drivers of Revenue Neutrality

## Slide 6: Settlement Observations- Cost to Serve Load January
Cost to Serve Load (January, based on RTM Settlements through 1/10/2011)
  AS seems within Zonal values where price per MWh is $1.17
  BPD Uplift charges are a credit to Loads at less than $0.01 per MWh, total BPD charges to resources through is approximately $100K
  RUC Uplift Charge trends as in December negligible
  Revenue Neutrality uplift to Loads currently an revenue of $0.13/MWh appears to be fluctuating with congestion, still needs explanation
    SEWG will evaluate the drivers of Revenue Neutrality

## Slide 7: Impact of February Weather Events
Market wide average RTSPPs (All Settlement Points), SEWG to evaluate Settlement Impact as soon as practicable
  2/2/2011: $785.14
  2/3/2011: $135.20
  2/4/2011: $48.36
Average of Average | Column Labels |  |  | 
Row Labels | 2/2/2011 0:00 | 2/3/2011 0:00 | 2/4/2011 0:00 | Grand Total
HB_BUSAVG | $783.22 | $112.14 | $47.18 | $314.18
HB_HOUSTON | $778.86 | $64.76 | $45.89 | $296.50
HB_HUBAVG | $781.85 | $116.15 | $46.62 | $314.87
HB_NORTH | $784.64 | $79.34 | $47.10 | $303.69
HB_SOUTH | $784.91 | $238.75 | $50.51 | $358.06
HB_WEST | $779.01 | $81.75 | $42.98 | $301.25
LZ_AEN | $789.26 | $84.49 | $47.61 | $307.12
LZ_CPS | $786.20 | $88.39 | $51.08 | $308.56
LZ_HOUSTON | $781.15 | $70.91 | $45.78 | $299.28
LZ_LCRA | $797.28 | $90.93 | $49.84 | $312.68
LZ_NORTH | $797.27 | $79.64 | $47.11 | $308.01
LZ_RAYBN | $796.76 | $79.43 | $47.08 | $307.76
LZ_SOUTH | $803.46 | $696.07 | $56.26 | $518.60
LZ_WEST | $781.20 | $82.59 | $42.99 | $302.26
Grand Total | $787.51 | $140.38 | $47.72 | $325.20

## Slide 8: SEWG Summary
Leadership voted in for 2011
  Chair: Jim Galvin, Luminant Energy
  Vice Chair: Harika Basaran, Austin Energy
Goals for 2011 Summarized
  Completion of Nodal Settlement Handbook/Guide
  Nodal Project Support- Projects impacting settlements and extracts
  Settlement timeline improvements with MCWG
  Reporting Matrix to COPS
  Enhance Settlement Training/Education for Retail Market Participants

## Slide 9: Extract Issues Update
Six events were summarized at the January SEWG meeting all pertaining to Nodal Extracts and Reports
Some concerns were expressed due to the number of events and late postings; however, reports and extracts appear to be complete and providing the necessary data
Some concerns are centering around the following:
  Posting of RTSPPs
  Late postings and processing time, how is ERCOT stabilizing the Extract and Report environment
  Concern for lack of extract identifying ERCOT accepted QSE to QSE trades
SEWG will continue to monitor and bring issues to COPS for further discussion

## Slide 10: SEWG and MCWG Joint Meeting
MCWG and SEWG met to discuss potential improvements to the settlement and invoicing timeline with the intent to improve potential credit exposure and simplify the current settlement and invoicing process
Alternatives discussed:
  Ramping up RTM due date
  Accelerated Settlement of RTM
  Non-binding Settlement for Credit purposes (MISO)
ERCOT is working on an NPRR to include RTM statements on a daily invoice
  Consensus from both working groups on this being the best initial step
  Published DAM and RTM statements for a given day to be put on same invoice
  Accelerates the RTM cash clearing timeline

## Slide 11: Extract and Reports Prioritization
ERCOT staff required input, similar to Zonal Extracts, for prioritization
Approximately 300 reports and extracts were reviewed to determine priority
ERCOT facilitated the discussions seeking input from SEWG members on all reports
  SEWG did not rank reports or extracts that appeared to be operational in nature
  Focused on extracts and reports that had commercial impact with the understanding that other working groups will be addressing extracts and reports that were not prioritized
Discussion on new reports or extracts
  Appears that the direction for new reports or extracts should come through the NPRR process
  SEWG will test this process with the QSE to QSE trade issue

## Slide 12: Upcoming Items
Settlement Handbook/Guide- SEWG will begin drafting detail to algorithm sections
Revenue Neutrality
  RTRN went from a ~$0.35 expense to a ~$0.13 revenue (credit to market) from December to January
  ERCOT initial view indicates this is related to settlement of PTP Options and Obligations, as well as potential impact of pricing issue brought to ERCOT by IMM
Review of ERCOT NPRR for settlement and invoicing improvements
  Dialogue with MCWG
Follow discussions on BPD and shortened SCED intervals
Discuss settlement impact of February Freeze

## Slide 13: Questions?