## 2010 4th Qtr LZ Summary
2010 4th Quarter Un-Registered DG Report - LZ Summary
Load Zone | Aggregate MW | kWh exported to the grid during the prior 12 months
LZ_AEN | 0.51 | 444402
LZ_CPS | 0.225 | 31280
LZ_NORTH | 0.1 | 36573
LZ_SOUTH | 0.5 | 2409
LZ_WEST | 0.075 | 34089
NOTE1: Current DG registration threshold = 1 MW
NOTE2: Report includes un-registered DG above 50kW and equal to or below the DG threshold

## 2010 4th Qtr Details
2010 4th Quarter Un-Registered DG Report - Details
Load Zone | Nameplate Rating in MW | Quantity | Aggregate MW | Technology Type | Primary Fuel Type | kWh exported to the grid during the prior 12 months
LZ_AEN | 0.063 | 1 | 0.063 | Renewable | Solar | 1962
LZ_AEN | 0.08 | 1 | 0.08 | Renewable | Solar | 74121
LZ_AEN | 0.083 | 1 | 0.083 | Renewable | Solar | 113494
LZ_AEN | 0.135 | 1 | 0.135 | Renewable | Solar | 252400
LZ_AEN | 0.149 | 1 | 0.149 | Renewable | Solar | 2425
LZ_CPS | 0.113 | 2 | 0.225 | Renewable | Solar | 31280
LZ_NORTH | 0.1 | 1 | 0.1 | Renewable | Solar | 36573
LZ_SOUTH | 0.5 | 1 | 0.5 | Non-renewable | Other | 2409
LZ_WEST | 0.075 | 1 | 0.075 | Non-renewable | Other | 34089