OWG Meeting Notes 01/19/11

Attendance:

Brad Calhoun		CNP (TO)

Rand Westbrook	CNP (TO)

Richard Smith		Electric Power Engineers

Rick Keetch 		Reliant Energy (QSE)

Jack Thormahlen	LCRA (QSE)

Cesar Seymour 	SUEZ (QSE)

Jerry Willms		LCRA (TO)

Brenda Hampton 	Luminant (QSE)

Kelly Blackmer	ERCOT

Thomas Tipton	BEPC (TO)

Jeff Sims		CPS Energy (TO)

Kevin Brown		AEN (TO)

James Jacobs		AEN (TO)

John Moore		Bryan Texas Utilities

Frank Owens   	TMPA	(TO)

Leticia Soto-Reyes	ERCOT

JC Culberson		ERCOT

Yvette Landin		ERCOT

Leo Villanueva	ERCOT

Matt Stout		ERCOT

Vanus Priestley	Macquarie Energy (phone)

Karl Tammar		Sharyland Utilities (phone)

Robert Avila		BPUB (TDSP)

Kevin Carter		Duke Energy (phone)

Ross Owen 		ONCOR (TO) (phone)

Walter Reid		Wind Coalition (phone)

Sandip Sharma	ERCOT

Colleen Frosch	ERCOT

Brad Schwarz	E. ON Climate & renewable (phone)

10:05 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report: Ken Donohoo as chair and Blake Williams vice chair.

NOGRR044, 052, 057 where approved by ROS.

Comments on NPRR going first to chair and vice chair before summit the report to ROS.

The December meeting notes were reviewed.

All action items are highlighted in green

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement –

ROS approved the NOGRR043 (OWG comments) as amended by ROS.  ROS directed OWG to resolve the issue relating to the language change made in Section 2.9.1, 1) b): (note: turbines was revised to WGRs). A draft NOGRR will be submitted to address this issue. Tabled until ERCOT and Wind Coalition submit changes to the definition of WGR. Walter (Wind Coalition) stated this NOGRR still in progress and no resolutions at the moment.

NOGRR054 Change Facilitator for the Annual Operations Seminar This Nodal Operating Guide Revision Request (NOGRR) – OWG reviewed the change of the responsibility of the annual Operations Training Seminar from the Texas Reliability Entity (TRE) to ERCOT. The dates are set for March 7 - 9, 2011. OWG approved.

NOGRR055 Deletion of an Invalid Reference to a Non-Existent NERC Term – OWG was in consensus to recommend approval.

NPRR298, New Definitions Related to Black Start – OWG was in consensus to recommend that PRS approve NPRR298 as revised by OWG.  Austin Energy comments were incorporated into OWG comments.

Operations Report – ERCOT reviewed the December Operations Report. New or rescinded SPS information section was revised. ERCOT will follow up to see why MIS is slowed.

Nodal Protocol and Operating Guides Resolution Task Force Report – Frank reported that ROS approved creation of this task force and stated that a meeting would be scheduled in the near future to discuss the scope of the group.

Operations Task Force Report – Thormahlen reported that there are discussions ongoing with ERCOT related to the voltage profile issues and that an NPRR would be presented when issues have been worked out.

Black Start Task Forced Update – Kelly Blackmer noted that Steve Zaragoza was nominated as chair for 2011.

Compliance Update – No update.  Frank Owens noted he would follow-up with Mark Henry on PER-005 changes.

Other Items

- Ross Owen requested clarification of date and form in which to provide backup control plans.  ERCOT Staff pointed to the NOG and noted March 15th as the deadline.

- Brad Calhoun will check with TRE regarding testing of newly hired system operators and how long testing will be on hold.

- Discussion on more visibility of ERCOT Real Time Data like we had in the zonal market? Look at drafting a NPRR or SCR.

ERCOT will verify if the information on Operation Messages will stay longer than 7 days if the status is active.  ERCOT has verified that messages will be archived after 7 days regardless of active status.

- Frank will email to OWG group the NPGRTF-Scope-Doc

- Discussion on PER-002-0 implementation date (April 1 2011) is accurate and if we still fall under PER 002-0 until go live?

OWG recommend creating a group to discus training issues to ensure consistency across ERCOT. Brad Calhoun will talk to Lindley about changes to the fundamental test from zonal to nodal.

Next meeting – February 16th, 2011 at Texas RE facility (805 Las Cimas Pkwy, Suite 200, Austin TX 78746)

12:05 meeting adjourned.